## Table of Contents
Name | Type | Dim | Count | Explanatory text
c | set | 1 | 1 | pump class
Charge | variable | 2 | 168 | Niveau de charge au noeud (n) Ã (t)
Charge_j | equation | 2 | 48 | Niveau de charge aux jonctions (j) Ã (t)
Charge_r | equation | 2 | 96 | Niveau de charge au rÃ©servoir (r) Ã (t)
Charge_s | equation | 4 | 72 | Niveau de charge Ã la source Ã (t)
d | set | 1 | 3 | pump number
Debit_s | equation | 1 | 24 | Equilibre des dÃ©bits Ã la source Ã (t)
degree | set | 1 | 3 | polynomial degrees
demand | parameter | 2 | 85 | demand in water at each reservoir and each hour (m^3)
dp | parameter | 1 | 0 | Aliased with d
Elec_pompe | equation | 3 | 72 | Consommation Ã©lectrique de la pompe (k) Ã (t)
gamma | parameter | 2 | 2 | linear fit of the electrical power (kW) on the flow (m^3.h^-1) for each class of pumps
Gpompe | variable | 1 | 0 | Gain de charge de la pompe Ã (t) en (m)
height | parameter | 1 | 6 | elevation at each node relative to s (m)
height0 | parameter | 0 | 1 | reference height at the source (m)
j | set | 1 | 2 | junctions
k | set | 2 | 3 | pump type
kp | set | 2 | 0 | Aliased with k
l | set | 2 | 6 | pipes
n | set | 1 | 7 | nodes
night | set | 1 | 8 | night periods
Noeud | equation | 2 | 48 | Contrainte dÃ©bit noeud (n) Ã (t)
np | equation | 1 | 0 | Aliased with n
obj | equation | 0 | 1 | Objectif
Ordre_pompe | equation | 3 | 72 | Les pompes s allument dans l ordre
Perte_charge | equation | 3 | 144 | Perte charge (n n) Ã (t)
phi | parameter | 3 | 12 | quadratic fit of the pressure loss (m) on the flow (m^3.h^-1) for each pipe
Ppompe | variable | 3 | 72 | Puissance Ã©lectrique de la pompe (k) Ã (t) en (kW)
psi | parameter | 2 | 2 | quadratic fit of the service pressure (m) on the flow (m^3.h^-1) for each class of pumps
Qmax | parameter | 0 | 1 | maximal debit for pumps
Qmin | parameter | 0 | 1 | minimal debit for pumps
Qpipe | variable | 3 | 144 | DÃ©bit dans le tuyau (l) Ã (t)
Qpompe | variable | 3 | 72 | DÃ©bit de la pompe (k) Ã (t)
Qpompe_inf | equation | 3 | 72 | Borne infÃ©rieur pompe (k) Ã (t)
Qpompe_sup | equation | 3 | 72 | Borne supÃ©rieur pompe (k) Ã (t)
r | set | 1 | 4 | reservoirs
Reduction | equation | 0 | 1 | RÃ©duction des possibilitÃ©s
Satisfaction_demande | equation | 2 | 96 | Satisfaction de la demande en (r) Ã (t)
Son | variable | 3 | 72 | Statu t de la pompe (k) fonctionne Ã (t)
surface | parameter | 1 | 4 | mean surface of each reservoir (m^2)
t | set | 1 | 24 | 1-hour periods
tariff | parameter | 1 | 24 | electricity tariff
tariffday | parameter | 0 | 1 | electricity hourly tariff at day (euro.kWh^-1)
tariffnight | parameter | 0 | 1 | electricity hourly tariff at night (euro.kWh^-1)
v | variable | 2 | 96 | Volume au rÃ©servoir (r) en (t)
vinit | parameter | 2 | 4 | initial volume of each reservoir
vmax | parameter | 1 | 4 | maximal volume of each reservoir (m^3)
vmin | parameter | 1 | 4 | minimal volume of each reservoir (m^3)
z | variable | 0 | 1 | CoÃ»t exploitation final

## Scalar
TOC
Parameter | Value | Explanatory text
height0 | 0 | reference height at the source (m)
Qmax | 90 | maximal debit for pumps
Qmin | 1 | minimal debit for pumps
tariffday | 0.04609 | electricity hourly tariff at day (euro.kWh^-1)
tariffnight | 0.02916 | electricity hourly tariff at night (euro.kWh^-1)
Variable | Lowerbound | Value | Upperbound | Marginal | Explanatory text
z | -INF | 10.9962 | INF | 0 | CoÃ»t exploitation final
Equation | Lowerbound | Value | Upperbound | Marginal | Explanatory text
obj | 0 | 0 | 0 | 1 | Objectif
Reduction | 16.2648 | 42 | INF | 0 | RÃ©duction des possibilitÃ©s

## c
TOC
c | (set) | pump class
dim1
small

## Charge
TOC
Charge | (variable) | Niveau de charge au noeud (n) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
s | t1 | 0 | 57.6352 | INF | 0
s | t2 | 0 | 54.2998 | INF | 0
s | t3 | 0 | 54.559 | INF | 0
s | t4 | 0 | 54.9491 | INF | 0
s | t5 | 0 | 55.3672 | INF | 0
s | t6 | 0 | 55.8079 | INF | 0
s | t7 | 0 | 56.2657 | INF | 0
s | t8 | 0 | 56.385 | INF | 0
s | t9 | 0 | 53.9198 | INF | 0
s | t10 | 0 | 54.8354 | INF | 0
s | t11 | 0 | 54.8014 | INF | 0
s | t12 | 0 | 55.6368 | INF | 0
s | t13 | 0 | 55.3104 | INF | 0
s | t14 | 0 | 55.6939 | INF | 0
s | t15 | 0 | 57.2574 | INF | 0
s | t16 | 0 | 54.4462 | INF | 0
s | t17 | 0 | 54.756 | INF | 0
s | t18 | 0 | 55.3933 | INF | 0
s | t19 | 0 | 55.3981 | INF | 0
s | t20 | 0 | 52.3567 | INF | 0
s | t21 | 0 | 53.2884 | INF | 0
s | t22 | 0 | 54.2021 | INF | 0
s | t23 | 0 | 51.7594 | INF | 0
s | t24 | 0 | 52.3583 | INF | 0
j1 | t1 | 0 | 57.187 | INF | 0
j1 | t2 | 0 | 53.5885 | INF | 0
j1 | t3 | 0 | 53.868 | INF | 0
j1 | t4 | 0 | 54.2889 | INF | 0
j1 | t5 | 0 | 54.7399 | INF | 0
j1 | t6 | 0 | 55.2153 | INF | 0
j1 | t7 | 0 | 55.7092 | INF | 0
j1 | t8 | 0 | 55.838 | INF | 0
j1 | t9 | 0 | 53.8278 | INF | 0
j1 | t10 | 0 | 54.7519 | INF | 0
j1 | t11 | 0 | 54.7176 | INF | 0
j1 | t12 | 0 | 55.5608 | INF | 0
j1 | t13 | 0 | 55.2313 | INF | 0
j1 | t14 | 0 | 55.6184 | INF | 0
j1 | t15 | 0 | 57.1966 | INF | 0
j1 | t16 | 0 | 54.3591 | INF | 0
j1 | t17 | 0 | 54.6718 | INF | 0
j1 | t18 | 0 | 55.1066 | INF | 0
j1 | t19 | 0 | 55.1116 | INF | 0
j1 | t20 | 0 | 52.2503 | INF | 0
j1 | t21 | 0 | 53.1906 | INF | 0
j1 | t22 | 0 | 53.8731 | INF | 0
j1 | t23 | 0 | 51.7594 | INF | 0
j1 | t24 | 0 | 52.2519 | INF | 0
j2 | t1 | 0 | 56.1301 | INF | 0
j2 | t2 | 0 | 52.1284 | INF | 0
j2 | t3 | 0 | 52.451 | INF | 0
j2 | t4 | 0 | 52.9367 | INF | 0
j2 | t5 | 0 | 53.4571 | INF | 0
j2 | t6 | 0 | 54.0058 | INF | 0
j2 | t7 | 0 | 54.5758 | INF | 0
j2 | t8 | 0 | 54.7244 | INF | 0
j2 | t9 | 0 | 53.3711 | INF | 0
j2 | t10 | 0 | 54.3381 | INF | 0
j2 | t11 | 0 | 54.3022 | INF | 0
j2 | t12 | 0 | 55.1847 | INF | 0
j2 | t13 | 0 | 54.8398 | INF | 0
j2 | t14 | 0 | 55.245 | INF | 0
j2 | t15 | 0 | 56.8972 | INF | 0
j2 | t16 | 0 | 53.9271 | INF | 0
j2 | t17 | 0 | 54.2542 | INF | 0
j2 | t18 | 0 | 53.6599 | INF | 0
j2 | t19 | 0 | 53.6657 | INF | 0
j2 | t20 | 0 | 51.7206 | INF | 0
j2 | t21 | 0 | 52.7044 | INF | 0
j2 | t22 | 0 | 52.2104 | INF | 0
j2 | t23 | 0 | 51.7594 | INF | 0
j2 | t24 | 0 | 51.7224 | INF | 0
r1 | t1 | 0 | 56.4328 | INF | 0
r1 | t2 | 0 | 52.447 | INF | 0
r1 | t3 | 0 | 53.1003 | INF | 0
r1 | t4 | 0 | 53.3625 | INF | 0
r1 | t5 | 0 | 53.3813 | INF | 0
r1 | t6 | 0 | 54.9562 | INF | 0
r1 | t7 | 0 | 54.6601 | INF | 0
r1 | t8 | 0 | 54.5203 | INF | 0
r1 | t9 | 0 | 53.8278 | INF | 0
r1 | t10 | 0 | 54.7519 | INF | 0
r1 | t11 | 0 | 54.7176 | INF | 0
r1 | t12 | 0 | 55.5608 | INF | 0
r1 | t13 | 0 | 55.2313 | INF | 0
r1 | t14 | 0 | 55.6184 | INF | 0
r1 | t15 | 0 | 57.1966 | INF | 0
r1 | t16 | 0 | 54.3591 | INF | 0
r1 | t17 | 0 | 54.6718 | INF | 0
r1 | t18 | 0 | 55.1066 | INF | 0
r1 | t19 | 0 | 55.1116 | INF | 0
r1 | t20 | 0 | 52.2503 | INF | 0
r1 | t21 | 0 | 53.1906 | INF | 0
r1 | t22 | 0 | 53.8731 | INF | 0
r1 | t23 | 0 | 51.7594 | INF | 0
r1 | t24 | 0 | 52.2519 | INF | 0
r2 | t1 | 0 | 51.25 | INF | 0
r2 | t2 | 0 | 51.25 | INF | 0
r2 | t3 | 0 | 51.4868 | INF | 0
r2 | t4 | 0 | 51.7516 | INF | 0
r2 | t5 | 0 | 52.0429 | INF | 0
r2 | t6 | 0 | 52.359 | INF | 0
r2 | t7 | 0 | 52.6981 | INF | 0
r2 | t8 | 0 | 52.5061 | INF | 0
r2 | t9 | 0 | 52.1315 | INF | 0
r2 | t10 | 0 | 52.4697 | INF | 0
r2 | t11 | 0 | 52.7735 | INF | 0
r2 | t12 | 0 | 53.1292 | INF | 0
r2 | t13 | 0 | 53.2498 | INF | 0
r2 | t14 | 0 | 52.3763 | INF | 0
r2 | t15 | 0 | 54.6071 | INF | 0
r2 | t16 | 0 | 52.1036 | INF | 0
r2 | t17 | 0 | 51.8084 | INF | 0
r2 | t18 | 0 | 51.5312 | INF | 0
r2 | t19 | 0 | 51.25 | INF | 0
r2 | t20 | 0 | 51.375 | INF | 0
r2 | t21 | 0 | 51.6266 | INF | 0
r2 | t22 | 0 | 51.7781 | INF | 0
r2 | t23 | 0 | 51.7594 | INF | 0
r2 | t24 | 0 | 51.25 | INF | 0
r3 | t1 | 0 | 55.7954 | INF | 0
r3 | t2 | 0 | 48.2897 | INF | 0
r3 | t3 | 0 | 48.896 | INF | 0
r3 | t4 | 0 | 49.8995 | INF | 0
r3 | t5 | 0 | 50.9013 | INF | 0
r3 | t6 | 0 | 51.8914 | INF | 0
r3 | t7 | 0 | 52.8604 | INF | 0
r3 | t8 | 0 | 53.2917 | INF | 0
r3 | t9 | 0 | 52.9409 | INF | 0
r3 | t10 | 0 | 54.1887 | INF | 0
r3 | t11 | 0 | 54.0608 | INF | 0
r3 | t12 | 0 | 55.1136 | INF | 0
r3 | t13 | 0 | 54.6544 | INF | 0
r3 | t14 | 0 | 55.245 | INF | 0
r3 | t15 | 0 | 56.8972 | INF | 0
r3 | t16 | 0 | 53.7417 | INF | 0
r3 | t17 | 0 | 54.1982 | INF | 0
r3 | t18 | 0 | 51.2764 | INF | 0
r3 | t19 | 0 | 51.5068 | INF | 0
r3 | t20 | 0 | 50.3385 | INF | 0
r3 | t21 | 0 | 52.1246 | INF | 0
r3 | t22 | 0 | 46.6773 | INF | 0
r3 | t23 | 0 | 51.7594 | INF | 0
r3 | t24 | 0 | 50.5142 | INF | 0
r4 | t1 | 0 | 57.1837 | INF | 0
r4 | t2 | 0 | 53.5498 | INF | 0
r4 | t3 | 0 | 53.7645 | INF | 0
r4 | t4 | 0 | 54.2307 | INF | 0
r4 | t5 | 0 | 54.735 | INF | 0
r4 | t6 | 0 | 54.9453 | INF | 0
r4 | t7 | 0 | 55.6929 | INF | 0
r4 | t8 | 0 | 55.838 | INF | 0
r4 | t9 | 0 | 53.8278 | INF | 0
r4 | t10 | 0 | 54.7519 | INF | 0
r4 | t11 | 0 | 54.7176 | INF | 0
r4 | t12 | 0 | 55.5608 | INF | 0
r4 | t13 | 0 | 55.2313 | INF | 0
r4 | t14 | 0 | 55.6184 | INF | 0
r4 | t15 | 0 | 57.1966 | INF | 0
r4 | t16 | 0 | 54.3591 | INF | 0
r4 | t17 | 0 | 54.6718 | INF | 0
r4 | t18 | 0 | 55.1066 | INF | 0
r4 | t19 | 0 | 55.1116 | INF | 0
r4 | t20 | 0 | 52.2503 | INF | 0
r4 | t21 | 0 | 53.1906 | INF | 0
r4 | t22 | 0 | 53.8731 | INF | 0
r4 | t23 | 0 | 51.7594 | INF | 0
r4 | t24 | 0 | 52.2519 | INF | 0

## Charge_j
TOC
Charge_j | (equation) | Niveau de charge aux jonctions (j) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
j1 | t1 | 30 | 57.187 | INF | 0
j1 | t2 | 30 | 53.5885 | INF | 0
j1 | t3 | 30 | 53.868 | INF | 0
j1 | t4 | 30 | 54.2889 | INF | 0
j1 | t5 | 30 | 54.7399 | INF | 0
j1 | t6 | 30 | 55.2153 | INF | 0
j1 | t7 | 30 | 55.7092 | INF | 0
j1 | t8 | 30 | 55.838 | INF | 0
j1 | t9 | 30 | 53.8278 | INF | 0
j1 | t10 | 30 | 54.7519 | INF | 0
j1 | t11 | 30 | 54.7176 | INF | 0
j1 | t12 | 30 | 55.5608 | INF | 0
j1 | t13 | 30 | 55.2313 | INF | 0
j1 | t14 | 30 | 55.6184 | INF | 0
j1 | t15 | 30 | 57.1966 | INF | 0
j1 | t16 | 30 | 54.3591 | INF | 0
j1 | t17 | 30 | 54.6718 | INF | 0
j1 | t18 | 30 | 55.1066 | INF | 0
j1 | t19 | 30 | 55.1116 | INF | 0
j1 | t20 | 30 | 52.2503 | INF | 0
j1 | t21 | 30 | 53.1906 | INF | 0
j1 | t22 | 30 | 53.8731 | INF | 0
j1 | t23 | 30 | 51.7594 | INF | 0
j1 | t24 | 30 | 52.2519 | INF | 0
j2 | t1 | 30 | 56.1301 | INF | 0
j2 | t2 | 30 | 52.1284 | INF | 0
j2 | t3 | 30 | 52.451 | INF | 0
j2 | t4 | 30 | 52.9367 | INF | 0
j2 | t5 | 30 | 53.4571 | INF | 0
j2 | t6 | 30 | 54.0058 | INF | 0
j2 | t7 | 30 | 54.5758 | INF | 0
j2 | t8 | 30 | 54.7244 | INF | 0
j2 | t9 | 30 | 53.3711 | INF | 0
j2 | t10 | 30 | 54.3381 | INF | 0
j2 | t11 | 30 | 54.3022 | INF | 0
j2 | t12 | 30 | 55.1847 | INF | 0
j2 | t13 | 30 | 54.8398 | INF | 0
j2 | t14 | 30 | 55.245 | INF | 0
j2 | t15 | 30 | 56.8972 | INF | 0
j2 | t16 | 30 | 53.9271 | INF | 0
j2 | t17 | 30 | 54.2542 | INF | 0
j2 | t18 | 30 | 53.6599 | INF | 0
j2 | t19 | 30 | 53.6657 | INF | 0
j2 | t20 | 30 | 51.7206 | INF | 0
j2 | t21 | 30 | 52.7044 | INF | 0
j2 | t22 | 30 | 52.2104 | INF | 0
j2 | t23 | 30 | 51.7594 | INF | 0
j2 | t24 | 30 | 51.7224 | INF | 0

## Charge_r
TOC
Charge_r | (equation) | Niveau de charge au rÃ©servoir (r) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
r1 | t1 | 50 | 54.9658 | INF | 0
r1 | t2 | 50 | 50.6194 | INF | 0
r1 | t3 | 50 | 50.9754 | INF | 0
r1 | t4 | 50 | 50.9399 | INF | 0
r1 | t5 | 50 | 50.5658 | INF | 0
r1 | t6 | 50 | 52.0443 | INF | 0
r1 | t7 | 50 | 51.381 | INF | 0
r1 | t8 | 50 | 50.8223 | INF | 0
r1 | t9 | 50 | 50.1548 | INF | 0
r1 | t10 | 50 | 51.2476 | INF | 0
r1 | t11 | 50 | 51.3883 | INF | 0
r1 | t12 | 50 | 52.3815 | INF | 0
r1 | t13 | 50 | 52.2021 | INF | 0
r1 | t14 | 50 | 52.7391 | INF | 0
r1 | t15 | 50 | 54.4674 | INF | 0
r1 | t16 | 50 | 51.7903 | INF | 0
r1 | t17 | 50 | 52.2988 | INF | 0
r1 | t18 | 50 | 52.8982 | INF | 0
r1 | t19 | 50 | 53.0532 | INF | 0
r1 | t20 | 50 | 50.3169 | INF | 0
r1 | t21 | 50 | 51.3947 | INF | 0
r1 | t22 | 50 | 52.2522 | INF | 0
r1 | t23 | 50 | 50.3823 | INF | 0
r1 | t24 | 50 | 51.0019 | INF | 0
r2 | t1 | 50 | 50 | INF | 0.0053452
r2 | t2 | 50 | 50 | INF | 0.0042118
r2 | t3 | 50 | 50 | INF | 0.0042752
r2 | t4 | 50 | 50 | INF | 0.0043763
r2 | t5 | 50 | 50 | INF | 0.0044931
r2 | t6 | 50 | 50 | INF | 0.0046269
r2 | t7 | 50 | 50 | INF | 0.0047794
r2 | t8 | 50 | 50 | INF | 0.0048217
r2 | t9 | 50 | 50 | INF | 0
r2 | t10 | 50 | 50 | INF | 0
r2 | t11 | 50 | 50 | INF | 0
r2 | t12 | 50 | 50 | INF | 0
r2 | t13 | 50 | 50 | INF | 0
r2 | t14 | 50 | 50 | INF | 0
r2 | t15 | 50 | 52.2894 | INF | 0
r2 | t16 | 50 | 50 | INF | 0
r2 | t17 | 50 | 50 | INF | 0
r2 | t18 | 50 | 50 | INF | 0
r2 | t19 | 50 | 50 | INF | 0
r2 | t20 | 50 | 50 | INF | 0
r2 | t21 | 50 | 50 | INF | 0
r2 | t22 | 50 | 50 | INF | 0
r2 | t23 | 50 | 50 | INF | 0
r2 | t24 | 50 | 50 | INF | 0
r3 | t1 | 45 | 54.5454 | INF | 0
r3 | t2 | 45 | 46.5614 | INF | 0
r3 | t3 | 45 | 46.8667 | INF | 0
r3 | t4 | 45 | 47.4365 | INF | 0
r3 | t5 | 45 | 48.0413 | INF | 0
r3 | t6 | 45 | 48.6835 | INF | 0
r3 | t7 | 45 | 49.3665 | INF | 0
r3 | t8 | 45 | 49.5417 | INF | 0
r3 | t9 | 45 | 49.3668 | INF | 0
r3 | t10 | 45 | 50.7253 | INF | 0
r3 | t11 | 45 | 50.906 | INF | 0
r3 | t12 | 45 | 52.3636 | INF | 0
r3 | t13 | 45 | 52.2169 | INF | 0
r3 | t14 | 45 | 53.2471 | INF | 0
r3 | t15 | 45 | 55.141 | INF | 0
r3 | t16 | 45 | 52.2583 | INF | 0
r3 | t17 | 45 | 52.9482 | INF | 0
r3 | t18 | 45 | 49.7334 | INF | 0
r3 | t19 | 45 | 49.8358 | INF | 0
r3 | t20 | 45 | 48.7083 | INF | 0
r3 | t21 | 45 | 50.7449 | INF | 0
r3 | t22 | 45 | 45 | INF | 0
r3 | t23 | 45 | 50.4904 | INF | 0
r3 | t24 | 45 | 49.2642 | INF | 0
r4 | t1 | 35 | 55.9284 | INF | 0
r4 | t2 | 35 | 52.2121 | INF | 0
r4 | t3 | 35 | 52.3653 | INF | 0
r4 | t4 | 35 | 52.8295 | INF | 0
r4 | t5 | 35 | 53.36 | INF | 0
r4 | t6 | 35 | 53.3153 | INF | 0
r4 | t7 | 35 | 54.0075 | INF | 0
r4 | t8 | 35 | 54.1651 | INF | 0
r4 | t9 | 35 | 52.1653 | INF | 0
r4 | t10 | 35 | 53.1144 | INF | 0
r4 | t11 | 35 | 53.1051 | INF | 0
r4 | t12 | 35 | 53.9733 | INF | 0
r4 | t13 | 35 | 53.6688 | INF | 0
r4 | t14 | 35 | 54.0809 | INF | 0
r4 | t15 | 35 | 55.6841 | INF | 0
r4 | t16 | 35 | 52.8841 | INF | 0
r4 | t17 | 35 | 53.2218 | INF | 0
r4 | t18 | 35 | 53.6691 | INF | 0
r4 | t19 | 35 | 53.6991 | INF | 0
r4 | t20 | 35 | 50.8753 | INF | 0
r4 | t21 | 35 | 51.8406 | INF | 0
r4 | t22 | 35 | 52.5606 | INF | 0
r4 | t23 | 35 | 50.4844 | INF | 0
r4 | t24 | 35 | 51.0019 | INF | 0

## Charge_s
TOC
Charge_s | (equation) | Niveau de charge Ã la source Ã (t)
n | c | d | t | Lowerbound | Value | Upperbound | Marginal
s | small | p1 | t1 | -INF | 70 | 70 | -0.0017817
s | small | p1 | t2 | -INF | 70 | 70 | -0.0014039
s | small | p1 | t3 | -INF | 70 | 70 | -0.0014251
s | small | p1 | t4 | -INF | 70 | 70 | -0.0014588
s | small | p1 | t5 | -INF | 70 | 70 | -0.0014977
s | small | p1 | t6 | -INF | 70 | 70 | -0.0015423
s | small | p1 | t7 | -INF | 70 | 70 | -0.0015931
s | small | p1 | t8 | -INF | 70 | 70 | -0.0016072
s | small | p1 | t9 | -INF | 70 | 70 | 0
s | small | p1 | t10 | -INF | 70 | 70 | 0
s | small | p1 | t11 | -INF | 70 | 70 | 0
s | small | p1 | t12 | -INF | 70 | 70 | 0
s | small | p1 | t13 | -INF | 70 | 70 | 0
s | small | p1 | t14 | -INF | 70 | 70 | 0
s | small | p1 | t15 | -INF | 70 | 70 | 0
s | small | p1 | t16 | -INF | 70 | 70 | 0
s | small | p1 | t17 | -INF | 70 | 70 | 0
s | small | p1 | t18 | -INF | 70 | 70 | 0
s | small | p1 | t19 | -INF | 70 | 70 | 0
s | small | p1 | t20 | -INF | 70 | 70 | 0
s | small | p1 | t21 | -INF | 70 | 70 | 0
s | small | p1 | t22 | -INF | 70 | 70 | 0
s | small | p1 | t23 | -INF | 51.7594 | 70 | 0
s | small | p1 | t24 | -INF | 70 | 70 | 0
s | small | p2 | t1 | -INF | 70 | 70 | -0.0017817
s | small | p2 | t2 | -INF | 70 | 70 | -0.0014039
s | small | p2 | t3 | -INF | 70 | 70 | -0.0014251
s | small | p2 | t4 | -INF | 70 | 70 | -0.0014588
s | small | p2 | t5 | -INF | 70 | 70 | -0.0014977
s | small | p2 | t6 | -INF | 70 | 70 | -0.0015423
s | small | p2 | t7 | -INF | 70 | 70 | -0.0015931
s | small | p2 | t8 | -INF | 70 | 70 | -0.0016072
s | small | p2 | t9 | -INF | 53.9198 | 70 | 0
s | small | p2 | t10 | -INF | 54.8354 | 70 | 0
s | small | p2 | t11 | -INF | 54.8014 | 70 | 0
s | small | p2 | t12 | -INF | 55.6368 | 70 | 0
s | small | p2 | t13 | -INF | 55.3104 | 70 | 0
s | small | p2 | t14 | -INF | 55.6939 | 70 | 0
s | small | p2 | t15 | -INF | 57.2574 | 70 | 0
s | small | p2 | t16 | -INF | 54.4462 | 70 | 0
s | small | p2 | t17 | -INF | 54.756 | 70 | 0
s | small | p2 | t18 | -INF | 70 | 70 | 0
s | small | p2 | t19 | -INF | 70 | 70 | 0
s | small | p2 | t20 | -INF | 52.3567 | 70 | 0
s | small | p2 | t21 | -INF | 53.2884 | 70 | 0
s | small | p2 | t22 | -INF | 70 | 70 | 0
s | small | p2 | t23 | -INF | 51.7594 | 70 | 0
s | small | p2 | t24 | -INF | 52.3583 | 70 | 0
s | small | p3 | t1 | -INF | 70 | 70 | -0.0017817
s | small | p3 | t2 | -INF | 70 | 70 | -0.0014039
s | small | p3 | t3 | -INF | 70 | 70 | -0.0014251
s | small | p3 | t4 | -INF | 70 | 70 | -0.0014588
s | small | p3 | t5 | -INF | 70 | 70 | -0.0014977
s | small | p3 | t6 | -INF | 70 | 70 | -0.0015423
s | small | p3 | t7 | -INF | 70 | 70 | -0.0015931
s | small | p3 | t8 | -INF | 70 | 70 | -0.0016072
s | small | p3 | t9 | -INF | 53.9198 | 70 | 0
s | small | p3 | t10 | -INF | 54.8354 | 70 | 0
s | small | p3 | t11 | -INF | 54.8014 | 70 | 0
s | small | p3 | t12 | -INF | 55.6368 | 70 | 0
s | small | p3 | t13 | -INF | 55.3104 | 70 | 0
s | small | p3 | t14 | -INF | 55.6939 | 70 | 0
s | small | p3 | t15 | -INF | 57.2574 | 70 | 0
s | small | p3 | t16 | -INF | 54.4462 | 70 | 0
s | small | p3 | t17 | -INF | 54.756 | 70 | 0
s | small | p3 | t18 | -INF | 55.3933 | 70 | 0
s | small | p3 | t19 | -INF | 55.3981 | 70 | 0
s | small | p3 | t20 | -INF | 52.3567 | 70 | 0
s | small | p3 | t21 | -INF | 53.2884 | 70 | 0
s | small | p3 | t22 | -INF | 54.2021 | 70 | 0
s | small | p3 | t23 | -INF | 51.7594 | 70 | 0
s | small | p3 | t24 | -INF | 52.3583 | 70 | 0

## d
TOC
d | (set) | pump number
dim1
p1
p2
p3

## Debit_s
TOC
Debit_s | (equation) | Equilibre des dÃ©bits Ã la source Ã (t)
t | Lowerbound | Value | Upperbound | Marginal
t1 | 0 | 7.1054e-15 | 0 | -0.0034729
t2 | 0 | 1.4211e-14 | 0 | -0.0034733
t3 | 0 | -4.2633e-14 | 0 | -0.0034732
t4 | 0 | 1.4211e-14 | 0 | -0.0034732
t5 | 0 | 0 | 0 | -0.0034732
t6 | 0 | 2.8422e-14 | 0 | -0.0034731
t7 | 0 | 0 | 0 | -0.0034731
t8 | 0 | 0 | 0 | -0.003473
t9 | 0 | 0 | 0 | -0.0044371
t10 | 0 | 0 | 0 | -0.0044371
t11 | 0 | 0 | 0 | -0.0044371
t12 | 0 | 0 | 0 | -0.0044371
t13 | 0 | 0 | 0 | -0.0044371
t14 | 0 | 0 | 0 | -0.0044371
t15 | 0 | 0 | 0 | -0.0044371
t16 | 0 | 0 | 0 | -0.0044371
t17 | 0 | 0 | 0 | -0.0044371
t18 | 0 | 0 | 0 | -0.0044371
t19 | 0 | 0 | 0 | -0.0044371
t20 | 0 | 0 | 0 | -0.0044371
t21 | 0 | 0 | 0 | -0.0044371
t22 | 0 | 7.1054e-15 | 0 | -0.0044371
t23 | 0 | 0 | 0 | -0.0044371
t24 | 0 | 0 | 0 | -0.0044371

## degree
TOC
degree | (set) | polynomial degrees
dim1
0
1
2

## demand
TOC
demand | (parameter) | demand in water at each reservoir and each hour (m^3)
r | t | Value
r1 | t1 | 9.83
r1 | t2 | 5
r1 | t3 | 3.67
r1 | t4 | 6.5
r1 | t5 | 5.67
r1 | t6 | 7.5
r1 | t7 | 3
r1 | t8 | 3
r1 | t9 | 2
r1 | t10 | 13.5
r1 | t11 | 14
r1 | t12 | 12
r1 | t13 | 12
r1 | t14 | 12
r1 | t15 | 12
r1 | t16 | 12.83
r1 | t17 | 15.67
r1 | t18 | 13.17
r1 | t19 | 12
r1 | t20 | 10
r1 | t21 | 11
r1 | t22 | 14
r1 | t23 | 19.5
r1 | t24 | 10.17
r2 | t1 | 44.83
r2 | t2 | 18
r2 | t8 | 45
r2 | t9 | 51.67
r2 | t13 | 15.17
r2 | t14 | 103.83
r2 | t15 | 34.83
r2 | t16 | 43.83
r2 | t17 | 54.83
r2 | t18 | 51.17
r2 | t19 | 53.5
r2 | t20 | 0.67
r2 | t23 | 1.5
r2 | t24 | 53.5
r3 | t1 | 14
r3 | t2 | 13.33
r3 | t3 | 25.5
r3 | t4 | 11
r3 | t5 | 10
r3 | t6 | 10
r3 | t7 | 11
r3 | t8 | 10.33
r3 | t9 | 30.17
r3 | t10 | 17.67
r3 | t11 | 36.33
r3 | t12 | 38
r3 | t13 | 35
r3 | t14 | 35.17
r3 | t15 | 19.33
r3 | t16 | 31.83
r3 | t17 | 23.5
r3 | t18 | 16.83
r3 | t19 | 28
r3 | t20 | 33.5
r3 | t21 | 39
r3 | t22 | 38.5
r3 | t23 | 32.67
r3 | t24 | 29.67
r4 | t1 | 1
r4 | t2 | 1
r4 | t3 | 8.5
r4 | t4 | 9.5
r4 | t5 | 4
r4 | t6 | 2.33
r4 | t8 | 1
r4 | t9 | 0.83
r4 | t10 | 2
r4 | t11 | 2
r4 | t12 | 2
r4 | t13 | 2
r4 | t14 | 2
r4 | t15 | 2
r4 | t16 | 3
r4 | t17 | 2
r4 | t18 | 1
r4 | t19 | 2
r4 | t20 | 3
r4 | t21 | 2
r4 | t22 | 3
r4 | t23 | 3
r4 | t24 | 2

## Elec_pompe
TOC
Elec_pompe | (equation) | Consommation Ã©lectrique de la pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | -1.3323e-15 | INF | 0.02916
small | p1 | t2 | 0 | 0 | INF | 0.02916
small | p1 | t3 | 0 | -1.7764e-15 | INF | 0.02916
small | p1 | t4 | 0 | 0 | INF | 0.02916
small | p1 | t5 | 0 | 0 | INF | 0.02916
small | p1 | t6 | 0 | 0 | INF | 0.02916
small | p1 | t7 | 0 | 0 | INF | 0.02916
small | p1 | t8 | 0 | 0 | INF | 0.02916
small | p1 | t9 | 0 | 0 | INF | 0.04609
small | p1 | t10 | 0 | 0 | INF | 0.04609
small | p1 | t11 | 0 | 0 | INF | 0.04609
small | p1 | t12 | 0 | 0 | INF | 0.04609
small | p1 | t13 | 0 | 0 | INF | 0.04609
small | p1 | t14 | 0 | 0 | INF | 0.04609
small | p1 | t15 | 0 | -1.3323e-15 | INF | 0.04609
small | p1 | t16 | 0 | 0 | INF | 0.04609
small | p1 | t17 | 0 | 0 | INF | 0.04609
small | p1 | t18 | 0 | 0 | INF | 0.04609
small | p1 | t19 | 0 | 0 | INF | 0.04609
small | p1 | t20 | 0 | 0 | INF | 0.04609
small | p1 | t21 | 0 | 0 | INF | 0.04609
small | p1 | t22 | 0 | 0 | INF | 0.04609
small | p1 | t23 | 0 | 0 | INF | 0.04609
small | p1 | t24 | 0 | -1.3323e-15 | INF | 0.04609
small | p2 | t1 | 0 | -1.3323e-15 | INF | 0.02916
small | p2 | t2 | 0 | 0 | INF | 0.02916
small | p2 | t3 | 0 | -1.7764e-15 | INF | 0.02916
small | p2 | t4 | 0 | 0 | INF | 0.02916
small | p2 | t5 | 0 | 0 | INF | 0.02916
small | p2 | t6 | 0 | 0 | INF | 0.02916
small | p2 | t7 | 0 | 0 | INF | 0.02916
small | p2 | t8 | 0 | 0 | INF | 0.02916
small | p2 | t9 | 0 | 0 | INF | 0
small | p2 | t10 | 0 | 0 | INF | 0
small | p2 | t11 | 0 | 0 | INF | 0.04609
small | p2 | t12 | 0 | 0 | INF | 0.04609
small | p2 | t13 | 0 | 0 | INF | 0
small | p2 | t14 | 0 | 0 | INF | 0
small | p2 | t15 | 0 | 0 | INF | 0.04609
small | p2 | t16 | 0 | 0 | INF | 0
small | p2 | t17 | 0 | 0 | INF | 0.04609
small | p2 | t18 | 0 | 0 | INF | 0.04609
small | p2 | t19 | 0 | 0 | INF | 0.04609
small | p2 | t20 | 0 | 0 | INF | 0
small | p2 | t21 | 0 | 0 | INF | 0.04609
small | p2 | t22 | 0 | 0 | INF | 0.04609
small | p2 | t23 | 0 | 0 | INF | 0.04609
small | p2 | t24 | 0 | 0 | INF | 0.04609
small | p3 | t1 | 0 | -1.3323e-15 | INF | 0.02916
small | p3 | t2 | 0 | 0 | INF | 0.02916
small | p3 | t3 | 0 | -1.7764e-15 | INF | 0.02916
small | p3 | t4 | 0 | 0 | INF | 0.02916
small | p3 | t5 | 0 | 0 | INF | 0.02916
small | p3 | t6 | 0 | 0 | INF | 0.02916
small | p3 | t7 | 0 | 0 | INF | 0.02916
small | p3 | t8 | 0 | 0 | INF | 0.02916
small | p3 | t9 | 0 | 0 | INF | 0
small | p3 | t10 | 0 | 0 | INF | 0.04609
small | p3 | t11 | 0 | 0 | INF | 0.04609
small | p3 | t12 | 0 | 0 | INF | 0
small | p3 | t13 | 0 | 0 | INF | 0.04609
small | p3 | t14 | 0 | 0 | INF | 0
small | p3 | t15 | 0 | 0 | INF | 0
small | p3 | t16 | 0 | 0 | INF | 0
small | p3 | t17 | 0 | 0 | INF | 0
small | p3 | t18 | 0 | 0 | INF | 0.04609
small | p3 | t19 | 0 | 0 | INF | 0.04609
small | p3 | t20 | 0 | 0 | INF | 0
small | p3 | t21 | 0 | 0 | INF | 0.04609
small | p3 | t22 | 0 | 0 | INF | 0
small | p3 | t23 | 0 | 0 | INF | 0
small | p3 | t24 | 0 | 0 | INF | 0.04609

## gamma
TOC
gamma | (parameter) | linear fit of the electrical power (kW) on the flow (m^3.h^-1) for each class of pumps
c | degree | Value
small | 0 | 3.811
small | 1 | 0.09627

## height
TOC
height | (parameter) | elevation at each node relative to s (m)
n | Value
j1 | 30
j2 | 30
r1 | 50
r2 | 50
r3 | 45
r4 | 35

## j
TOC
j | (set) | junctions
n
j1
j2

## k
TOC
k | (set) | pump type
c | d
small | p1
small | p2
small | p3

## l
TOC
l | (set) | pipes
n | n
s | j1
j1 | j2
j1 | r1
j1 | r4
j2 | r2
j2 | r3

## n
TOC
n | (set) | nodes
dim1
s
j1
j2
r1
r2
r3
r4

## night
TOC
night | (set) | night periods
t
t1
t2
t3
t4
t5
t6
t7
t8

## Noeud
TOC
Noeud | (equation) | Contrainte dÃ©bit noeud (n) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
j1 | t1 | 0 | -2.367e-13 | 0 | -0.0035256
j1 | t2 | 0 | -3.2863e-14 | 0 | -0.0035256
j1 | t3 | 0 | -3.5527e-15 | 0 | -0.0035256
j1 | t4 | 0 | -7.1054e-15 | 0 | -0.0035256
j1 | t5 | 0 | 1.2879e-14 | 0 | -0.0035256
j1 | t6 | 0 | -7.1054e-15 | 0 | -0.0035256
j1 | t7 | 0 | 5.3291e-15 | 0 | -0.0035256
j1 | t8 | 0 | 0 | 0 | -0.0035256
j1 | t9 | 0 | 0 | 0 | -0.0044371
j1 | t10 | 0 | 0 | 0 | -0.0044371
j1 | t11 | 0 | 0 | 0 | -0.0044371
j1 | t12 | 0 | 0 | 0 | -0.0044371
j1 | t13 | 0 | 0 | 0 | -0.0044371
j1 | t14 | 0 | 0 | 0 | -0.0044371
j1 | t15 | 0 | 0 | 0 | -0.0044371
j1 | t16 | 0 | 0 | 0 | -0.0044371
j1 | t17 | 0 | 0 | 0 | -0.0044371
j1 | t18 | 0 | 0 | 0 | -0.0044371
j1 | t19 | 0 | 0 | 0 | -0.0044371
j1 | t20 | 0 | 0 | 0 | -0.0044371
j1 | t21 | 0 | 0 | 0 | -0.0044371
j1 | t22 | 0 | 0 | 0 | -0.0044371
j1 | t23 | 0 | 0 | 0 | -0.0044371
j1 | t24 | 0 | 0 | 0 | -0.0044371
j2 | t1 | 0 | 0 | 0 | -0.0037097
j2 | t2 | 0 | 6.7502e-13 | 0 | -0.003696
j2 | t3 | 0 | 2.1316e-14 | 0 | -0.003696
j2 | t4 | 0 | 0 | 0 | -0.003696
j2 | t5 | 0 | -7.1054e-15 | 0 | -0.003696
j2 | t6 | 0 | -7.1054e-15 | 0 | -0.003696
j2 | t7 | 0 | -7.1054e-15 | 0 | -0.003696
j2 | t8 | 0 | 3.5527e-15 | 0 | -0.003696
j2 | t9 | 0 | 7.1054e-15 | 0 | -0.0044371
j2 | t10 | 0 | 8.8818e-15 | 0 | -0.0044371
j2 | t11 | 0 | 1.7764e-15 | 0 | -0.0044371
j2 | t12 | 0 | 1.7764e-15 | 0 | -0.0044371
j2 | t13 | 0 | 3.5527e-15 | 0 | -0.0044371
j2 | t14 | 0 | 0 | 0 | -0.0044371
j2 | t15 | 0 | 0 | 0 | -0.0044371
j2 | t16 | 0 | 3.5527e-15 | 0 | -0.0044371
j2 | t17 | 0 | 0 | 0 | -0.0044371
j2 | t18 | 0 | 0 | 0 | -0.0044371
j2 | t19 | 0 | 0 | 0 | -0.0044371
j2 | t20 | 0 | 7.1054e-15 | 0 | -0.0044371
j2 | t21 | 0 | 0 | 0 | -0.0044371
j2 | t22 | 0 | -7.1054e-15 | 0 | -0.0044371
j2 | t23 | 0 | 0 | 0 | -0.0044371
j2 | t24 | 0 | -3.5527e-15 | 0 | -0.0044371

## Ordre_pompe
TOC
Ordre_pompe | (equation) | Les pompes s allument dans l ordre
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | -INF | 0 | 0 | 0
small | p1 | t2 | -INF | 0 | 0 | 0
small | p1 | t3 | -INF | 0 | 0 | 0
small | p1 | t4 | -INF | 0 | 0 | 0
small | p1 | t5 | -INF | 0 | 0 | 0
small | p1 | t6 | -INF | 0 | 0 | 0
small | p1 | t7 | -INF | 0 | 0 | 0
small | p1 | t8 | -INF | 0 | 0 | 0
small | p1 | t9 | -INF | -1 | 0 | 0
small | p1 | t10 | -INF | -1 | 0 | 0
small | p1 | t11 | -INF | -1 | 0 | 0
small | p1 | t12 | -INF | -1 | 0 | 0
small | p1 | t13 | -INF | -1 | 0 | 0
small | p1 | t14 | -INF | -1 | 0 | 0
small | p1 | t15 | -INF | -1 | 0 | 0
small | p1 | t16 | -INF | -1 | 0 | 0
small | p1 | t17 | -INF | -1 | 0 | 0
small | p1 | t18 | -INF | 0 | 0 | 0
small | p1 | t19 | -INF | 0 | 0 | 0
small | p1 | t20 | -INF | -1 | 0 | 0
small | p1 | t21 | -INF | -1 | 0 | 0
small | p1 | t22 | -INF | 0 | 0 | 0
small | p1 | t23 | -INF | 0 | 0 | 0
small | p1 | t24 | -INF | -1 | 0 | 0
small | p2 | t1 | -INF | 0 | 0 | 0
small | p2 | t2 | -INF | 0 | 0 | 0
small | p2 | t3 | -INF | 0 | 0 | 0
small | p2 | t4 | -INF | 0 | 0 | 0
small | p2 | t5 | -INF | 0 | 0 | 0
small | p2 | t6 | -INF | 0 | 0 | 0
small | p2 | t7 | -INF | 0 | 0 | 0
small | p2 | t8 | -INF | 0 | 0 | 0
small | p2 | t9 | -INF | 0 | 0 | 0
small | p2 | t10 | -INF | 0 | 0 | 0
small | p2 | t11 | -INF | 0 | 0 | 0
small | p2 | t12 | -INF | 0 | 0 | 0
small | p2 | t13 | -INF | 0 | 0 | 0
small | p2 | t14 | -INF | 0 | 0 | 0
small | p2 | t15 | -INF | 0 | 0 | 0
small | p2 | t16 | -INF | 0 | 0 | 0
small | p2 | t17 | -INF | 0 | 0 | 0
small | p2 | t18 | -INF | -1 | 0 | 0
small | p2 | t19 | -INF | -1 | 0 | 0
small | p2 | t20 | -INF | 0 | 0 | 0
small | p2 | t21 | -INF | 0 | 0 | 0
small | p2 | t22 | -INF | -1 | 0 | 0
small | p2 | t23 | -INF | 0 | 0 | 0
small | p2 | t24 | -INF | 0 | 0 | 0
small | p3 | t1 | -INF | -1 | 0 | 0
small | p3 | t2 | -INF | -1 | 0 | 0
small | p3 | t3 | -INF | -1 | 0 | 0
small | p3 | t4 | -INF | -1 | 0 | 0
small | p3 | t5 | -INF | -1 | 0 | 0
small | p3 | t6 | -INF | -1 | 0 | 0
small | p3 | t7 | -INF | -1 | 0 | 0
small | p3 | t8 | -INF | -1 | 0 | 0
small | p3 | t9 | -INF | 0 | 0 | 0
small | p3 | t10 | -INF | 0 | 0 | 0
small | p3 | t11 | -INF | 0 | 0 | 0
small | p3 | t12 | -INF | 0 | 0 | 0
small | p3 | t13 | -INF | 0 | 0 | 0
small | p3 | t14 | -INF | 0 | 0 | 0
small | p3 | t15 | -INF | 0 | 0 | 0
small | p3 | t16 | -INF | 0 | 0 | 0
small | p3 | t17 | -INF | 0 | 0 | 0
small | p3 | t18 | -INF | 0 | 0 | 0
small | p3 | t19 | -INF | 0 | 0 | 0
small | p3 | t20 | -INF | 0 | 0 | 0
small | p3 | t21 | -INF | 0 | 0 | 0
small | p3 | t22 | -INF | 0 | 0 | 0
small | p3 | t23 | -INF | 0 | 0 | 0
small | p3 | t24 | -INF | 0 | 0 | 0

## Perte_charge
TOC
Perte_charge | (equation) | Perte charge (n n) Ã (t)
n | n | t | Lowerbound | Value | Upperbound | Marginal
s | j1 | t1 | 0 | 1.4433e-15 | 0 | 0.0053452
s | j1 | t2 | 0 | 3.4417e-15 | 0 | 0.0042118
s | j1 | t3 | 0 | 1.6653e-15 | 0 | 0.0042752
s | j1 | t4 | 0 | -4.885e-15 | 0 | 0.0043763
s | j1 | t5 | 0 | -3.1875e-13 | 0 | 0.0044931
s | j1 | t6 | 0 | -1.5543e-15 | 0 | 0.0046269
s | j1 | t7 | 0 | -2.6645e-15 | 0 | 0.0047794
s | j1 | t8 | 0 | -3.8858e-15 | 0 | 0.0048217
s | j1 | t9 | 0 | -2.3835e-13 | 0 | 0
s | j1 | t10 | 0 | 0 | 0 | 0
s | j1 | t11 | 0 | -2.3398e-14 | 0 | 0
s | j1 | t12 | 0 | 1.6792e-15 | 0 | 0
s | j1 | t13 | 0 | -1.3045e-15 | 0 | 0
s | j1 | t14 | 0 | -3.0531e-15 | 0 | 0
s | j1 | t15 | 0 | -9.7028e-13 | 0 | 0
s | j1 | t16 | 0 | 6.3005e-15 | 0 | 0
s | j1 | t17 | 0 | 2.1511e-15 | 0 | 0
s | j1 | t18 | 0 | -3.6082e-15 | 0 | 0
s | j1 | t19 | 0 | -4.0523e-15 | 0 | 0
s | j1 | t20 | 0 | 3.6221e-15 | 0 | 0
s | j1 | t21 | 0 | -1.9706e-15 | 0 | 0
s | j1 | t22 | 0 | 3.3307e-15 | 0 | 0
s | j1 | t23 | 0 | 0 | 0 | 0
s | j1 | t24 | 0 | -2.8449e-15 | 0 | 0
j1 | j2 | t1 | 0 | 1.9984e-15 | 0 | 0.0053452
j1 | j2 | t2 | 0 | -7.3719e-14 | 0 | 0.0042118
j1 | j2 | t3 | 0 | -5.2403e-14 | 0 | 0.0042752
j1 | j2 | t4 | 0 | -4.1744e-14 | 0 | 0.0043763
j1 | j2 | t5 | 0 | 1.5543e-15 | 0 | 0.0044931
j1 | j2 | t6 | 0 | -2.8644e-14 | 0 | 0.0046269
j1 | j2 | t7 | 0 | -2.4203e-14 | 0 | 0.0047794
j1 | j2 | t8 | 0 | -2.4869e-14 | 0 | 0.0048217
j1 | j2 | t9 | 0 | -1.2482e-12 | 0 | 0
j1 | j2 | t10 | 0 | 4.3299e-15 | 0 | 0
j1 | j2 | t11 | 0 | -1.3989e-13 | 0 | 0
j1 | j2 | t12 | 0 | -8.4932e-15 | 0 | 0
j1 | j2 | t13 | 0 | -7.3275e-15 | 0 | 0
j1 | j2 | t14 | 0 | -4.6074e-15 | 0 | 0
j1 | j2 | t15 | 0 | -5.0101e-12 | 0 | 0
j1 | j2 | t16 | 0 | -3.8858e-15 | 0 | 0
j1 | j2 | t17 | 0 | -2.8866e-15 | 0 | 0
j1 | j2 | t18 | 0 | 1.9984e-15 | 0 | 0
j1 | j2 | t19 | 0 | 2.4425e-15 | 0 | 0
j1 | j2 | t20 | 0 | 0 | 0 | 0
j1 | j2 | t21 | 0 | 2.1094e-15 | 0 | 0
j1 | j2 | t22 | 0 | -2.8866e-15 | 0 | 0
j1 | j2 | t23 | 0 | 0 | 0 | 0
j1 | j2 | t24 | 0 | 0 | 0 | 0
j1 | r1 | t1 | 0 | 1.6653e-15 | 0 | 0
j1 | r1 | t2 | 0 | -4.885e-15 | 0 | 0
j1 | r1 | t3 | 0 | -3.2196e-13 | 0 | 0
j1 | r1 | t4 | 0 | -1.3108e-12 | 0 | 0
j1 | r1 | t5 | 0 | -4.9751e-12 | 0 | 0
j1 | r1 | t6 | 0 | -2.5369e-13 | 0 | 0
j1 | r1 | t7 | 0 | -2.5646e-13 | 0 | 0
j1 | r1 | t8 | 0 | -2.5824e-13 | 0 | 0
j1 | r1 | t9 | 0 | 0 | 0 | 0
j1 | r1 | t10 | 0 | 0 | 0 | 0
j1 | r1 | t11 | 0 | 0 | 0 | 0
j1 | r1 | t12 | 0 | 0 | 0 | 0
j1 | r1 | t13 | 0 | 0 | 0 | 0
j1 | r1 | t14 | 0 | 0 | 0 | 0
j1 | r1 | t15 | 0 | 0 | 0 | 0
j1 | r1 | t16 | 0 | 0 | 0 | 0
j1 | r1 | t17 | 0 | 0 | 0 | 0
j1 | r1 | t18 | 0 | 0 | 0 | 0
j1 | r1 | t19 | 0 | 0 | 0 | 0
j1 | r1 | t20 | 0 | 0 | 0 | 0
j1 | r1 | t21 | 0 | 0 | 0 | 0
j1 | r1 | t22 | 0 | 0 | 0 | 0
j1 | r1 | t23 | 0 | 0 | 0 | 0
j1 | r1 | t24 | 0 | 0 | 0 | 0
j1 | r4 | t1 | 0 | -3.031e-15 | 0 | 0
j1 | r4 | t2 | 0 | -1.736e-13 | 0 | 0
j1 | r4 | t3 | 0 | -1.7208e-15 | 0 | 0
j1 | r4 | t4 | 0 | -1.7046e-13 | 0 | 0
j1 | r4 | t5 | 0 | 0 | 0 | 0
j1 | r4 | t6 | 0 | 0 | 0 | 0
j1 | r4 | t7 | 0 | -1.131e-15 | 0 | 0
j1 | r4 | t8 | 0 | 0 | 0 | 0
j1 | r4 | t9 | 0 | 0 | 0 | 0
j1 | r4 | t10 | 0 | 0 | 0 | 0
j1 | r4 | t11 | 0 | 0 | 0 | 0
j1 | r4 | t12 | 0 | 0 | 0 | 0
j1 | r4 | t13 | 0 | 0 | 0 | 0
j1 | r4 | t14 | 0 | 0 | 0 | 0
j1 | r4 | t15 | 0 | 0 | 0 | 0
j1 | r4 | t16 | 0 | 0 | 0 | 0
j1 | r4 | t17 | 0 | 0 | 0 | 0
j1 | r4 | t18 | 0 | 0 | 0 | 0
j1 | r4 | t19 | 0 | 0 | 0 | 0
j1 | r4 | t20 | 0 | 0 | 0 | 0
j1 | r4 | t21 | 0 | 0 | 0 | 0
j1 | r4 | t22 | 0 | 0 | 0 | 0
j1 | r4 | t23 | 0 | 0 | 0 | 0
j1 | r4 | t24 | 0 | 0 | 0 | 0
j2 | r2 | t1 | 0 | 4.4409e-15 | 0 | 0.0053452
j2 | r2 | t2 | 0 | -6.0618e-14 | 0 | 0.0042118
j2 | r2 | t3 | 0 | -2.0561e-13 | 0 | 0.0042752
j2 | r2 | t4 | 0 | -2.4758e-13 | 0 | 0.0043763
j2 | r2 | t5 | 0 | -7.0921e-13 | 0 | 0.0044931
j2 | r2 | t6 | 0 | -1.1902e-13 | 0 | 0.0046269
j2 | r2 | t7 | 0 | -4.0856e-14 | 0 | 0.0047794
j2 | r2 | t8 | 0 | -3.8636e-14 | 0 | 0.0048217
j2 | r2 | t9 | 0 | -6.3385e-12 | 0 | 0
j2 | r2 | t10 | 0 | -3.9968e-15 | 0 | 0
j2 | r2 | t11 | 0 | -4.517e-11 | 0 | 0
j2 | r2 | t12 | 0 | -1.3323e-14 | 0 | 0
j2 | r2 | t13 | 0 | -1.199e-14 | 0 | 0
j2 | r2 | t14 | 0 | -1.3767e-14 | 0 | 0
j2 | r2 | t15 | 0 | -4.0057e-11 | 0 | 0
j2 | r2 | t16 | 0 | 1.5543e-15 | 0 | 0
j2 | r2 | t17 | 0 | 0 | 0 | 0
j2 | r2 | t18 | 0 | 0 | 0 | 0
j2 | r2 | t19 | 0 | 0 | 0 | 0
j2 | r2 | t20 | 0 | -2.8866e-15 | 0 | 0
j2 | r2 | t21 | 0 | -3.1086e-15 | 0 | 0
j2 | r2 | t22 | 0 | 2.1649e-15 | 0 | 0
j2 | r2 | t23 | 0 | 0 | 0 | 0
j2 | r2 | t24 | 0 | 0 | 0 | 0
j2 | r3 | t1 | 0 | 4.2744e-15 | 0 | 0
j2 | r3 | t2 | 0 | -3.455e-13 | 0 | 0
j2 | r3 | t3 | 0 | -2.5313e-14 | 0 | 0
j2 | r3 | t4 | 0 | -5.7732e-15 | 0 | 0
j2 | r3 | t5 | 0 | -3.4417e-13 | 0 | 0
j2 | r3 | t6 | 0 | -4.1611e-13 | 0 | 0
j2 | r3 | t7 | 0 | -4.6185e-14 | 0 | 0
j2 | r3 | t8 | 0 | -4.019e-14 | 0 | 0
j2 | r3 | t9 | 0 | -1.931e-11 | 0 | 0
j2 | r3 | t10 | 0 | -4.1633e-15 | 0 | 0
j2 | r3 | t11 | 0 | -1.9303e-11 | 0 | 0
j2 | r3 | t12 | 0 | 5.565e-15 | 0 | 0
j2 | r3 | t13 | 0 | 2.6645e-15 | 0 | 0
j2 | r3 | t14 | 0 | 0 | 0 | 0
j2 | r3 | t15 | 0 | 0 | 0 | 0
j2 | r3 | t16 | 0 | 3.525e-15 | 0 | 0
j2 | r3 | t17 | 0 | -1.589e-15 | 0 | 0
j2 | r3 | t18 | 0 | 0 | 0 | 0
j2 | r3 | t19 | 0 | 2.6645e-15 | 0 | 0
j2 | r3 | t20 | 0 | -4.4409e-15 | 0 | 0
j2 | r3 | t21 | 0 | 0 | 0 | 0
j2 | r3 | t22 | 0 | 0 | 0 | 0
j2 | r3 | t23 | 0 | 0 | 0 | 0
j2 | r3 | t24 | 0 | 0 | 0 | 0

## phi
TOC
phi | (parameter) | quadratic fit of the pressure loss (m) on the flow (m^3.h^-1) for each pipe
n | n | degree | Value
s | j1 | 1 | 0.0003819
s | j1 | 2 | 5.425e-05
j1 | j2 | 1 | 0.0014958
j1 | j2 | 2 | 0.00027996
j1 | r1 | 1 | 0.0034044
j1 | r1 | 2 | 0.00089535
j1 | r4 | 1 | 0.0017022
j1 | r4 | 2 | 0.00044768
j2 | r2 | 1 | 0.0085109
j2 | r2 | 2 | 0.0022384
j2 | r3 | 1 | 0.0051065
j2 | r3 | 2 | 0.001343

## Ppompe
TOC
Ppompe | (variable) | Puissance Ã©lectrique de la pompe (k) Ã (t) en (kW)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 6.617 | INF | 0
small | p1 | t2 | 0 | 7.3743 | INF | 0
small | p1 | t3 | 0 | 7.3213 | INF | 0
small | p1 | t4 | 0 | 7.24 | INF | 0
small | p1 | t5 | 0 | 7.1507 | INF | 0
small | p1 | t6 | 0 | 7.0539 | INF | 0
small | p1 | t7 | 0 | 6.9502 | INF | 0
small | p1 | t8 | 0 | 6.9225 | INF | 0
small | p1 | t9 | 0 | 7.4506 | INF | 0
small | p1 | t10 | 0 | 7.2639 | INF | 0
small | p1 | t11 | 0 | 7.2711 | INF | 0
small | p1 | t12 | 0 | 7.0918 | INF | 0
small | p1 | t13 | 0 | 7.163 | INF | 0
small | p1 | t14 | 0 | 7.0792 | INF | 0
small | p1 | t15 | 0 | 6.7127 | INF | 0
small | p1 | t16 | 0 | 7.3445 | INF | 0
small | p1 | t17 | 0 | 7.2805 | INF | 0
small | p1 | t18 | 0 | 7.1451 | INF | 0
small | p1 | t19 | 0 | 7.144 | INF | 0
small | p1 | t20 | 0 | 7.749 | INF | 0
small | p1 | t21 | 0 | 7.574 | INF | 0
small | p1 | t22 | 0 | 7.3941 | INF | 0
small | p1 | t23 | 0 | 0 | INF | 0
small | p1 | t24 | 0 | 7.7487 | INF | 0
small | p2 | t1 | 0 | 6.617 | INF | 0
small | p2 | t2 | 0 | 7.3743 | INF | 0
small | p2 | t3 | 0 | 7.3213 | INF | 0
small | p2 | t4 | 0 | 7.24 | INF | 0
small | p2 | t5 | 0 | 7.1507 | INF | 0
small | p2 | t6 | 0 | 7.0539 | INF | 0
small | p2 | t7 | 0 | 6.9502 | INF | 0
small | p2 | t8 | 0 | 6.9225 | INF | 0
small | p2 | t9 | 0 | 0 | INF | 0.04609
small | p2 | t10 | 0 | 0 | INF | 0.04609
small | p2 | t11 | 0 | 0 | INF | 0
small | p2 | t12 | 0 | 0 | INF | 0
small | p2 | t13 | 0 | 0 | INF | 0.04609
small | p2 | t14 | 0 | 0 | INF | 0.04609
small | p2 | t15 | 0 | 0 | INF | 0
small | p2 | t16 | 0 | 0 | INF | 0.04609
small | p2 | t17 | 0 | 0 | INF | 0
small | p2 | t18 | 0 | 7.1451 | INF | 0
small | p2 | t19 | 0 | 7.144 | INF | 0
small | p2 | t20 | 0 | 0 | INF | 0.04609
small | p2 | t21 | 0 | 0 | INF | 0
small | p2 | t22 | 0 | 7.3941 | INF | 0
small | p2 | t23 | 0 | 0 | INF | 0
small | p2 | t24 | 0 | 0 | INF | 0
small | p3 | t1 | 0 | 6.617 | INF | 0
small | p3 | t2 | 0 | 7.3743 | INF | 0
small | p3 | t3 | 0 | 7.3213 | INF | 0
small | p3 | t4 | 0 | 7.24 | INF | 0
small | p3 | t5 | 0 | 7.1507 | INF | 0
small | p3 | t6 | 0 | 7.0539 | INF | 0
small | p3 | t7 | 0 | 6.9502 | INF | 0
small | p3 | t8 | 0 | 6.9225 | INF | 0
small | p3 | t9 | 0 | 0 | INF | 0.04609
small | p3 | t10 | 0 | 0 | INF | 0
small | p3 | t11 | 0 | 0 | INF | 0
small | p3 | t12 | 0 | 0 | INF | 0.04609
small | p3 | t13 | 0 | 0 | INF | 0
small | p3 | t14 | 0 | 0 | INF | 0.04609
small | p3 | t15 | 0 | 0 | INF | 0.04609
small | p3 | t16 | 0 | 0 | INF | 0.04609
small | p3 | t17 | 0 | 0 | INF | 0.04609
small | p3 | t18 | 0 | 0 | INF | 0
small | p3 | t19 | 0 | 0 | INF | 0
small | p3 | t20 | 0 | 0 | INF | 0.04609
small | p3 | t21 | 0 | 0 | INF | 0
small | p3 | t22 | 0 | 0 | INF | 0.04609
small | p3 | t23 | 0 | 0 | INF | 0.04609
small | p3 | t24 | 0 | 0 | INF | 0

## psi
TOC
psi | (parameter) | quadratic fit of the service pressure (m) on the flow (m^3.h^-1) for each class of pumps
c | degree | Value
small | 0 | 63.0796
small | 2 | -0.0064085

## Qpipe
TOC
Qpipe | (variable) | DÃ©bit dans le tuyau (l) Ã (t)
n | n | t | Lowerbound | Value | Upperbound | Marginal
s | j1 | t1 | 0 | 87.4414 | INF | 0
s | j1 | t2 | 0 | 111.0413 | INF | 0
s | j1 | t3 | 0 | 109.3903 | INF | 0
s | j1 | t4 | 0 | 106.8565 | INF | 0
s | j1 | t5 | 0 | 104.0729 | INF | 0
s | j1 | t6 | 0 | 101.056 | INF | 0
s | j1 | t7 | 0 | 97.8232 | INF | 0
s | j1 | t8 | 0 | 96.9625 | INF | 0
s | j1 | t9 | 0 | 37.8063 | INF | 0
s | j1 | t10 | 0 | 35.8672 | INF | 0
s | j1 | t11 | 0 | 35.941 | INF | 0
s | j1 | t12 | 0 | 34.0792 | INF | 0
s | j1 | t13 | 0 | 34.8186 | INF | 0
s | j1 | t14 | 0 | 33.9483 | INF | 0
s | j1 | t15 | 0 | 30.1414 | INF | 0
s | j1 | t16 | 0 | 36.7039 | INF | 0
s | j1 | t17 | 0 | 36.0394 | INF | 0
s | j1 | t18 | 0 | 69.2644 | INF | 0
s | j1 | t19 | 0 | 69.2428 | INF | 0
s | j1 | t20 | 0 | 40.9052 | INF | 0
s | j1 | t21 | 0 | 39.0877 | INF | 0
s | j1 | t22 | 0 | 74.4385 | INF | 0
s | j1 | t23 | 0 | 0 | INF | 0
s | j1 | t24 | 0 | 40.9021 | INF | 0
j1 | j2 | t1 | 0 | 58.83 | INF | 0
j1 | j2 | t2 | 0 | 69.5954 | INF | 0
j1 | j2 | t3 | 0 | 68.5233 | INF | 0
j1 | j2 | t4 | 0 | 66.878 | INF | 0
j1 | j2 | t5 | 0 | 65.0705 | INF | 0
j1 | j2 | t6 | 0 | 63.1114 | INF | 0
j1 | j2 | t7 | 0 | 61.0122 | INF | 0
j1 | j2 | t8 | 0 | 60.4533 | INF | 0
j1 | j2 | t9 | 0 | 37.8063 | INF | 0
j1 | j2 | t10 | 0 | 35.8672 | INF | 0
j1 | j2 | t11 | 0 | 35.941 | INF | 0
j1 | j2 | t12 | 0 | 34.0792 | INF | 0
j1 | j2 | t13 | 0 | 34.8186 | INF | 0
j1 | j2 | t14 | 0 | 33.9483 | INF | 0
j1 | j2 | t15 | 0 | 30.1414 | INF | 0
j1 | j2 | t16 | 0 | 36.7039 | INF | 0
j1 | j2 | t17 | 0 | 36.0394 | INF | 0
j1 | j2 | t18 | 0 | 69.2644 | INF | 0
j1 | j2 | t19 | 0 | 69.2428 | INF | 0
j1 | j2 | t20 | 0 | 40.9052 | INF | 0
j1 | j2 | t21 | 0 | 39.0877 | INF | 0
j1 | j2 | t22 | 0 | 74.4385 | INF | 0
j1 | j2 | t23 | 0 | 0 | INF | 0
j1 | j2 | t24 | 0 | 40.9021 | INF | 0
j1 | r1 | t1 | 0 | 27.1858 | INF | 0
j1 | r1 | t2 | 0 | 33.8557 | INF | 0
j1 | r1 | t3 | 0 | 27.4438 | INF | 0
j1 | r1 | t4 | 0 | 30.3212 | INF | 0
j1 | r1 | t5 | 0 | 37.0988 | INF | 0
j1 | r1 | t6 | 0 | 15.2144 | INF | 0
j1 | r1 | t7 | 0 | 32.3812 | INF | 0
j1 | r1 | t8 | 0 | 36.5092 | INF | 0
j1 | r1 | t9 | 0 | 0 | INF | 0.00091147
j1 | r1 | t10 | 0 | 0 | INF | 0.00091147
j1 | r1 | t11 | 0 | 0 | INF | 0.00091147
j1 | r1 | t12 | 0 | 0 | INF | 0.00091147
j1 | r1 | t13 | 0 | 0 | INF | 0.00091147
j1 | r1 | t14 | 0 | 0 | INF | 0.00091147
j1 | r1 | t15 | 0 | 0 | INF | 0.00091147
j1 | r1 | t16 | 0 | 0 | INF | 0.00091147
j1 | r1 | t17 | 0 | 0 | INF | 0.00091147
j1 | r1 | t18 | 0 | 0 | INF | 0.00091147
j1 | r1 | t19 | 0 | 0 | INF | 0.00091147
j1 | r1 | t20 | 0 | 0 | INF | 0.00091147
j1 | r1 | t21 | 0 | 0 | INF | 0.00091147
j1 | r1 | t22 | 0 | 0 | INF | 0.00091147
j1 | r1 | t23 | 0 | 0 | INF | 0.00091147
j1 | r1 | t24 | 0 | 0 | INF | 0.00091147
j1 | r4 | t1 | 0 | 1.4257 | INF | 0
j1 | r4 | t2 | 0 | 7.5902 | INF | 0
j1 | r4 | t3 | 0 | 13.4232 | INF | 0
j1 | r4 | t4 | 0 | 9.6573 | INF | 0
j1 | r4 | t5 | 0 | 1.9037 | INF | 0
j1 | r4 | t6 | 0 | 22.7302 | INF | 0
j1 | r4 | t7 | 0 | 4.4298 | INF | 0
j1 | r4 | t8 | 0 | 0 | INF | 0
j1 | r4 | t9 | 0 | 0 | INF | 0.00091147
j1 | r4 | t10 | 0 | 0 | INF | 0.00091147
j1 | r4 | t11 | 0 | 0 | INF | 0.00091147
j1 | r4 | t12 | 0 | 0 | INF | 0.00091147
j1 | r4 | t13 | 0 | 0 | INF | 0.00091147
j1 | r4 | t14 | 0 | 0 | INF | 0.00091147
j1 | r4 | t15 | 0 | 0 | INF | 0.00091147
j1 | r4 | t16 | 0 | 0 | INF | 0.00091147
j1 | r4 | t17 | 0 | 0 | INF | 0.00091147
j1 | r4 | t18 | 0 | 0 | INF | 0.00091147
j1 | r4 | t19 | 0 | 0 | INF | 0.00091147
j1 | r4 | t20 | 0 | 0 | INF | 0.00091147
j1 | r4 | t21 | 0 | 0 | INF | 0.00091147
j1 | r4 | t22 | 0 | 0 | INF | 0.00091147
j1 | r4 | t23 | 0 | 0 | INF | 0.00091147
j1 | r4 | t24 | 0 | 0 | INF | 0.00091147
j2 | r2 | t1 | 0 | 44.83 | INF | 0
j2 | r2 | t2 | 0 | 18 | INF | 0
j2 | r2 | t3 | 0 | 18.9408 | INF | 0
j2 | r2 | t4 | 0 | 21.1868 | INF | 0
j2 | r2 | t5 | 0 | 23.3063 | INF | 0
j2 | r2 | t6 | 0 | 25.2888 | INF | 0
j2 | r2 | t7 | 0 | 27.1242 | INF | 0
j2 | r2 | t8 | 0 | 29.6372 | INF | 0
j2 | r2 | t9 | 0 | 21.7084 | INF | 0
j2 | r2 | t10 | 0 | 27.0525 | INF | 0
j2 | r2 | t11 | 0 | 24.3013 | INF | 0
j2 | r2 | t12 | 0 | 28.4615 | INF | 0
j2 | r2 | t13 | 0 | 24.8186 | INF | 0
j2 | r2 | t14 | 0 | 33.9483 | INF | 0
j2 | r2 | t15 | 0 | 30.1414 | INF | 0
j2 | r2 | t16 | 0 | 26.7039 | INF | 0
j2 | r2 | t17 | 0 | 31.2094 | INF | 0
j2 | r2 | t18 | 0 | 28.9954 | INF | 0
j2 | r2 | t19 | 0 | 31.0052 | INF | 0
j2 | r2 | t20 | 0 | 10.67 | INF | 0
j2 | r2 | t21 | 0 | 20.1246 | INF | 0
j2 | r2 | t22 | 0 | 12.1254 | INF | 0
j2 | r2 | t23 | 0 | 0 | INF | 0
j2 | r2 | t24 | 0 | 12.7499 | INF | 0
j2 | r3 | t1 | 0 | 14 | INF | 0
j2 | r3 | t2 | 0 | 51.5954 | INF | 0
j2 | r3 | t3 | 0 | 49.5826 | INF | 0
j2 | r3 | t4 | 0 | 45.6912 | INF | 0
j2 | r3 | t5 | 0 | 41.7641 | INF | 0
j2 | r3 | t6 | 0 | 37.8226 | INF | 0
j2 | r3 | t7 | 0 | 33.888 | INF | 0
j2 | r3 | t8 | 0 | 30.8161 | INF | 0
j2 | r3 | t9 | 0 | 16.0979 | INF | 0
j2 | r3 | t10 | 0 | 8.8147 | INF | 0
j2 | r3 | t11 | 0 | 11.6397 | INF | 0
j2 | r3 | t12 | 0 | 5.6178 | INF | 0
j2 | r3 | t13 | 0 | 10 | INF | 0
j2 | r3 | t14 | 0 | 0 | INF | 0
j2 | r3 | t15 | 0 | 0 | INF | 0
j2 | r3 | t16 | 0 | 10 | INF | 0
j2 | r3 | t17 | 0 | 4.83 | INF | 0
j2 | r3 | t18 | 0 | 40.269 | INF | 0
j2 | r3 | t19 | 0 | 38.2376 | INF | 0
j2 | r3 | t20 | 0 | 30.2352 | INF | 0
j2 | r3 | t21 | 0 | 18.963 | INF | 0
j2 | r3 | t22 | 0 | 62.3131 | INF | 0
j2 | r3 | t23 | 0 | 0 | INF | 0
j2 | r3 | t24 | 0 | 28.1521 | INF | 0

## Qpompe
TOC
Qpompe | (variable) | DÃ©bit de la pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 29.1471 | INF | 0
small | p1 | t2 | 0 | 37.0138 | INF | 0
small | p1 | t3 | 0 | 36.4634 | INF | 0
small | p1 | t4 | 0 | 35.6188 | INF | 0
small | p1 | t5 | 0 | 34.691 | INF | 0
small | p1 | t6 | 0 | 33.6853 | INF | 0
small | p1 | t7 | 0 | 32.6077 | INF | 0
small | p1 | t8 | 0 | 32.3208 | INF | 0
small | p1 | t9 | 0 | 37.8063 | INF | 0
small | p1 | t10 | 0 | 35.8672 | INF | 0
small | p1 | t11 | 0 | 35.941 | INF | 0
small | p1 | t12 | 0 | 34.0792 | INF | 0
small | p1 | t13 | 0 | 34.8186 | INF | 0
small | p1 | t14 | 0 | 33.9483 | INF | 0
small | p1 | t15 | 0 | 30.1414 | INF | 0
small | p1 | t16 | 0 | 36.7039 | INF | 0
small | p1 | t17 | 0 | 36.0394 | INF | 0
small | p1 | t18 | 0 | 34.6322 | INF | 0
small | p1 | t19 | 0 | 34.6214 | INF | 0
small | p1 | t20 | 0 | 40.9052 | INF | 0
small | p1 | t21 | 0 | 39.0877 | INF | 0
small | p1 | t22 | 0 | 37.2192 | INF | 0
small | p1 | t23 | 0 | 0 | INF | 0
small | p1 | t24 | 0 | 40.9021 | INF | 0
small | p2 | t1 | 0 | 29.1471 | INF | 0
small | p2 | t2 | 0 | 37.0138 | INF | 0
small | p2 | t3 | 0 | 36.4634 | INF | 0
small | p2 | t4 | 0 | 35.6188 | INF | 0
small | p2 | t5 | 0 | 34.691 | INF | 0
small | p2 | t6 | 0 | 33.6853 | INF | 0
small | p2 | t7 | 0 | 32.6077 | INF | 0
small | p2 | t8 | 0 | 32.3208 | INF | 0
small | p2 | t9 | 0 | 0 | INF | 0
small | p2 | t10 | 0 | 0 | INF | 0
small | p2 | t11 | 0 | 0 | INF | 0
small | p2 | t12 | 0 | 0 | INF | 0
small | p2 | t13 | 0 | 0 | INF | 0
small | p2 | t14 | 0 | 0 | INF | 0
small | p2 | t15 | 0 | 0 | INF | 0
small | p2 | t16 | 0 | 0 | INF | 0
small | p2 | t17 | 0 | 0 | INF | 0
small | p2 | t18 | 0 | 34.6322 | INF | 0
small | p2 | t19 | 0 | 34.6214 | INF | 0
small | p2 | t20 | 0 | 0 | INF | 0
small | p2 | t21 | 0 | 0 | INF | 0
small | p2 | t22 | 0 | 37.2192 | INF | 0
small | p2 | t23 | 0 | 0 | INF | 0
small | p2 | t24 | 0 | 0 | INF | 0
small | p3 | t1 | 0 | 29.1471 | INF | 0
small | p3 | t2 | 0 | 37.0138 | INF | 0
small | p3 | t3 | 0 | 36.4634 | INF | 0
small | p3 | t4 | 0 | 35.6188 | INF | 0
small | p3 | t5 | 0 | 34.691 | INF | 0
small | p3 | t6 | 0 | 33.6853 | INF | 0
small | p3 | t7 | 0 | 32.6077 | INF | 0
small | p3 | t8 | 0 | 32.3208 | INF | 0
small | p3 | t9 | 0 | 0 | INF | 0
small | p3 | t10 | 0 | 0 | INF | 0
small | p3 | t11 | 0 | 0 | INF | 0
small | p3 | t12 | 0 | 0 | INF | 0
small | p3 | t13 | 0 | 0 | INF | 0
small | p3 | t14 | 0 | 0 | INF | 0
small | p3 | t15 | 0 | 0 | INF | 0
small | p3 | t16 | 0 | 0 | INF | 0
small | p3 | t17 | 0 | 0 | INF | 0
small | p3 | t18 | 0 | 0 | INF | 0
small | p3 | t19 | 0 | 0 | INF | 0
small | p3 | t20 | 0 | 0 | INF | 0
small | p3 | t21 | 0 | 0 | INF | 0
small | p3 | t22 | 0 | 0 | INF | 0
small | p3 | t23 | 0 | 0 | INF | 0
small | p3 | t24 | 0 | 0 | INF | 0

## Qpompe_inf
TOC
Qpompe_inf | (equation) | Borne infÃ©rieur pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 28.1471 | INF | 0
small | p1 | t2 | 0 | 36.0138 | INF | 0
small | p1 | t3 | 0 | 35.4634 | INF | 0
small | p1 | t4 | 0 | 34.6188 | INF | 0
small | p1 | t5 | 0 | 33.691 | INF | 0
small | p1 | t6 | 0 | 32.6853 | INF | 0
small | p1 | t7 | 0 | 31.6077 | INF | 0
small | p1 | t8 | 0 | 31.3208 | INF | 0
small | p1 | t9 | 0 | 36.8063 | INF | 0
small | p1 | t10 | 0 | 34.8672 | INF | 0
small | p1 | t11 | 0 | 34.941 | INF | 0
small | p1 | t12 | 0 | 33.0792 | INF | 0
small | p1 | t13 | 0 | 33.8186 | INF | 0
small | p1 | t14 | 0 | 32.9483 | INF | 0
small | p1 | t15 | 0 | 29.1414 | INF | 0
small | p1 | t16 | 0 | 35.7039 | INF | 0
small | p1 | t17 | 0 | 35.0394 | INF | 0
small | p1 | t18 | 0 | 33.6322 | INF | 0
small | p1 | t19 | 0 | 33.6214 | INF | 0
small | p1 | t20 | 0 | 39.9052 | INF | 0
small | p1 | t21 | 0 | 38.0877 | INF | 0
small | p1 | t22 | 0 | 36.2192 | INF | 0
small | p1 | t23 | 0 | 0 | INF | 0
small | p1 | t24 | 0 | 39.9021 | INF | 0
small | p2 | t1 | 0 | 28.1471 | INF | 0
small | p2 | t2 | 0 | 36.0138 | INF | 0
small | p2 | t3 | 0 | 35.4634 | INF | 0
small | p2 | t4 | 0 | 34.6188 | INF | 0
small | p2 | t5 | 0 | 33.691 | INF | 0
small | p2 | t6 | 0 | 32.6853 | INF | 0
small | p2 | t7 | 0 | 31.6077 | INF | 0
small | p2 | t8 | 0 | 31.3208 | INF | 0
small | p2 | t9 | 0 | 0 | INF | 0
small | p2 | t10 | 0 | 0 | INF | 0
small | p2 | t11 | 0 | 0 | INF | 0
small | p2 | t12 | 0 | 0 | INF | 0
small | p2 | t13 | 0 | 0 | INF | 0
small | p2 | t14 | 0 | 0 | INF | 0
small | p2 | t15 | 0 | 0 | INF | 0
small | p2 | t16 | 0 | 0 | INF | 0
small | p2 | t17 | 0 | 0 | INF | 0
small | p2 | t18 | 0 | 33.6322 | INF | 0
small | p2 | t19 | 0 | 33.6214 | INF | 0
small | p2 | t20 | 0 | 0 | INF | 0
small | p2 | t21 | 0 | 0 | INF | 0
small | p2 | t22 | 0 | 36.2192 | INF | 0
small | p2 | t23 | 0 | 0 | INF | 0
small | p2 | t24 | 0 | 0 | INF | 0
small | p3 | t1 | 0 | 28.1471 | INF | 0
small | p3 | t2 | 0 | 36.0138 | INF | 0
small | p3 | t3 | 0 | 35.4634 | INF | 0
small | p3 | t4 | 0 | 34.6188 | INF | 0
small | p3 | t5 | 0 | 33.691 | INF | 0
small | p3 | t6 | 0 | 32.6853 | INF | 0
small | p3 | t7 | 0 | 31.6077 | INF | 0
small | p3 | t8 | 0 | 31.3208 | INF | 0
small | p3 | t9 | 0 | 0 | INF | 0
small | p3 | t10 | 0 | 0 | INF | 0
small | p3 | t11 | 0 | 0 | INF | 0
small | p3 | t12 | 0 | 0 | INF | 0
small | p3 | t13 | 0 | 0 | INF | 0
small | p3 | t14 | 0 | 0 | INF | 0
small | p3 | t15 | 0 | 0 | INF | 0
small | p3 | t16 | 0 | 0 | INF | 0
small | p3 | t17 | 0 | 0 | INF | 0
small | p3 | t18 | 0 | 0 | INF | 0
small | p3 | t19 | 0 | 0 | INF | 0
small | p3 | t20 | 0 | 0 | INF | 0
small | p3 | t21 | 0 | 0 | INF | 0
small | p3 | t22 | 0 | 0 | INF | 0
small | p3 | t23 | 0 | 0 | INF | 0
small | p3 | t24 | 0 | 0 | INF | 0

## Qpompe_sup
TOC
Qpompe_sup | (equation) | Borne supÃ©rieur pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | -INF | -60.8529 | 0 | 0
small | p1 | t2 | -INF | -52.9862 | 0 | 0
small | p1 | t3 | -INF | -53.5366 | 0 | 0
small | p1 | t4 | -INF | -54.3812 | 0 | 0
small | p1 | t5 | -INF | -55.309 | 0 | 0
small | p1 | t6 | -INF | -56.3147 | 0 | 0
small | p1 | t7 | -INF | -57.3923 | 0 | 0
small | p1 | t8 | -INF | -57.6792 | 0 | 0
small | p1 | t9 | -INF | -52.1937 | 0 | 0
small | p1 | t10 | -INF | -54.1328 | 0 | 0
small | p1 | t11 | -INF | -54.059 | 0 | 0
small | p1 | t12 | -INF | -55.9208 | 0 | 0
small | p1 | t13 | -INF | -55.1814 | 0 | 0
small | p1 | t14 | -INF | -56.0517 | 0 | 0
small | p1 | t15 | -INF | -59.8586 | 0 | 0
small | p1 | t16 | -INF | -53.2961 | 0 | 0
small | p1 | t17 | -INF | -53.9606 | 0 | 0
small | p1 | t18 | -INF | -55.3678 | 0 | 0
small | p1 | t19 | -INF | -55.3786 | 0 | 0
small | p1 | t20 | -INF | -49.0948 | 0 | 0
small | p1 | t21 | -INF | -50.9123 | 0 | 0
small | p1 | t22 | -INF | -52.7808 | 0 | 0
small | p1 | t23 | -INF | 0 | 0 | 0
small | p1 | t24 | -INF | -49.0979 | 0 | 0
small | p2 | t1 | -INF | -60.8529 | 0 | 0
small | p2 | t2 | -INF | -52.9862 | 0 | 0
small | p2 | t3 | -INF | -53.5366 | 0 | 0
small | p2 | t4 | -INF | -54.3812 | 0 | 0
small | p2 | t5 | -INF | -55.309 | 0 | 0
small | p2 | t6 | -INF | -56.3147 | 0 | 0
small | p2 | t7 | -INF | -57.3923 | 0 | 0
small | p2 | t8 | -INF | -57.6792 | 0 | 0
small | p2 | t9 | -INF | 0 | 0 | -0.0044371
small | p2 | t10 | -INF | 0 | 0 | -0.0044371
small | p2 | t11 | -INF | 0 | 0 | 0
small | p2 | t12 | -INF | 0 | 0 | 0
small | p2 | t13 | -INF | 0 | 0 | -0.0044371
small | p2 | t14 | -INF | 0 | 0 | -0.0044371
small | p2 | t15 | -INF | 0 | 0 | 0
small | p2 | t16 | -INF | 0 | 0 | -0.0044371
small | p2 | t17 | -INF | 0 | 0 | 0
small | p2 | t18 | -INF | -55.3678 | 0 | 0
small | p2 | t19 | -INF | -55.3786 | 0 | 0
small | p2 | t20 | -INF | 0 | 0 | -0.0044371
small | p2 | t21 | -INF | 0 | 0 | 0
small | p2 | t22 | -INF | -52.7808 | 0 | 0
small | p2 | t23 | -INF | 0 | 0 | 0
small | p2 | t24 | -INF | 0 | 0 | 0
small | p3 | t1 | -INF | -60.8529 | 0 | 0
small | p3 | t2 | -INF | -52.9862 | 0 | 0
small | p3 | t3 | -INF | -53.5366 | 0 | 0
small | p3 | t4 | -INF | -54.3812 | 0 | 0
small | p3 | t5 | -INF | -55.309 | 0 | 0
small | p3 | t6 | -INF | -56.3147 | 0 | 0
small | p3 | t7 | -INF | -57.3923 | 0 | 0
small | p3 | t8 | -INF | -57.6792 | 0 | 0
small | p3 | t9 | -INF | 0 | 0 | -0.0044371
small | p3 | t10 | -INF | 0 | 0 | 0
small | p3 | t11 | -INF | 0 | 0 | 0
small | p3 | t12 | -INF | 0 | 0 | -0.0044371
small | p3 | t13 | -INF | 0 | 0 | 0
small | p3 | t14 | -INF | 0 | 0 | -0.0044371
small | p3 | t15 | -INF | 0 | 0 | -0.0044371
small | p3 | t16 | -INF | 0 | 0 | -0.0044371
small | p3 | t17 | -INF | 0 | 0 | -0.0044371
small | p3 | t18 | -INF | 0 | 0 | 0
small | p3 | t19 | -INF | 0 | 0 | 0
small | p3 | t20 | -INF | 0 | 0 | -0.0044371
small | p3 | t21 | -INF | 0 | 0 | 0
small | p3 | t22 | -INF | 0 | 0 | -0.0044371
small | p3 | t23 | -INF | 0 | 0 | -0.0044371
small | p3 | t24 | -INF | 0 | 0 | 0

## r
TOC
r | (set) | reservoirs
n
r1
r2
r3
r4

## Satisfaction_demande
TOC
Satisfaction_demande | (equation) | Satisfaction de la demande en (r) Ã (t)
r | t | Lowerbound | Value | Upperbound | Marginal
r1 | t1 | 90.17 | 90.17 | 90.17 | -0.0035256
r1 | t2 | -5 | -5 | -5 | -0.0035256
r1 | t3 | -3.67 | -3.67 | -3.67 | -0.0035256
r1 | t4 | -6.5 | -6.5 | -6.5 | -0.0035256
r1 | t5 | -5.67 | -5.67 | -5.67 | -0.0035256
r1 | t6 | -7.5 | -7.5 | -7.5 | -0.0035256
r1 | t7 | -3 | -3 | -3 | -0.0035256
r1 | t8 | -3 | -3 | -3 | -0.0035256
r1 | t9 | -2 | -2 | -2 | -0.0035256
r1 | t10 | -13.5 | -13.5 | -13.5 | -0.0035256
r1 | t11 | -14 | -14 | -14 | -0.0035256
r1 | t12 | -12 | -12 | -12 | -0.0035256
r1 | t13 | -12 | -12 | -12 | -0.0035256
r1 | t14 | -12 | -12 | -12 | -0.0035256
r1 | t15 | -12 | -12 | -12 | -0.0035256
r1 | t16 | -12.83 | -12.83 | -12.83 | -0.0035256
r1 | t17 | -15.67 | -15.67 | -15.67 | -0.0035256
r1 | t18 | -13.17 | -13.17 | -13.17 | -0.0035256
r1 | t19 | -12 | -12 | -12 | -0.0035256
r1 | t20 | -10 | -10 | -10 | -0.0035256
r1 | t21 | -11 | -11 | -11 | -0.0035256
r1 | t22 | -14 | -14 | -14 | -0.0035256
r1 | t23 | -19.5 | -19.5 | -19.5 | -0.0035256
r1 | t24 | -10.17 | -10.17 | -10.17 | -0.0035256
r2 | t1 | 55.17 | 55.17 | 55.17 | -0.0048279
r2 | t2 | -18 | -18 | -18 | -0.0040713
r2 | t3 | 0 | 1.4211e-14 | 0 | -0.0040949
r2 | t4 | 0 | -2.8422e-14 | 0 | -0.0041484
r2 | t5 | 0 | -2.8422e-14 | 0 | -0.0042031
r2 | t6 | 0 | 2.8422e-14 | 0 | -0.0042592
r2 | t7 | 0 | 0 | 0 | -0.0043171
r2 | t8 | -45 | -45 | -45 | -0.0043768
r2 | t9 | -51.67 | -51.67 | -51.67 | -0.0044371
r2 | t10 | 0 | 0 | 0 | -0.0044371
r2 | t11 | 0 | 0 | 0 | -0.0044371
r2 | t12 | 0 | -2.8422e-14 | 0 | -0.0044371
r2 | t13 | -15.17 | -15.17 | -15.17 | -0.0044371
r2 | t14 | -103.83 | -103.83 | -103.83 | -0.0044371
r2 | t15 | -34.83 | -34.83 | -34.83 | -0.0044371
r2 | t16 | -43.83 | -43.83 | -43.83 | -0.0044371
r2 | t17 | -54.83 | -54.83 | -54.83 | -0.0044371
r2 | t18 | -51.17 | -51.17 | -51.17 | -0.0044371
r2 | t19 | -53.5 | -53.5 | -53.5 | -0.0044371
r2 | t20 | -0.67 | -0.67 | -0.67 | -0.0044371
r2 | t21 | 0 | 0 | 0 | -0.0044371
r2 | t22 | 0 | 0 | 0 | -0.0044371
r2 | t23 | -1.5 | -1.5 | -1.5 | -0.0044371
r2 | t24 | -53.5 | -53.5 | -53.5 | -0.0044371
r3 | t1 | 86 | 86 | 86 | -0.0037097
r3 | t2 | -13.33 | -13.33 | -13.33 | -0.003696
r3 | t3 | -25.5 | -25.5 | -25.5 | -0.003696
r3 | t4 | -11 | -11 | -11 | -0.003696
r3 | t5 | -10 | -10 | -10 | -0.003696
r3 | t6 | -10 | -10 | -10 | -0.003696
r3 | t7 | -11 | -11 | -11 | -0.003696
r3 | t8 | -10.33 | -10.33 | -10.33 | -0.003696
r3 | t9 | -30.17 | -30.17 | -30.17 | -0.0044371
r3 | t10 | -17.67 | -17.67 | -17.67 | -0.0044371
r3 | t11 | -36.33 | -36.33 | -36.33 | -0.0044371
r3 | t12 | -38 | -38 | -38 | -0.0044371
r3 | t13 | -35 | -35 | -35 | -0.0044371
r3 | t14 | -35.17 | -35.17 | -35.17 | -0.0044371
r3 | t15 | -19.33 | -19.33 | -19.33 | -0.0044371
r3 | t16 | -31.83 | -31.83 | -31.83 | -0.0044371
r3 | t17 | -23.5 | -23.5 | -23.5 | -0.0044371
r3 | t18 | -16.83 | -16.83 | -16.83 | -0.0044371
r3 | t19 | -28 | -28 | -28 | -0.0044371
r3 | t20 | -33.5 | -33.5 | -33.5 | -0.0044371
r3 | t21 | -39 | -39 | -39 | -0.0044371
r3 | t22 | -38.5 | -38.5 | -38.5 | -0.0044371
r3 | t23 | -32.67 | -32.67 | -32.67 | -0.0044371
r3 | t24 | -29.67 | -29.67 | -29.67 | -0.0044371
r4 | t1 | 99 | 99 | 99 | -0.0035256
r4 | t2 | -1 | -1 | -1 | -0.0035256
r4 | t3 | -8.5 | -8.5 | -8.5 | -0.0035256
r4 | t4 | -9.5 | -9.5 | -9.5 | -0.0035256
r4 | t5 | -4 | -4 | -4 | -0.0035256
r4 | t6 | -2.33 | -2.33 | -2.33 | -0.0035256
r4 | t7 | 0 | 2.8422e-14 | 0 | -0.0035256
r4 | t8 | -1 | -1 | -1 | -0.0035256
r4 | t9 | -0.83 | -0.83 | -0.83 | -0.0035256
r4 | t10 | -2 | -2 | -2 | -0.0035256
r4 | t11 | -2 | -2 | -2 | -0.0035256
r4 | t12 | -2 | -2 | -2 | -0.0035256
r4 | t13 | -2 | -2 | -2 | -0.0035256
r4 | t14 | -2 | -2 | -2 | -0.0035256
r4 | t15 | -2 | -2 | -2 | -0.0035256
r4 | t16 | -3 | -3 | -3 | -0.0035256
r4 | t17 | -2 | -2 | -2 | -0.0035256
r4 | t18 | -1 | -1 | -1 | -0.0035256
r4 | t19 | -2 | -2 | -2 | -0.0035256
r4 | t20 | -3 | -3 | -3 | -0.0035256
r4 | t21 | -2 | -2 | -2 | -0.0035256
r4 | t22 | -3 | -3 | -3 | -0.0035256
r4 | t23 | -3 | -3 | -3 | -0.0035256
r4 | t24 | -2 | -2 | -2 | -0.0035256

## Son
TOC
Son | (variable) | Statu t de la pompe (k) fonctionne Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 1 | 1 | 1 | 0.12346
small | p1 | t2 | 1 | 1 | 1 | 0.12084
small | p1 | t3 | 1 | 1 | 1 | 0.12099
small | p1 | t4 | 1 | 1 | 1 | 0.12122
small | p1 | t5 | 1 | 1 | 1 | 0.12149
small | p1 | t6 | 1 | 1 | 1 | 0.1218
small | p1 | t7 | 1 | 1 | 1 | 0.12215
small | p1 | t8 | 1 | 1 | 1 | 0.12225
small | p1 | t9 | 0 | 1 | 1 | 0.17565
small | p1 | t10 | 0 | 1 | 1 | 0.17565
small | p1 | t11 | 0 | 1 | 1 | 0.17565
small | p1 | t12 | 0 | 1 | 1 | 0.17565
small | p1 | t13 | 0 | 1 | 1 | 0.17565
small | p1 | t14 | 0 | 1 | 1 | 0.17565
small | p1 | t15 | 0 | 1 | 1 | 0.17565
small | p1 | t16 | 0 | 1 | 1 | 0.17565
small | p1 | t17 | 0 | 1 | 1 | 0.17565
small | p1 | t18 | 0 | 1 | 1 | 0.17565
small | p1 | t19 | 0 | 1 | 1 | 0.17565
small | p1 | t20 | 0 | 1 | 1 | 0.17565
small | p1 | t21 | 0 | 1 | 1 | 0.17565
small | p1 | t22 | 0 | 1 | 1 | 0.17565
small | p1 | t23 | 0 | 0 | 1 | 0.17565
small | p1 | t24 | 0 | 1 | 1 | 0.17565
small | p2 | t1 | 1 | 1 | 1 | 0.12346
small | p2 | t2 | 1 | 1 | 1 | 0.12084
small | p2 | t3 | 1 | 1 | 1 | 0.12099
small | p2 | t4 | 1 | 1 | 1 | 0.12122
small | p2 | t5 | 1 | 1 | 1 | 0.12149
small | p2 | t6 | 1 | 1 | 1 | 0.1218
small | p2 | t7 | 1 | 1 | 1 | 0.12215
small | p2 | t8 | 1 | 1 | 1 | 0.12225
small | p2 | t9 | 0 | 0 | 1 | -0.39934
small | p2 | t10 | 0 | 0 | 1 | -0.39934
small | p2 | t11 | 0 | 0 | 1 | 0.17565
small | p2 | t12 | 0 | 0 | 1 | 0.17565
small | p2 | t13 | 0 | 0 | 1 | -0.39934
small | p2 | t14 | 0 | 0 | 1 | -0.39934
small | p2 | t15 | 0 | 0 | 1 | 0.17565
small | p2 | t16 | 0 | 0 | 1 | -0.39934
small | p2 | t17 | 0 | 0 | 1 | 0.17565
small | p2 | t18 | 0 | 1 | 1 | 0.17565
small | p2 | t19 | 0 | 1 | 1 | 0.17565
small | p2 | t20 | 0 | 0 | 1 | -0.39934
small | p2 | t21 | 0 | 0 | 1 | 0.17565
small | p2 | t22 | 0 | 1 | 1 | 0.17565
small | p2 | t23 | 0 | 0 | 1 | 0.17565
small | p2 | t24 | 0 | 0 | 1 | 0.17565
small | p3 | t1 | 1 | 1 | 1 | 0.12346
small | p3 | t2 | 1 | 1 | 1 | 0.12084
small | p3 | t3 | 1 | 1 | 1 | 0.12099
small | p3 | t4 | 1 | 1 | 1 | 0.12122
small | p3 | t5 | 1 | 1 | 1 | 0.12149
small | p3 | t6 | 1 | 1 | 1 | 0.1218
small | p3 | t7 | 1 | 1 | 1 | 0.12215
small | p3 | t8 | 1 | 1 | 1 | 0.12225
small | p3 | t9 | 0 | 0 | 1 | -0.39934
small | p3 | t10 | 0 | 0 | 1 | 0.17565
small | p3 | t11 | 0 | 0 | 1 | 0.17565
small | p3 | t12 | 0 | 0 | 1 | -0.39934
small | p3 | t13 | 0 | 0 | 1 | 0.17565
small | p3 | t14 | 0 | 0 | 1 | -0.39934
small | p3 | t15 | 0 | 0 | 1 | -0.39934
small | p3 | t16 | 0 | 0 | 1 | -0.39934
small | p3 | t17 | 0 | 0 | 1 | -0.39934
small | p3 | t18 | 0 | 0 | 1 | 0.17565
small | p3 | t19 | 0 | 0 | 1 | 0.17565
small | p3 | t20 | 0 | 0 | 1 | -0.39934
small | p3 | t21 | 0 | 0 | 1 | 0.17565
small | p3 | t22 | 0 | 0 | 1 | -0.39934
small | p3 | t23 | 0 | 0 | 1 | -0.39934
small | p3 | t24 | 0 | 0 | 1 | 0.17565

## surface
TOC
surface | (parameter) | mean surface of each reservoir (m^2)
r | Value
r1 | 80
r2 | 80
r3 | 80
r4 | 80

## t
TOC
t | (set) | 1-hour periods
dim1
t1
t2
t3
t4
t5
t6
t7
t8
t9
t10
t11
t12
t13
t14
t15
t16
t17
t18
t19
t20
t21
t22
t23
t24

## tariff
TOC
tariff | (parameter) | electricity tariff
t | Value
t1 | 0.02916
t2 | 0.02916
t3 | 0.02916
t4 | 0.02916
t5 | 0.02916
t6 | 0.02916
t7 | 0.02916
t8 | 0.02916
t9 | 0.04609
t10 | 0.04609
t11 | 0.04609
t12 | 0.04609
t13 | 0.04609
t14 | 0.04609
t15 | 0.04609
t16 | 0.04609
t17 | 0.04609
t18 | 0.04609
t19 | 0.04609
t20 | 0.04609
t21 | 0.04609
t22 | 0.04609
t23 | 0.04609
t24 | 0.04609

## v
TOC
v | (variable) | Volume au rÃ©servoir (r) en (t)
n | t | Lowerbound | Value | Upperbound | Marginal
r1 | t1 | 100 | 117.3558 | 300 | 0
r1 | t2 | 100 | 146.2115 | 300 | 0
r1 | t3 | 100 | 169.9852 | 300 | 0
r1 | t4 | 100 | 193.8065 | 300 | 0
r1 | t5 | 100 | 225.2352 | 300 | 0
r1 | t6 | 100 | 232.9496 | 300 | 0
r1 | t7 | 100 | 262.3308 | 300 | 0
r1 | t8 | 100 | 295.84 | 300 | 0
r1 | t9 | 100 | 293.84 | 300 | 0
r1 | t10 | 100 | 280.34 | 300 | 0
r1 | t11 | 100 | 266.34 | 300 | 0
r1 | t12 | 100 | 254.34 | 300 | 0
r1 | t13 | 100 | 242.34 | 300 | 0
r1 | t14 | 100 | 230.34 | 300 | 0
r1 | t15 | 100 | 218.34 | 300 | 0
r1 | t16 | 100 | 205.51 | 300 | 0
r1 | t17 | 100 | 189.84 | 300 | 0
r1 | t18 | 100 | 176.67 | 300 | 0
r1 | t19 | 100 | 164.67 | 300 | 0
r1 | t20 | 100 | 154.67 | 300 | 0
r1 | t21 | 100 | 143.67 | 300 | 0
r1 | t22 | 100 | 129.67 | 300 | 0
r1 | t23 | 100 | 110.17 | 300 | 0
r1 | t24 | 100 | 100 | 300 | 0.0035256
r2 | t1 | 100 | 100 | 300 | 0.00082348
r2 | t2 | 100 | 100 | 300 | 2.8991e-05
r2 | t3 | 100 | 118.9408 | 300 | 0
r2 | t4 | 100 | 140.1275 | 300 | 0
r2 | t5 | 100 | 163.4339 | 300 | 0
r2 | t6 | 100 | 188.7227 | 300 | 0
r2 | t7 | 100 | 215.8469 | 300 | 0
r2 | t8 | 100 | 200.484 | 300 | 0
r2 | t9 | 100 | 170.5225 | 300 | 0
r2 | t10 | 100 | 197.575 | 300 | 0
r2 | t11 | 100 | 221.8763 | 300 | 0
r2 | t12 | 100 | 250.3377 | 300 | 0
r2 | t13 | 100 | 259.9863 | 300 | 0
r2 | t14 | 100 | 190.1046 | 300 | 0
r2 | t15 | 100 | 185.416 | 300 | 0
r2 | t16 | 100 | 168.2899 | 300 | 0
r2 | t17 | 100 | 144.6693 | 300 | 0
r2 | t18 | 100 | 122.4948 | 300 | 0
r2 | t19 | 100 | 100 | 300 | 0
r2 | t20 | 100 | 110 | 300 | 0
r2 | t21 | 100 | 130.1246 | 300 | 0
r2 | t22 | 100 | 142.2501 | 300 | 0
r2 | t23 | 100 | 140.7501 | 300 | 0
r2 | t24 | 100 | 100 | 300 | 0.0044371
r3 | t1 | 100 | 100 | 300 | 1.3645e-05
r3 | t2 | 100 | 138.2654 | 300 | 0
r3 | t3 | 100 | 162.3479 | 300 | 0
r3 | t4 | 100 | 197.0392 | 300 | 0
r3 | t5 | 100 | 228.8033 | 300 | 0
r3 | t6 | 100 | 256.6259 | 300 | 0
r3 | t7 | 100 | 279.5139 | 300 | 0
r3 | t8 | 100 | 300 | 300 | -0.00074105
r3 | t9 | 100 | 285.9279 | 300 | 0
r3 | t10 | 100 | 277.0725 | 300 | 0
r3 | t11 | 100 | 252.3823 | 300 | 0
r3 | t12 | 100 | 220 | 300 | 0
r3 | t13 | 100 | 195 | 300 | 0
r3 | t14 | 100 | 159.83 | 300 | 0
r3 | t15 | 100 | 140.5 | 300 | 0
r3 | t16 | 100 | 118.67 | 300 | 0
r3 | t17 | 100 | 100 | 300 | 0
r3 | t18 | 100 | 123.439 | 300 | 0
r3 | t19 | 100 | 133.6766 | 300 | 0
r3 | t20 | 100 | 130.4118 | 300 | 0
r3 | t21 | 100 | 110.3748 | 300 | 0
r3 | t22 | 100 | 134.1879 | 300 | 0
r3 | t23 | 100 | 101.5179 | 300 | 0
r3 | t24 | 100 | 100 | 300 | 0.0044371
r4 | t1 | 100 | 100.4257 | 300 | 0
r4 | t2 | 100 | 107.0158 | 300 | 0
r4 | t3 | 100 | 111.9391 | 300 | 0
r4 | t4 | 100 | 112.0963 | 300 | 0
r4 | t5 | 100 | 110 | 300 | 0
r4 | t6 | 100 | 130.4002 | 300 | 0
r4 | t7 | 100 | 134.83 | 300 | 0
r4 | t8 | 100 | 133.83 | 300 | 0
r4 | t9 | 100 | 133 | 300 | 0
r4 | t10 | 100 | 131 | 300 | 0
r4 | t11 | 100 | 129 | 300 | 0
r4 | t12 | 100 | 127 | 300 | 0
r4 | t13 | 100 | 125 | 300 | 0
r4 | t14 | 100 | 123 | 300 | 0
r4 | t15 | 100 | 121 | 300 | 0
r4 | t16 | 100 | 118 | 300 | 0
r4 | t17 | 100 | 116 | 300 | 0
r4 | t18 | 100 | 115 | 300 | 0
r4 | t19 | 100 | 113 | 300 | 0
r4 | t20 | 100 | 110 | 300 | 0
r4 | t21 | 100 | 108 | 300 | 0
r4 | t22 | 100 | 105 | 300 | 0
r4 | t23 | 100 | 102 | 300 | 0
r4 | t24 | 100 | 100 | 300 | 0.0035256

## vinit
TOC
vinit | (parameter) | initial volume of each reservoir
r | t | Value
r1 | t1 | 100
r2 | t1 | 100
r3 | t1 | 100
r4 | t1 | 100

## vmax
TOC
vmax | (parameter) | maximal volume of each reservoir (m^3)
r | Value
r1 | 300
r2 | 300
r3 | 300
r4 | 300

## vmin
TOC
vmin | (parameter) | minimal volume of each reservoir (m^3)
r | Value
r1 | 100
r2 | 100
r3 | 100
r4 | 100