## Table of Contents
Name | Type | Dim | Count | Explanatory text
c | set | 1 | 1 | pump class
Charge | variable | 2 | 168 | Niveau de charge au noeud (n) Ã (t)
Charge_j | equation | 2 | 48 | Niveau de charge aux jonctions (j) Ã (t)
Charge_r | equation | 2 | 96 | Niveau de charge au rÃ©servoir (r) Ã (t)
Charge_s | equation | 4 | 72 | Niveau de charge Ã la source Ã (t)
d | set | 1 | 3 | pump number
Debit_s | equation | 1 | 24 | Equilibre des dÃ©bits Ã la source Ã (t)
degree | set | 1 | 3 | polynomial degrees
demand | parameter | 2 | 85 | demand in water at each reservoir and each hour (m^3)
dp | parameter | 1 | 0 | Aliased with d
Elec_pompe | equation | 3 | 72 | Consommation Ã©lectrique de la pompe (k) Ã (t)
gamma | parameter | 2 | 2 | linear fit of the electrical power (kW) on the flow (m^3.h^-1) for each class of pumps
Gpompe | variable | 1 | 0 | Gain de charge de la pompe Ã (t) en (m)
height | parameter | 1 | 6 | elevation at each node relative to s (m)
height0 | parameter | 0 | 1 | reference height at the source (m)
j | set | 1 | 2 | junctions
k | set | 2 | 3 | pump type
kp | set | 2 | 0 | Aliased with k
l | set | 2 | 6 | pipes
n | set | 1 | 7 | nodes
night | set | 1 | 8 | night periods
Noeud | equation | 2 | 48 | Contrainte dÃ©bit noeud (n) Ã (t)
np | equation | 1 | 0 | Aliased with n
obj | equation | 0 | 1 | Objectif
Ordre_pompe | equation | 3 | 72 | Les pompes s allument dans l ordre
Perte_charge | equation | 3 | 144 | Perte charge (n n) Ã (t)
phi | parameter | 3 | 12 | quadratic fit of the pressure loss (m) on the flow (m^3.h^-1) for each pipe
Ppompe | variable | 3 | 72 | Puissance Ã©lectrique de la pompe (k) Ã (t) en (kW)
psi | parameter | 2 | 2 | quadratic fit of the service pressure (m) on the flow (m^3.h^-1) for each class of pumps
Qmax | parameter | 0 | 1 | maximal debit for pumps
Qmin | parameter | 0 | 1 | minimal debit for pumps
Qpipe | variable | 3 | 144 | DÃ©bit dans le tuyau (l) Ã (t)
Qpompe | variable | 3 | 72 | DÃ©bit de la pompe (k) Ã (t)
Qpompe_inf | equation | 3 | 72 | Borne infÃ©rieur pompe (k) Ã (t)
Qpompe_sup | equation | 3 | 72 | Borne supÃ©rieur pompe (k) Ã (t)
r | set | 1 | 4 | reservoirs
Reduction | equation | 0 | 1 | RÃ©duction des possibilitÃ©s
Satisfaction_demande | equation | 2 | 96 | Satisfaction de la demande en (r) Ã (t)
Son | variable | 3 | 72 | Statu t de la pompe (k) fonctionne Ã (t)
surface | parameter | 1 | 4 | mean surface of each reservoir (m^2)
t | set | 1 | 24 | 1-hour periods
tariff | parameter | 1 | 24 | electricity tariff
tariffday | parameter | 0 | 1 | electricity hourly tariff at day (euro.kWh^-1)
tariffnight | parameter | 0 | 1 | electricity hourly tariff at night (euro.kWh^-1)
v | variable | 2 | 96 | Volume au rÃ©servoir (r) en (t)
vinit | parameter | 2 | 4 | initial volume of each reservoir
vmax | parameter | 1 | 4 | maximal volume of each reservoir (m^3)
vmin | parameter | 1 | 4 | minimal volume of each reservoir (m^3)
z | variable | 0 | 1 | CoÃ»t exploitation final

## Scalar
TOC
Parameter | Value | Explanatory text
height0 | 0 | reference height at the source (m)
Qmax | 90 | maximal debit for pumps
Qmin | 1 | minimal debit for pumps
tariffday | 0.04609 | electricity hourly tariff at day (euro.kWh^-1)
tariffnight | 0.02916 | electricity hourly tariff at night (euro.kWh^-1)
Variable | Lowerbound | Value | Upperbound | Marginal | Explanatory text
z | -INF | 10.9962 | INF | 0 | CoÃ»t exploitation final
Equation | Lowerbound | Value | Upperbound | Marginal | Explanatory text
obj | 0 | 0 | 0 | 1 | Objectif
Reduction | 16.2648 | 42 | INF | 0 | RÃ©duction des possibilitÃ©s

## c
TOC
c | (set) | pump class
dim1
small

## Charge
TOC
Charge | (variable) | Niveau de charge au noeud (n) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
s | t1 | 0 | 57.6352 | INF | 0
s | t2 | 0 | 54.2998 | INF | 0
s | t3 | 0 | 54.559 | INF | 0
s | t4 | 0 | 54.9491 | INF | 0
s | t5 | 0 | 55.3672 | INF | 0
s | t6 | 0 | 55.8079 | INF | 0
s | t7 | 0 | 56.2657 | INF | 0
s | t8 | 0 | 56.385 | INF | 0
s | t9 | 0 | 55.5007 | INF | 0
s | t10 | 0 | 53.5992 | INF | 0
s | t11 | 0 | 55.7454 | INF | 0
s | t12 | 0 | 54.378 | INF | 0
s | t13 | 0 | 55.7951 | INF | 0
s | t14 | 0 | 55.6034 | INF | 0
s | t15 | 0 | 55.5976 | INF | 0
s | t16 | 0 | 56.8574 | INF | 0
s | t17 | 0 | 55.2672 | INF | 0
s | t18 | 0 | 55.1273 | INF | 0
s | t19 | 0 | 53.7964 | INF | 0
s | t20 | 0 | 52.6855 | INF | 0
s | t21 | 0 | 52.0815 | INF | 0
s | t22 | 0 | 53.4328 | INF | 0
s | t23 | 0 | 52.6193 | INF | 0
s | t24 | 0 | 52.2768 | INF | 0
j1 | t1 | 0 | 57.187 | INF | 0
j1 | t2 | 0 | 53.5885 | INF | 0
j1 | t3 | 0 | 53.868 | INF | 0
j1 | t4 | 0 | 54.2889 | INF | 0
j1 | t5 | 0 | 54.7399 | INF | 0
j1 | t6 | 0 | 55.2153 | INF | 0
j1 | t7 | 0 | 55.7092 | INF | 0
j1 | t8 | 0 | 55.838 | INF | 0
j1 | t9 | 0 | 55.4235 | INF | 0
j1 | t10 | 0 | 53.5042 | INF | 0
j1 | t11 | 0 | 55.6703 | INF | 0
j1 | t12 | 0 | 54.2902 | INF | 0
j1 | t13 | 0 | 55.7206 | INF | 0
j1 | t14 | 0 | 55.5271 | INF | 0
j1 | t15 | 0 | 55.5212 | INF | 0
j1 | t16 | 0 | 56.3477 | INF | 0
j1 | t17 | 0 | 55.1877 | INF | 0
j1 | t18 | 0 | 55.0465 | INF | 0
j1 | t19 | 0 | 53.7033 | INF | 0
j1 | t20 | 0 | 52.5822 | INF | 0
j1 | t21 | 0 | 51.9726 | INF | 0
j1 | t22 | 0 | 53.3363 | INF | 0
j1 | t23 | 0 | 52.5153 | INF | 0
j1 | t24 | 0 | 52.1697 | INF | 0
j2 | t1 | 0 | 56.1301 | INF | 0
j2 | t2 | 0 | 52.1284 | INF | 0
j2 | t3 | 0 | 52.451 | INF | 0
j2 | t4 | 0 | 52.9367 | INF | 0
j2 | t5 | 0 | 53.4571 | INF | 0
j2 | t6 | 0 | 54.0058 | INF | 0
j2 | t7 | 0 | 54.5758 | INF | 0
j2 | t8 | 0 | 54.7244 | INF | 0
j2 | t9 | 0 | 55.0412 | INF | 0
j2 | t10 | 0 | 53.0326 | INF | 0
j2 | t11 | 0 | 55.2993 | INF | 0
j2 | t12 | 0 | 53.855 | INF | 0
j2 | t13 | 0 | 55.3519 | INF | 0
j2 | t14 | 0 | 55.1494 | INF | 0
j2 | t15 | 0 | 55.1432 | INF | 0
j2 | t16 | 0 | 53.7615 | INF | 0
j2 | t17 | 0 | 54.7942 | INF | 0
j2 | t18 | 0 | 54.6464 | INF | 0
j2 | t19 | 0 | 53.2408 | INF | 0
j2 | t20 | 0 | 52.0678 | INF | 0
j2 | t21 | 0 | 51.4302 | INF | 0
j2 | t22 | 0 | 52.8568 | INF | 0
j2 | t23 | 0 | 51.9979 | INF | 0
j2 | t24 | 0 | 51.6366 | INF | 0
r1 | t1 | 0 | 56.5836 | INF | 0
r1 | t2 | 0 | 51.9094 | INF | 0
r1 | t3 | 0 | 52.662 | INF | 0
r1 | t4 | 0 | 54.2889 | INF | 0
r1 | t5 | 0 | 53.2451 | INF | 0
r1 | t6 | 0 | 54.457 | INF | 0
r1 | t7 | 0 | 54.3706 | INF | 0
r1 | t8 | 0 | 54.5203 | INF | 0
r1 | t9 | 0 | 55.4235 | INF | 0
r1 | t10 | 0 | 53.5042 | INF | 0
r1 | t11 | 0 | 55.6703 | INF | 0
r1 | t12 | 0 | 54.2902 | INF | 0
r1 | t13 | 0 | 55.7206 | INF | 0
r1 | t14 | 0 | 55.5271 | INF | 0
r1 | t15 | 0 | 55.5212 | INF | 0
r1 | t16 | 0 | 56.3477 | INF | 0
r1 | t17 | 0 | 55.1877 | INF | 0
r1 | t18 | 0 | 55.0465 | INF | 0
r1 | t19 | 0 | 53.7033 | INF | 0
r1 | t20 | 0 | 52.5822 | INF | 0
r1 | t21 | 0 | 51.9726 | INF | 0
r1 | t22 | 0 | 53.3363 | INF | 0
r1 | t23 | 0 | 52.5153 | INF | 0
r1 | t24 | 0 | 52.1697 | INF | 0
r2 | t1 | 0 | 51.25 | INF | 0
r2 | t2 | 0 | 51.25 | INF | 0
r2 | t3 | 0 | 51.4868 | INF | 0
r2 | t4 | 0 | 51.7516 | INF | 0
r2 | t5 | 0 | 52.0429 | INF | 0
r2 | t6 | 0 | 52.359 | INF | 0
r2 | t7 | 0 | 52.6981 | INF | 0
r2 | t8 | 0 | 52.5061 | INF | 0
r2 | t9 | 0 | 52.2764 | INF | 0
r2 | t10 | 0 | 53.0042 | INF | 0
r2 | t11 | 0 | 52.7055 | INF | 0
r2 | t12 | 0 | 52.9361 | INF | 0
r2 | t13 | 0 | 53.1183 | INF | 0
r2 | t14 | 0 | 52.2474 | INF | 0
r2 | t15 | 0 | 52.2391 | INF | 0
r2 | t16 | 0 | 52.0172 | INF | 0
r2 | t17 | 0 | 51.7683 | INF | 0
r2 | t18 | 0 | 51.569 | INF | 0
r2 | t19 | 0 | 51.25 | INF | 0
r2 | t20 | 0 | 51.4302 | INF | 0
r2 | t21 | 0 | 51.4302 | INF | 0
r2 | t22 | 0 | 51.6925 | INF | 0
r2 | t23 | 0 | 51.7765 | INF | 0
r2 | t24 | 0 | 51.25 | INF | 0
r3 | t1 | 0 | 55.7954 | INF | 0
r3 | t2 | 0 | 48.2897 | INF | 0
r3 | t3 | 0 | 48.896 | INF | 0
r3 | t4 | 0 | 49.8995 | INF | 0
r3 | t5 | 0 | 50.9013 | INF | 0
r3 | t6 | 0 | 51.8914 | INF | 0
r3 | t7 | 0 | 52.8604 | INF | 0
r3 | t8 | 0 | 53.2917 | INF | 0
r3 | t9 | 0 | 55.0341 | INF | 0
r3 | t10 | 0 | 51.0748 | INF | 0
r3 | t11 | 0 | 55.2874 | INF | 0
r3 | t12 | 0 | 53.3064 | INF | 0
r3 | t13 | 0 | 55.3105 | INF | 0
r3 | t14 | 0 | 55.1494 | INF | 0
r3 | t15 | 0 | 55.1432 | INF | 0
r3 | t16 | 0 | 47.3164 | INF | 0
r3 | t17 | 0 | 54.7942 | INF | 0
r3 | t18 | 0 | 54.6464 | INF | 0
r3 | t19 | 0 | 53.053 | INF | 0
r3 | t20 | 0 | 51.0871 | INF | 0
r3 | t21 | 0 | 48.9138 | INF | 0
r3 | t22 | 0 | 52.3397 | INF | 0
r3 | t23 | 0 | 50.4429 | INF | 0
r3 | t24 | 0 | 50.3028 | INF | 0
r4 | t1 | 0 | 57.1704 | INF | 0
r4 | t2 | 0 | 53.5885 | INF | 0
r4 | t3 | 0 | 53.8416 | INF | 0
r4 | t4 | 0 | 53.5053 | INF | 0
r4 | t5 | 0 | 54.7399 | INF | 0
r4 | t6 | 0 | 55.146 | INF | 0
r4 | t7 | 0 | 55.7092 | INF | 0
r4 | t8 | 0 | 55.838 | INF | 0
r4 | t9 | 0 | 55.4235 | INF | 0
r4 | t10 | 0 | 53.5042 | INF | 0
r4 | t11 | 0 | 55.6703 | INF | 0
r4 | t12 | 0 | 54.2902 | INF | 0
r4 | t13 | 0 | 55.7206 | INF | 0
r4 | t14 | 0 | 55.5271 | INF | 0
r4 | t15 | 0 | 55.5212 | INF | 0
r4 | t16 | 0 | 56.3477 | INF | 0
r4 | t17 | 0 | 55.1877 | INF | 0
r4 | t18 | 0 | 55.0465 | INF | 0
r4 | t19 | 0 | 53.7033 | INF | 0
r4 | t20 | 0 | 52.5822 | INF | 0
r4 | t21 | 0 | 51.9726 | INF | 0
r4 | t22 | 0 | 53.3363 | INF | 0
r4 | t23 | 0 | 52.5153 | INF | 0
r4 | t24 | 0 | 52.1697 | INF | 0

## Charge_j
TOC
Charge_j | (equation) | Niveau de charge aux jonctions (j) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
j1 | t1 | 30 | 57.187 | INF | 0
j1 | t2 | 30 | 53.5885 | INF | 0
j1 | t3 | 30 | 53.868 | INF | 0
j1 | t4 | 30 | 54.2889 | INF | 0
j1 | t5 | 30 | 54.7399 | INF | 0
j1 | t6 | 30 | 55.2153 | INF | 0
j1 | t7 | 30 | 55.7092 | INF | 0
j1 | t8 | 30 | 55.838 | INF | 0
j1 | t9 | 30 | 55.4235 | INF | 0
j1 | t10 | 30 | 53.5042 | INF | 0
j1 | t11 | 30 | 55.6703 | INF | 0
j1 | t12 | 30 | 54.2902 | INF | 0
j1 | t13 | 30 | 55.7206 | INF | 0
j1 | t14 | 30 | 55.5271 | INF | 0
j1 | t15 | 30 | 55.5212 | INF | 0
j1 | t16 | 30 | 56.3477 | INF | 0
j1 | t17 | 30 | 55.1877 | INF | 0
j1 | t18 | 30 | 55.0465 | INF | 0
j1 | t19 | 30 | 53.7033 | INF | 0
j1 | t20 | 30 | 52.5822 | INF | 0
j1 | t21 | 30 | 51.9726 | INF | 0
j1 | t22 | 30 | 53.3363 | INF | 0
j1 | t23 | 30 | 52.5153 | INF | 0
j1 | t24 | 30 | 52.1697 | INF | 0
j2 | t1 | 30 | 56.1301 | INF | 0
j2 | t2 | 30 | 52.1284 | INF | 0
j2 | t3 | 30 | 52.451 | INF | 0
j2 | t4 | 30 | 52.9367 | INF | 0
j2 | t5 | 30 | 53.4571 | INF | 0
j2 | t6 | 30 | 54.0058 | INF | 0
j2 | t7 | 30 | 54.5758 | INF | 0
j2 | t8 | 30 | 54.7244 | INF | 0
j2 | t9 | 30 | 55.0412 | INF | 0
j2 | t10 | 30 | 53.0326 | INF | 0
j2 | t11 | 30 | 55.2993 | INF | 0
j2 | t12 | 30 | 53.855 | INF | 0
j2 | t13 | 30 | 55.3519 | INF | 0
j2 | t14 | 30 | 55.1494 | INF | 0
j2 | t15 | 30 | 55.1432 | INF | 0
j2 | t16 | 30 | 53.7615 | INF | 0
j2 | t17 | 30 | 54.7942 | INF | 0
j2 | t18 | 30 | 54.6464 | INF | 0
j2 | t19 | 30 | 53.2408 | INF | 0
j2 | t20 | 30 | 52.0678 | INF | 0
j2 | t21 | 30 | 51.4302 | INF | 0
j2 | t22 | 30 | 52.8568 | INF | 0
j2 | t23 | 30 | 51.9979 | INF | 0
j2 | t24 | 30 | 51.6366 | INF | 0

## Charge_r
TOC
Charge_r | (equation) | Niveau de charge au rÃ©servoir (r) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
r1 | t1 | 50 | 55.1548 | INF | 0
r1 | t2 | 50 | 50.0251 | INF | 0
r1 | t3 | 50 | 50.388 | INF | 0
r1 | t4 | 50 | 52.0961 | INF | 0
r1 | t5 | 50 | 50.6356 | INF | 0
r1 | t6 | 50 | 51.6005 | INF | 0
r1 | t7 | 50 | 51.0915 | INF | 0
r1 | t8 | 50 | 50.8223 | INF | 0
r1 | t9 | 50 | 51.7505 | INF | 0
r1 | t10 | 50 | 50 | INF | 0
r1 | t11 | 50 | 52.3411 | INF | 0
r1 | t12 | 50 | 51.111 | INF | 0
r1 | t13 | 50 | 52.6913 | INF | 0
r1 | t14 | 50 | 52.6478 | INF | 0
r1 | t15 | 50 | 52.792 | INF | 0
r1 | t16 | 50 | 53.7788 | INF | 0
r1 | t17 | 50 | 52.8147 | INF | 0
r1 | t18 | 50 | 52.8381 | INF | 0
r1 | t19 | 50 | 51.6449 | INF | 0
r1 | t20 | 50 | 50.6488 | INF | 0
r1 | t21 | 50 | 50.1767 | INF | 0
r1 | t22 | 50 | 51.7154 | INF | 0
r1 | t23 | 50 | 51.1382 | INF | 0
r1 | t24 | 50 | 50.9197 | INF | 0
r2 | t1 | 50 | 50 | INF | 0.0053452
r2 | t2 | 50 | 50 | INF | 0.0042118
r2 | t3 | 50 | 50 | INF | 0.0042752
r2 | t4 | 50 | 50 | INF | 0.0043763
r2 | t5 | 50 | 50 | INF | 0.0044931
r2 | t6 | 50 | 50 | INF | 0.0046269
r2 | t7 | 50 | 50 | INF | 0.0047794
r2 | t8 | 50 | 50 | INF | 0.0048217
r2 | t9 | 50 | 50 | INF | 0
r2 | t10 | 50 | 50.7011 | INF | 0
r2 | t11 | 50 | 50 | INF | 0
r2 | t12 | 50 | 50 | INF | 0
r2 | t13 | 50 | 50 | INF | 0
r2 | t14 | 50 | 50 | INF | 0
r2 | t15 | 50 | 50 | INF | 0
r2 | t16 | 50 | 50 | INF | 0
r2 | t17 | 50 | 50 | INF | 0
r2 | t18 | 50 | 50 | INF | 0
r2 | t19 | 50 | 50 | INF | 0
r2 | t20 | 50 | 50 | INF | 0
r2 | t21 | 50 | 50 | INF | 0
r2 | t22 | 50 | 50 | INF | 0
r2 | t23 | 50 | 50 | INF | 0
r2 | t24 | 50 | 50 | INF | 0
r3 | t1 | 45 | 54.5454 | INF | 0
r3 | t2 | 45 | 46.5614 | INF | 0
r3 | t3 | 45 | 46.8667 | INF | 0
r3 | t4 | 45 | 47.4365 | INF | 0
r3 | t5 | 45 | 48.0413 | INF | 0
r3 | t6 | 45 | 48.6835 | INF | 0
r3 | t7 | 45 | 49.3665 | INF | 0
r3 | t8 | 45 | 49.5417 | INF | 0
r3 | t9 | 45 | 51.6476 | INF | 0
r3 | t10 | 45 | 47.4551 | INF | 0
r3 | t11 | 45 | 52.1014 | INF | 0
r3 | t12 | 45 | 50.3654 | INF | 0
r3 | t13 | 45 | 52.7574 | INF | 0
r3 | t14 | 45 | 53.0359 | INF | 0
r3 | t15 | 45 | 53.2714 | INF | 0
r3 | t16 | 45 | 45 | INF | 0
r3 | t17 | 45 | 52.7715 | INF | 0
r3 | t18 | 45 | 52.8341 | INF | 0
r3 | t19 | 45 | 51.4647 | INF | 0
r3 | t20 | 45 | 49.6027 | INF | 0
r3 | t21 | 45 | 47.399 | INF | 0
r3 | t22 | 45 | 51.0835 | INF | 0
r3 | t23 | 45 | 49.1929 | INF | 0
r3 | t24 | 45 | 49.0528 | INF | 0
r4 | t1 | 35 | 55.8769 | INF | 0
r4 | t2 | 35 | 52.3075 | INF | 0
r4 | t3 | 35 | 52.5916 | INF | 0
r4 | t4 | 35 | 51.8743 | INF | 0
r4 | t5 | 35 | 53.1589 | INF | 0
r4 | t6 | 35 | 53.4606 | INF | 0
r4 | t7 | 35 | 54.0238 | INF | 0
r4 | t8 | 35 | 54.1651 | INF | 0
r4 | t9 | 35 | 53.761 | INF | 0
r4 | t10 | 35 | 51.8667 | INF | 0
r4 | t11 | 35 | 54.0578 | INF | 0
r4 | t12 | 35 | 52.7027 | INF | 0
r4 | t13 | 35 | 54.1581 | INF | 0
r4 | t14 | 35 | 53.9896 | INF | 0
r4 | t15 | 35 | 54.0087 | INF | 0
r4 | t16 | 35 | 54.8727 | INF | 0
r4 | t17 | 35 | 53.7377 | INF | 0
r4 | t18 | 35 | 53.609 | INF | 0
r4 | t19 | 35 | 52.2908 | INF | 0
r4 | t20 | 35 | 51.2072 | INF | 0
r4 | t21 | 35 | 50.6226 | INF | 0
r4 | t22 | 35 | 52.0238 | INF | 0
r4 | t23 | 35 | 51.2403 | INF | 0
r4 | t24 | 35 | 50.9197 | INF | 0

## Charge_s
TOC
Charge_s | (equation) | Niveau de charge Ã la source Ã (t)
n | c | d | t | Lowerbound | Value | Upperbound | Marginal
s | small | p1 | t1 | -INF | 70 | 70 | -0.0017817
s | small | p1 | t2 | -INF | 70 | 70 | -0.0014039
s | small | p1 | t3 | -INF | 70 | 70 | -0.0014251
s | small | p1 | t4 | -INF | 70 | 70 | -0.0014588
s | small | p1 | t5 | -INF | 70 | 70 | -0.0014977
s | small | p1 | t6 | -INF | 70 | 70 | -0.0015423
s | small | p1 | t7 | -INF | 70 | 70 | -0.0015931
s | small | p1 | t8 | -INF | 70 | 70 | -0.0016072
s | small | p1 | t9 | -INF | 69.9953 | 70 | 0
s | small | p1 | t10 | -INF | 70 | 70 | 0
s | small | p1 | t11 | -INF | 70 | 70 | 0
s | small | p1 | t12 | -INF | 69.9999 | 70 | 0
s | small | p1 | t13 | -INF | 70 | 70 | 0
s | small | p1 | t14 | -INF | 70 | 70 | 0
s | small | p1 | t15 | -INF | 70 | 70 | 0
s | small | p1 | t16 | -INF | 69.9999 | 70 | 0
s | small | p1 | t17 | -INF | 70 | 70 | 0
s | small | p1 | t18 | -INF | 70 | 70 | 0
s | small | p1 | t19 | -INF | 70 | 70 | 0
s | small | p1 | t20 | -INF | 70 | 70 | 0
s | small | p1 | t21 | -INF | 70 | 70 | 0
s | small | p1 | t22 | -INF | 70 | 70 | 0
s | small | p1 | t23 | -INF | 70 | 70 | 0
s | small | p1 | t24 | -INF | 69.9951 | 70 | 0
s | small | p2 | t1 | -INF | 70 | 70 | -0.0017817
s | small | p2 | t2 | -INF | 70 | 70 | -0.0014039
s | small | p2 | t3 | -INF | 70 | 70 | -0.0014251
s | small | p2 | t4 | -INF | 70 | 70 | -0.0014588
s | small | p2 | t5 | -INF | 70 | 70 | -0.0014977
s | small | p2 | t6 | -INF | 70 | 70 | -0.0015423
s | small | p2 | t7 | -INF | 70 | 70 | -0.0015931
s | small | p2 | t8 | -INF | 70 | 70 | -0.0016072
s | small | p2 | t9 | -INF | 55.5007 | 70 | 0
s | small | p2 | t10 | -INF | 53.5992 | 70 | 0
s | small | p2 | t11 | -INF | 55.7454 | 70 | 0
s | small | p2 | t12 | -INF | 54.378 | 70 | 0
s | small | p2 | t13 | -INF | 55.7951 | 70 | 0
s | small | p2 | t14 | -INF | 55.6034 | 70 | 0
s | small | p2 | t15 | -INF | 55.5976 | 70 | 0
s | small | p2 | t16 | -INF | 69.9999 | 70 | 0
s | small | p2 | t17 | -INF | 55.2672 | 70 | 0
s | small | p2 | t18 | -INF | 55.1273 | 70 | 0
s | small | p2 | t19 | -INF | 53.7964 | 70 | 0
s | small | p2 | t20 | -INF | 52.6855 | 70 | 0
s | small | p2 | t21 | -INF | 52.0815 | 70 | 0
s | small | p2 | t22 | -INF | 53.4328 | 70 | 0
s | small | p2 | t23 | -INF | 52.6193 | 70 | 0
s | small | p2 | t24 | -INF | 52.2768 | 70 | 0
s | small | p3 | t1 | -INF | 70 | 70 | -0.0017817
s | small | p3 | t2 | -INF | 70 | 70 | -0.0014039
s | small | p3 | t3 | -INF | 70 | 70 | -0.0014251
s | small | p3 | t4 | -INF | 70 | 70 | -0.0014588
s | small | p3 | t5 | -INF | 70 | 70 | -0.0014977
s | small | p3 | t6 | -INF | 70 | 70 | -0.0015423
s | small | p3 | t7 | -INF | 70 | 70 | -0.0015931
s | small | p3 | t8 | -INF | 70 | 70 | -0.0016072
s | small | p3 | t9 | -INF | 55.5007 | 70 | 0
s | small | p3 | t10 | -INF | 53.5992 | 70 | 0
s | small | p3 | t11 | -INF | 55.7454 | 70 | 0
s | small | p3 | t12 | -INF | 54.378 | 70 | 0
s | small | p3 | t13 | -INF | 55.7951 | 70 | 0
s | small | p3 | t14 | -INF | 55.6034 | 70 | 0
s | small | p3 | t15 | -INF | 55.5976 | 70 | 0
s | small | p3 | t16 | -INF | 70 | 70 | 0
s | small | p3 | t17 | -INF | 55.2672 | 70 | 0
s | small | p3 | t18 | -INF | 55.1273 | 70 | 0
s | small | p3 | t19 | -INF | 53.7964 | 70 | 0
s | small | p3 | t20 | -INF | 52.6855 | 70 | 0
s | small | p3 | t21 | -INF | 52.0815 | 70 | 0
s | small | p3 | t22 | -INF | 53.4328 | 70 | 0
s | small | p3 | t23 | -INF | 52.6193 | 70 | 0
s | small | p3 | t24 | -INF | 52.2768 | 70 | 0

## d
TOC
d | (set) | pump number
dim1
p1
p2
p3

## Debit_s
TOC
Debit_s | (equation) | Equilibre des dÃ©bits Ã la source Ã (t)
t | Lowerbound | Value | Upperbound | Marginal
t1 | 0 | 7.1054e-15 | 0 | -0.0034729
t2 | 0 | -1.4211e-14 | 0 | -0.0034733
t3 | 0 | -1.4211e-14 | 0 | -0.0034732
t4 | 0 | 0 | 0 | -0.0034732
t5 | 0 | 1.4211e-14 | 0 | -0.0034732
t6 | 0 | 0 | 0 | -0.0034731
t7 | 0 | 0 | 0 | -0.0034731
t8 | 0 | 1.4211e-14 | 0 | -0.003473
t9 | 0 | 0 | 0 | -0.0044371
t10 | 0 | 0 | 0 | -0.0044371
t11 | 0 | 0 | 0 | -0.0044371
t12 | 0 | 0 | 0 | -0.0044371
t13 | 0 | 0 | 0 | -0.0044371
t14 | 0 | 0 | 0 | -0.0044371
t15 | 0 | 0 | 0 | -0.0044371
t16 | 0 | 0 | 0 | -0.0044371
t17 | 0 | 0 | 0 | -0.0044371
t18 | 0 | 0 | 0 | -0.0044371
t19 | 0 | 0 | 0 | -0.0044371
t20 | 0 | 0 | 0 | -0.0044371
t21 | 0 | 0 | 0 | -0.0044371
t22 | 0 | 0 | 0 | -0.0044371
t23 | 0 | 0 | 0 | -0.0044371
t24 | 0 | 0 | 0 | -0.0044371

## degree
TOC
degree | (set) | polynomial degrees
dim1
0
1
2

## demand
TOC
demand | (parameter) | demand in water at each reservoir and each hour (m^3)
r | t | Value
r1 | t1 | 9.83
r1 | t2 | 5
r1 | t3 | 3.67
r1 | t4 | 6.5
r1 | t5 | 5.67
r1 | t6 | 7.5
r1 | t7 | 3
r1 | t8 | 3
r1 | t9 | 2
r1 | t10 | 13.5
r1 | t11 | 14
r1 | t12 | 12
r1 | t13 | 12
r1 | t14 | 12
r1 | t15 | 12
r1 | t16 | 12.83
r1 | t17 | 15.67
r1 | t18 | 13.17
r1 | t19 | 12
r1 | t20 | 10
r1 | t21 | 11
r1 | t22 | 14
r1 | t23 | 19.5
r1 | t24 | 10.17
r2 | t1 | 44.83
r2 | t2 | 18
r2 | t8 | 45
r2 | t9 | 51.67
r2 | t13 | 15.17
r2 | t14 | 103.83
r2 | t15 | 34.83
r2 | t16 | 43.83
r2 | t17 | 54.83
r2 | t18 | 51.17
r2 | t19 | 53.5
r2 | t20 | 0.67
r2 | t23 | 1.5
r2 | t24 | 53.5
r3 | t1 | 14
r3 | t2 | 13.33
r3 | t3 | 25.5
r3 | t4 | 11
r3 | t5 | 10
r3 | t6 | 10
r3 | t7 | 11
r3 | t8 | 10.33
r3 | t9 | 30.17
r3 | t10 | 17.67
r3 | t11 | 36.33
r3 | t12 | 38
r3 | t13 | 35
r3 | t14 | 35.17
r3 | t15 | 19.33
r3 | t16 | 31.83
r3 | t17 | 23.5
r3 | t18 | 16.83
r3 | t19 | 28
r3 | t20 | 33.5
r3 | t21 | 39
r3 | t22 | 38.5
r3 | t23 | 32.67
r3 | t24 | 29.67
r4 | t1 | 1
r4 | t2 | 1
r4 | t3 | 8.5
r4 | t4 | 9.5
r4 | t5 | 4
r4 | t6 | 2.33
r4 | t8 | 1
r4 | t9 | 0.83
r4 | t10 | 2
r4 | t11 | 2
r4 | t12 | 2
r4 | t13 | 2
r4 | t14 | 2
r4 | t15 | 2
r4 | t16 | 3
r4 | t17 | 2
r4 | t18 | 1
r4 | t19 | 2
r4 | t20 | 3
r4 | t21 | 2
r4 | t22 | 3
r4 | t23 | 3
r4 | t24 | 2

## Elec_pompe
TOC
Elec_pompe | (equation) | Consommation Ã©lectrique de la pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 0 | INF | 0.02916
small | p1 | t2 | 0 | 0 | INF | 0.02916
small | p1 | t3 | 0 | 0 | INF | 0.02916
small | p1 | t4 | 0 | 0 | INF | 0.02916
small | p1 | t5 | 0 | 0 | INF | 0.02916
small | p1 | t6 | 0 | 0 | INF | 0.02916
small | p1 | t7 | 0 | 0 | INF | 0.02916
small | p1 | t8 | 0 | 0 | INF | 0.02916
small | p1 | t9 | 0 | 0 | INF | 0.04609
small | p1 | t10 | 0 | 0 | INF | 0.04609
small | p1 | t11 | 0 | 0 | INF | 0.04609
small | p1 | t12 | 0 | 0 | INF | 0.04609
small | p1 | t13 | 0 | 0 | INF | 0.04609
small | p1 | t14 | 0 | 0 | INF | 0.04609
small | p1 | t15 | 0 | 0 | INF | 0.04609
small | p1 | t16 | 0 | 0 | INF | 0.04609
small | p1 | t17 | 0 | 0 | INF | 0.04609
small | p1 | t18 | 0 | 0 | INF | 0.04609
small | p1 | t19 | 0 | 0 | INF | 0.04609
small | p1 | t20 | 0 | 0 | INF | 0.04609
small | p1 | t21 | 0 | 0 | INF | 0.04609
small | p1 | t22 | 0 | 0 | INF | 0.04609
small | p1 | t23 | 0 | 0 | INF | 0.04609
small | p1 | t24 | 0 | 0 | INF | 0.04609
small | p2 | t1 | 0 | 0 | INF | 0.02916
small | p2 | t2 | 0 | 0 | INF | 0.02916
small | p2 | t3 | 0 | 0 | INF | 0.02916
small | p2 | t4 | 0 | 0 | INF | 0.02916
small | p2 | t5 | 0 | 0 | INF | 0.02916
small | p2 | t6 | 0 | 0 | INF | 0.02916
small | p2 | t7 | 0 | 0 | INF | 0.02916
small | p2 | t8 | 0 | 0 | INF | 0.02916
small | p2 | t9 | 0 | 0 | INF | 0.04609
small | p2 | t10 | 0 | 0 | INF | 0
small | p2 | t11 | 0 | 0 | INF | 0
small | p2 | t12 | 0 | 0 | INF | 0
small | p2 | t13 | 0 | 0 | INF | 0.04609
small | p2 | t14 | 0 | 0 | INF | 0
small | p2 | t15 | 0 | 0 | INF | 0.04609
small | p2 | t16 | 0 | 0 | INF | 0.04609
small | p2 | t17 | 0 | 0 | INF | 0.04609
small | p2 | t18 | 0 | 0 | INF | 0
small | p2 | t19 | 0 | 0 | INF | 0.04609
small | p2 | t20 | 0 | 0 | INF | 0
small | p2 | t21 | 0 | 0 | INF | 0.04609
small | p2 | t22 | 0 | 0 | INF | 0
small | p2 | t23 | 0 | 0 | INF | 0
small | p2 | t24 | 0 | 0 | INF | 0.04609
small | p3 | t1 | 0 | 0 | INF | 0.02916
small | p3 | t2 | 0 | 0 | INF | 0.02916
small | p3 | t3 | 0 | 0 | INF | 0.02916
small | p3 | t4 | 0 | 0 | INF | 0.02916
small | p3 | t5 | 0 | 0 | INF | 0.02916
small | p3 | t6 | 0 | 0 | INF | 0.02916
small | p3 | t7 | 0 | 0 | INF | 0.02916
small | p3 | t8 | 0 | 0 | INF | 0.02916
small | p3 | t9 | 0 | 0 | INF | 0.04609
small | p3 | t10 | 0 | 0 | INF | 0
small | p3 | t11 | 0 | 0 | INF | 0.04609
small | p3 | t12 | 0 | 0 | INF | 0
small | p3 | t13 | 0 | 0 | INF | 0
small | p3 | t14 | 0 | 0 | INF | 0.04609
small | p3 | t15 | 0 | 0 | INF | 0.04609
small | p3 | t16 | 0 | 0 | INF | 0.04609
small | p3 | t17 | 0 | 0 | INF | 0.04609
small | p3 | t18 | 0 | 0 | INF | 0.04609
small | p3 | t19 | 0 | 0 | INF | 0
small | p3 | t20 | 0 | 0 | INF | 0
small | p3 | t21 | 0 | 0 | INF | 0
small | p3 | t22 | 0 | 0 | INF | 0
small | p3 | t23 | 0 | 0 | INF | 0.04609
small | p3 | t24 | 0 | 0 | INF | 0.04609

## gamma
TOC
gamma | (parameter) | linear fit of the electrical power (kW) on the flow (m^3.h^-1) for each class of pumps
c | degree | Value
small | 0 | 3.811
small | 1 | 0.09627

## height
TOC
height | (parameter) | elevation at each node relative to s (m)
n | Value
j1 | 30
j2 | 30
r1 | 50
r2 | 50
r3 | 45
r4 | 35

## j
TOC
j | (set) | junctions
n
j1
j2

## k
TOC
k | (set) | pump type
c | d
small | p1
small | p2
small | p3

## l
TOC
l | (set) | pipes
n | n
s | j1
j1 | j2
j1 | r1
j1 | r4
j2 | r2
j2 | r3

## n
TOC
n | (set) | nodes
dim1
s
j1
j2
r1
r2
r3
r4

## night
TOC
night | (set) | night periods
t
t1
t2
t3
t4
t5
t6
t7
t8

## Noeud
TOC
Noeud | (equation) | Contrainte dÃ©bit noeud (n) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
j1 | t1 | 0 | -6.2172e-15 | 0 | -0.0035256
j1 | t2 | 0 | 0 | 0 | -0.0035256
j1 | t3 | 0 | 4.4409e-15 | 0 | -0.0035256
j1 | t4 | 0 | -7.1054e-15 | 0 | -0.0035256
j1 | t5 | 0 | 0 | 0 | -0.0035256
j1 | t6 | 0 | -3.5527e-15 | 0 | -0.0035256
j1 | t7 | 0 | 0 | 0 | -0.0035256
j1 | t8 | 0 | 0 | 0 | -0.0035256
j1 | t9 | 0 | 0 | 0 | -0.0044371
j1 | t10 | 0 | 0 | 0 | -0.0044371
j1 | t11 | 0 | 0 | 0 | -0.0044371
j1 | t12 | 0 | 0 | 0 | -0.0044371
j1 | t13 | 0 | 0 | 0 | -0.0044371
j1 | t14 | 0 | 0 | 0 | -0.0044371
j1 | t15 | 0 | 0 | 0 | -0.0044371
j1 | t16 | 0 | 0 | 0 | -0.0044371
j1 | t17 | 0 | 0 | 0 | -0.0044371
j1 | t18 | 0 | 0 | 0 | -0.0044371
j1 | t19 | 0 | 0 | 0 | -0.0044371
j1 | t20 | 0 | 0 | 0 | -0.0044371
j1 | t21 | 0 | 0 | 0 | -0.0044371
j1 | t22 | 0 | 0 | 0 | -0.0044371
j1 | t23 | 0 | 0 | 0 | -0.0044371
j1 | t24 | 0 | 0 | 0 | -0.0044371
j2 | t1 | 0 | 7.1054e-15 | 0 | -0.0037097
j2 | t2 | 0 | 7.1054e-15 | 0 | -0.003696
j2 | t3 | 0 | 0 | 0 | -0.003696
j2 | t4 | 0 | 0 | 0 | -0.003696
j2 | t5 | 0 | 0 | 0 | -0.003696
j2 | t6 | 0 | 0 | 0 | -0.003696
j2 | t7 | 0 | 0 | 0 | -0.003696
j2 | t8 | 0 | -3.5527e-15 | 0 | -0.003696
j2 | t9 | 0 | 0 | 0 | -0.0044371
j2 | t10 | 0 | 0 | 0 | -0.0044371
j2 | t11 | 0 | 3.3307e-15 | 0 | -0.0044371
j2 | t12 | 0 | 3.5527e-15 | 0 | -0.0044371
j2 | t13 | 0 | 2.6645e-15 | 0 | -0.0044371
j2 | t14 | 0 | 0 | 0 | -0.0044371
j2 | t15 | 0 | 0 | 0 | -0.0044371
j2 | t16 | 0 | 0 | 0 | -0.0044371
j2 | t17 | 0 | 0 | 0 | -0.0044371
j2 | t18 | 0 | 0 | 0 | -0.0044371
j2 | t19 | 0 | 1.7764e-15 | 0 | -0.0044371
j2 | t20 | 0 | 3.5527e-15 | 0 | -0.0044371
j2 | t21 | 0 | 0 | 0 | -0.0044371
j2 | t22 | 0 | 0 | 0 | -0.0044371
j2 | t23 | 0 | 0 | 0 | -0.0044371
j2 | t24 | 0 | 0 | 0 | -0.0044371

## Ordre_pompe
TOC
Ordre_pompe | (equation) | Les pompes s allument dans l ordre
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | -INF | 0 | 0 | 0
small | p1 | t2 | -INF | 0 | 0 | 0
small | p1 | t3 | -INF | 0 | 0 | 0
small | p1 | t4 | -INF | 0 | 0 | 0
small | p1 | t5 | -INF | 0 | 0 | 0
small | p1 | t6 | -INF | 0 | 0 | 0
small | p1 | t7 | -INF | 0 | 0 | 0
small | p1 | t8 | -INF | 0 | 0 | 0
small | p1 | t9 | -INF | -1 | 0 | 0
small | p1 | t10 | -INF | -1 | 0 | 0
small | p1 | t11 | -INF | -1 | 0 | 0
small | p1 | t12 | -INF | -1 | 0 | 0
small | p1 | t13 | -INF | -1 | 0 | 0
small | p1 | t14 | -INF | -1 | 0 | 0
small | p1 | t15 | -INF | -1 | 0 | 0
small | p1 | t16 | -INF | 0 | 0 | 0
small | p1 | t17 | -INF | -1 | 0 | 0
small | p1 | t18 | -INF | -1 | 0 | 0
small | p1 | t19 | -INF | -1 | 0 | 0
small | p1 | t20 | -INF | -1 | 0 | 0
small | p1 | t21 | -INF | -1 | 0 | 0
small | p1 | t22 | -INF | -1 | 0 | 0
small | p1 | t23 | -INF | -1 | 0 | 0
small | p1 | t24 | -INF | -1 | 0 | 0
small | p2 | t1 | -INF | 0 | 0 | 0
small | p2 | t2 | -INF | 0 | 0 | 0
small | p2 | t3 | -INF | 0 | 0 | 0
small | p2 | t4 | -INF | 0 | 0 | 0
small | p2 | t5 | -INF | 0 | 0 | 0
small | p2 | t6 | -INF | 0 | 0 | 0
small | p2 | t7 | -INF | 0 | 0 | 0
small | p2 | t8 | -INF | 0 | 0 | 0
small | p2 | t9 | -INF | 0 | 0 | 0
small | p2 | t10 | -INF | 0 | 0 | 0
small | p2 | t11 | -INF | 0 | 0 | 0
small | p2 | t12 | -INF | 0 | 0 | 0
small | p2 | t13 | -INF | 0 | 0 | 0
small | p2 | t14 | -INF | 0 | 0 | 0
small | p2 | t15 | -INF | 0 | 0 | 0
small | p2 | t16 | -INF | 0 | 0 | 0
small | p2 | t17 | -INF | 0 | 0 | 0
small | p2 | t18 | -INF | 0 | 0 | 0
small | p2 | t19 | -INF | 0 | 0 | 0
small | p2 | t20 | -INF | 0 | 0 | 0
small | p2 | t21 | -INF | 0 | 0 | 0
small | p2 | t22 | -INF | 0 | 0 | 0
small | p2 | t23 | -INF | 0 | 0 | 0
small | p2 | t24 | -INF | 0 | 0 | 0
small | p3 | t1 | -INF | -1 | 0 | 0
small | p3 | t2 | -INF | -1 | 0 | 0
small | p3 | t3 | -INF | -1 | 0 | 0
small | p3 | t4 | -INF | -1 | 0 | 0
small | p3 | t5 | -INF | -1 | 0 | 0
small | p3 | t6 | -INF | -1 | 0 | 0
small | p3 | t7 | -INF | -1 | 0 | 0
small | p3 | t8 | -INF | -1 | 0 | 0
small | p3 | t9 | -INF | 0 | 0 | 0
small | p3 | t10 | -INF | 0 | 0 | 0
small | p3 | t11 | -INF | 0 | 0 | 0
small | p3 | t12 | -INF | 0 | 0 | 0
small | p3 | t13 | -INF | 0 | 0 | 0
small | p3 | t14 | -INF | 0 | 0 | 0
small | p3 | t15 | -INF | 0 | 0 | 0
small | p3 | t16 | -INF | -1 | 0 | 0
small | p3 | t17 | -INF | 0 | 0 | 0
small | p3 | t18 | -INF | 0 | 0 | 0
small | p3 | t19 | -INF | 0 | 0 | 0
small | p3 | t20 | -INF | 0 | 0 | 0
small | p3 | t21 | -INF | 0 | 0 | 0
small | p3 | t22 | -INF | 0 | 0 | 0
small | p3 | t23 | -INF | 0 | 0 | 0
small | p3 | t24 | -INF | 0 | 0 | 0

## Perte_charge
TOC
Perte_charge | (equation) | Perte charge (n n) Ã (t)
n | n | t | Lowerbound | Value | Upperbound | Marginal
s | j1 | t1 | 0 | 0 | 0 | 0.0053452
s | j1 | t2 | 0 | -7.1054e-15 | 0 | 0.0042118
s | j1 | t3 | 0 | 8.6597e-15 | 0 | 0.0042752
s | j1 | t4 | 0 | 2.0147e-11 | 0 | 0.0043763
s | j1 | t5 | 0 | 6.2728e-14 | 0 | 0.0044931
s | j1 | t6 | 0 | -2.5855e-12 | 0 | 0.0046269
s | j1 | t7 | 0 | -4.9649e-13 | 0 | 0.0047794
s | j1 | t8 | 0 | 8.36e-14 | 0 | 0.0048217
s | j1 | t9 | 0 | 1.9096e-14 | 0 | 0
s | j1 | t10 | 0 | -1.0547e-15 | 0 | 0
s | j1 | t11 | 0 | -2.1511e-15 | 0 | 0
s | j1 | t12 | 0 | 2.2204e-15 | 0 | 0
s | j1 | t13 | 0 | 3.0254e-15 | 0 | 0
s | j1 | t14 | 0 | -2.3315e-15 | 0 | 0
s | j1 | t15 | 0 | -2.0262e-15 | 0 | 0
s | j1 | t16 | 0 | 0 | 0 | 0
s | j1 | t17 | 0 | 0 | 0 | 0
s | j1 | t18 | 0 | -1.0963e-15 | 0 | 0
s | j1 | t19 | 0 | -1.4988e-15 | 0 | 0
s | j1 | t20 | 0 | -2.8172e-15 | 0 | 0
s | j1 | t21 | 0 | -3.4833e-15 | 0 | 0
s | j1 | t22 | 0 | 1.9984e-15 | 0 | 0
s | j1 | t23 | 0 | 0 | 0 | 0
s | j1 | t24 | 0 | 0 | 0 | 0
j1 | j2 | t1 | 0 | 1.9984e-15 | 0 | 0.0053452
j1 | j2 | t2 | 0 | 1.1058e-13 | 0 | 0.0042118
j1 | j2 | t3 | 0 | -4.0701e-13 | 0 | 0.0042752
j1 | j2 | t4 | 0 | -4.2847e-10 | 0 | 0.0043763
j1 | j2 | t5 | 0 | -1.8694e-12 | 0 | 0.0044931
j1 | j2 | t6 | 0 | 5.6556e-11 | 0 | 0.0046269
j1 | j2 | t7 | 0 | 1.2547e-11 | 0 | 0.0047794
j1 | j2 | t8 | 0 | -7.6072e-13 | 0 | 0.0048217
j1 | j2 | t9 | 0 | 9.2926e-14 | 0 | 0
j1 | j2 | t10 | 0 | -1.5543e-15 | 0 | 0
j1 | j2 | t11 | 0 | 0 | 0 | 0
j1 | j2 | t12 | 0 | 0 | 0 | 0
j1 | j2 | t13 | 0 | 2.3315e-15 | 0 | 0
j1 | j2 | t14 | 0 | 0 | 0 | 0
j1 | j2 | t15 | 0 | -1.7764e-15 | 0 | 0
j1 | j2 | t16 | 0 | 0 | 0 | 0
j1 | j2 | t17 | 0 | 2.9421e-15 | 0 | 0
j1 | j2 | t18 | 0 | -2.7756e-15 | 0 | 0
j1 | j2 | t19 | 0 | -1.1657e-15 | 0 | 0
j1 | j2 | t20 | 0 | 1.1102e-15 | 0 | 0
j1 | j2 | t21 | 0 | -2.4425e-15 | 0 | 0
j1 | j2 | t22 | 0 | 0 | 0 | 0
j1 | j2 | t23 | 0 | 0 | 0 | 0
j1 | j2 | t24 | 0 | 3.3307e-15 | 0 | 0
j1 | r1 | t1 | 0 | 0 | 0 | 0
j1 | r1 | t2 | 0 | 0 | 0 | 0
j1 | r1 | t3 | 0 | -1.9984e-15 | 0 | 0
j1 | r1 | t4 | 0 | 0 | 0 | 0
j1 | r1 | t5 | 0 | 1.3323e-15 | 0 | 0
j1 | r1 | t6 | 0 | 1.6653e-15 | 0 | 0
j1 | r1 | t7 | 0 | -3.1086e-15 | 0 | 0
j1 | r1 | t8 | 0 | -6.2172e-15 | 0 | 0
j1 | r1 | t9 | 0 | 0 | 0 | 0
j1 | r1 | t10 | 0 | 0 | 0 | 0
j1 | r1 | t11 | 0 | 0 | 0 | 0
j1 | r1 | t12 | 0 | 0 | 0 | 0
j1 | r1 | t13 | 0 | 0 | 0 | 0
j1 | r1 | t14 | 0 | 0 | 0 | 0
j1 | r1 | t15 | 0 | 0 | 0 | 0
j1 | r1 | t16 | 0 | 0 | 0 | 0
j1 | r1 | t17 | 0 | 0 | 0 | 0
j1 | r1 | t18 | 0 | 0 | 0 | 0
j1 | r1 | t19 | 0 | 0 | 0 | 0
j1 | r1 | t20 | 0 | 0 | 0 | 0
j1 | r1 | t21 | 0 | 0 | 0 | 0
j1 | r1 | t22 | 0 | 0 | 0 | 0
j1 | r1 | t23 | 0 | 0 | 0 | 0
j1 | r1 | t24 | 0 | 0 | 0 | 0
j1 | r4 | t1 | 0 | -2.0713e-15 | 0 | 0
j1 | r4 | t2 | 0 | 0 | 0 | 0
j1 | r4 | t3 | 0 | 0 | 0 | 0
j1 | r4 | t4 | 0 | 0 | 0 | 0
j1 | r4 | t5 | 0 | 0 | 0 | 0
j1 | r4 | t6 | 0 | 0 | 0 | 0
j1 | r4 | t7 | 0 | 0 | 0 | 0
j1 | r4 | t8 | 0 | 0 | 0 | 0
j1 | r4 | t9 | 0 | 0 | 0 | 0
j1 | r4 | t10 | 0 | 0 | 0 | 0
j1 | r4 | t11 | 0 | 0 | 0 | 0
j1 | r4 | t12 | 0 | 0 | 0 | 0
j1 | r4 | t13 | 0 | 0 | 0 | 0
j1 | r4 | t14 | 0 | 0 | 0 | 0
j1 | r4 | t15 | 0 | 0 | 0 | 0
j1 | r4 | t16 | 0 | 0 | 0 | 0
j1 | r4 | t17 | 0 | 0 | 0 | 0
j1 | r4 | t18 | 0 | 0 | 0 | 0
j1 | r4 | t19 | 0 | 0 | 0 | 0
j1 | r4 | t20 | 0 | 0 | 0 | 0
j1 | r4 | t21 | 0 | 0 | 0 | 0
j1 | r4 | t22 | 0 | 0 | 0 | 0
j1 | r4 | t23 | 0 | 0 | 0 | 0
j1 | r4 | t24 | 0 | 0 | 0 | 0
j2 | r2 | t1 | 0 | 0 | 0 | 0.0053452
j2 | r2 | t2 | 0 | 3.3307e-15 | 0 | 0.0042118
j2 | r2 | t3 | 0 | 5.0315e-13 | 0 | 0.0042752
j2 | r2 | t4 | 0 | -2.9436e-11 | 0 | 0.0043763
j2 | r2 | t5 | 0 | -1.3323e-15 | 0 | 0.0044931
j2 | r2 | t6 | 0 | -5.1603e-13 | 0 | 0.0046269
j2 | r2 | t7 | 0 | -3.6344e-12 | 0 | 0.0047794
j2 | r2 | t8 | 0 | -2.1725e-12 | 0 | 0.0048217
j2 | r2 | t9 | 0 | 7.4785e-13 | 0 | 0
j2 | r2 | t10 | 0 | 0 | 0 | 0
j2 | r2 | t11 | 0 | 5.3291e-15 | 0 | 0
j2 | r2 | t12 | 0 | -2.6645e-15 | 0 | 0
j2 | r2 | t13 | 0 | 3.1086e-15 | 0 | 0
j2 | r2 | t14 | 0 | -1.3323e-15 | 0 | 0
j2 | r2 | t15 | 0 | 2.2204e-15 | 0 | 0
j2 | r2 | t16 | 0 | 4.885e-15 | 0 | 0
j2 | r2 | t17 | 0 | 2.6645e-15 | 0 | 0
j2 | r2 | t18 | 0 | -2.6645e-15 | 0 | 0
j2 | r2 | t19 | 0 | 0 | 0 | 0
j2 | r2 | t20 | 0 | -2.9976e-15 | 0 | 0
j2 | r2 | t21 | 0 | 0 | 0 | 0
j2 | r2 | t22 | 0 | 1.5543e-15 | 0 | 0
j2 | r2 | t23 | 0 | 0 | 0 | 0
j2 | r2 | t24 | 0 | -3.2196e-15 | 0 | 0
j2 | r3 | t1 | 0 | -2.8311e-15 | 0 | 0
j2 | r3 | t2 | 0 | 4.996e-13 | 0 | 0
j2 | r3 | t3 | 0 | 0 | 0 | 0
j2 | r3 | t4 | 0 | -8.9477e-11 | 0 | 0
j2 | r3 | t5 | 0 | -9.5954e-12 | 0 | 0
j2 | r3 | t6 | 0 | 1.3323e-15 | 0 | 0
j2 | r3 | t7 | 0 | -2.2204e-15 | 0 | 0
j2 | r3 | t8 | 0 | 0 | 0 | 0
j2 | r3 | t9 | 0 | 1.4216e-15 | 0 | 0
j2 | r3 | t10 | 0 | 1.3323e-15 | 0 | 0
j2 | r3 | t11 | 0 | 3.322e-15 | 0 | 0
j2 | r3 | t12 | 0 | 0 | 0 | 0
j2 | r3 | t13 | 0 | 0 | 0 | 0
j2 | r3 | t14 | 0 | 0 | 0 | 0
j2 | r3 | t15 | 0 | 0 | 0 | 0
j2 | r3 | t16 | 0 | 0 | 0 | 0
j2 | r3 | t17 | 0 | 0 | 0 | 0
j2 | r3 | t18 | 0 | 0 | 0 | 0
j2 | r3 | t19 | 0 | -2.387e-15 | 0 | 0
j2 | r3 | t20 | 0 | -2.1094e-15 | 0 | 0
j2 | r3 | t21 | 0 | 1.3323e-15 | 0 | 0
j2 | r3 | t22 | 0 | -3.1086e-15 | 0 | 0
j2 | r3 | t23 | 0 | 1.1102e-15 | 0 | 0
j2 | r3 | t24 | 0 | -1.1102e-15 | 0 | 0

## phi
TOC
phi | (parameter) | quadratic fit of the pressure loss (m) on the flow (m^3.h^-1) for each pipe
n | n | degree | Value
s | j1 | 1 | 0.0003819
s | j1 | 2 | 5.425e-05
j1 | j2 | 1 | 0.0014958
j1 | j2 | 2 | 0.00027996
j1 | r1 | 1 | 0.0034044
j1 | r1 | 2 | 0.00089535
j1 | r4 | 1 | 0.0017022
j1 | r4 | 2 | 0.00044768
j2 | r2 | 1 | 0.0085109
j2 | r2 | 2 | 0.0022384
j2 | r3 | 1 | 0.0051065
j2 | r3 | 2 | 0.001343

## Ppompe
TOC
Ppompe | (variable) | Puissance Ã©lectrique de la pompe (k) Ã (t) en (kW)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 6.617 | INF | 0
small | p1 | t2 | 0 | 7.3743 | INF | 0
small | p1 | t3 | 0 | 7.3213 | INF | 0
small | p1 | t4 | 0 | 7.24 | INF | 0
small | p1 | t5 | 0 | 7.1507 | INF | 0
small | p1 | t6 | 0 | 7.0539 | INF | 0
small | p1 | t7 | 0 | 6.9502 | INF | 0
small | p1 | t8 | 0 | 6.9225 | INF | 0
small | p1 | t9 | 0 | 7.1207 | INF | 0
small | p1 | t10 | 0 | 7.5138 | INF | 0
small | p1 | t11 | 0 | 7.0678 | INF | 0
small | p1 | t12 | 0 | 7.3584 | INF | 0
small | p1 | t13 | 0 | 7.0567 | INF | 0
small | p1 | t14 | 0 | 7.0992 | INF | 0
small | p1 | t15 | 0 | 7.1004 | INF | 0
small | p1 | t16 | 0 | 6.8107 | INF | 0
small | p1 | t17 | 0 | 7.1723 | INF | 0
small | p1 | t18 | 0 | 7.2023 | INF | 0
small | p1 | t19 | 0 | 7.4751 | INF | 0
small | p1 | t20 | 0 | 7.6881 | INF | 0
small | p1 | t21 | 0 | 7.7992 | INF | 0
small | p1 | t22 | 0 | 7.5461 | INF | 0
small | p1 | t23 | 0 | 7.7004 | INF | 0
small | p1 | t24 | 0 | 7.7627 | INF | 0
small | p2 | t1 | 0 | 6.617 | INF | 0
small | p2 | t2 | 0 | 7.3743 | INF | 0
small | p2 | t3 | 0 | 7.3213 | INF | 0
small | p2 | t4 | 0 | 7.24 | INF | 0
small | p2 | t5 | 0 | 7.1507 | INF | 0
small | p2 | t6 | 0 | 7.0539 | INF | 0
small | p2 | t7 | 0 | 6.9502 | INF | 0
small | p2 | t8 | 0 | 6.9225 | INF | 0
small | p2 | t9 | 0 | 0 | INF | 0
small | p2 | t10 | 0 | 0 | INF | 0.04609
small | p2 | t11 | 0 | 0 | INF | 0.04609
small | p2 | t12 | 0 | 0 | INF | 0.04609
small | p2 | t13 | 0 | 0 | INF | 0
small | p2 | t14 | 0 | 0 | INF | 0.04609
small | p2 | t15 | 0 | 0 | INF | 0
small | p2 | t16 | 0 | 6.8107 | INF | 0
small | p2 | t17 | 0 | 0 | INF | 0
small | p2 | t18 | 0 | 0 | INF | 0.04609
small | p2 | t19 | 0 | 0 | INF | 0
small | p2 | t20 | 0 | 0 | INF | 0.04609
small | p2 | t21 | 0 | 0 | INF | 0
small | p2 | t22 | 0 | 0 | INF | 0.04609
small | p2 | t23 | 0 | 0 | INF | 0.04609
small | p2 | t24 | 0 | 0 | INF | 0
small | p3 | t1 | 0 | 6.617 | INF | 0
small | p3 | t2 | 0 | 7.3743 | INF | 0
small | p3 | t3 | 0 | 7.3213 | INF | 0
small | p3 | t4 | 0 | 7.24 | INF | 0
small | p3 | t5 | 0 | 7.1507 | INF | 0
small | p3 | t6 | 0 | 7.0539 | INF | 0
small | p3 | t7 | 0 | 6.9502 | INF | 0
small | p3 | t8 | 0 | 6.9225 | INF | 0
small | p3 | t9 | 0 | 0 | INF | 0
small | p3 | t10 | 0 | 0 | INF | 0.04609
small | p3 | t11 | 0 | 0 | INF | 0
small | p3 | t12 | 0 | 0 | INF | 0.04609
small | p3 | t13 | 0 | 0 | INF | 0.04609
small | p3 | t14 | 0 | 0 | INF | 0
small | p3 | t15 | 0 | 0 | INF | 0
small | p3 | t16 | 0 | 6.8107 | INF | 0
small | p3 | t17 | 0 | 0 | INF | 0
small | p3 | t18 | 0 | 0 | INF | 0
small | p3 | t19 | 0 | 0 | INF | 0.04609
small | p3 | t20 | 0 | 0 | INF | 0.04609
small | p3 | t21 | 0 | 0 | INF | 0.04609
small | p3 | t22 | 0 | 0 | INF | 0.04609
small | p3 | t23 | 0 | 0 | INF | 0
small | p3 | t24 | 0 | 0 | INF | 0

## psi
TOC
psi | (parameter) | quadratic fit of the service pressure (m) on the flow (m^3.h^-1) for each class of pumps
c | degree | Value
small | 0 | 63.0796
small | 2 | -0.0064085

## Qpipe
TOC
Qpipe | (variable) | DÃ©bit dans le tuyau (l) Ã (t)
n | n | t | Lowerbound | Value | Upperbound | Marginal
s | j1 | t1 | 0 | 87.4414 | INF | 0
s | j1 | t2 | 0 | 111.0413 | INF | 0
s | j1 | t3 | 0 | 109.3903 | INF | 0
s | j1 | t4 | 0 | 106.8565 | INF | 0
s | j1 | t5 | 0 | 104.0729 | INF | 0
s | j1 | t6 | 0 | 101.056 | INF | 0
s | j1 | t7 | 0 | 97.8232 | INF | 0
s | j1 | t8 | 0 | 96.9625 | INF | 0
s | j1 | t9 | 0 | 34.3788 | INF | 0
s | j1 | t10 | 0 | 38.4623 | INF | 0
s | j1 | t11 | 0 | 33.8298 | INF | 0
s | j1 | t12 | 0 | 36.8485 | INF | 0
s | j1 | t13 | 0 | 33.7148 | INF | 0
s | j1 | t14 | 0 | 34.1556 | INF | 0
s | j1 | t15 | 0 | 34.1688 | INF | 0
s | j1 | t16 | 0 | 93.4783 | INF | 0
s | j1 | t17 | 0 | 34.9152 | INF | 0
s | j1 | t18 | 0 | 35.2265 | INF | 0
s | j1 | t19 | 0 | 38.0601 | INF | 0
s | j1 | t20 | 0 | 40.273 | INF | 0
s | j1 | t21 | 0 | 41.4267 | INF | 0
s | j1 | t22 | 0 | 38.7984 | INF | 0
s | j1 | t23 | 0 | 40.4012 | INF | 0
s | j1 | t24 | 0 | 41.0479 | INF | 0
j1 | j2 | t1 | 0 | 58.83 | INF | 0
j1 | j2 | t2 | 0 | 69.5954 | INF | 0
j1 | j2 | t3 | 0 | 68.5233 | INF | 0
j1 | j2 | t4 | 0 | 66.878 | INF | 0
j1 | j2 | t5 | 0 | 65.0705 | INF | 0
j1 | j2 | t6 | 0 | 63.1114 | INF | 0
j1 | j2 | t7 | 0 | 61.0122 | INF | 0
j1 | j2 | t8 | 0 | 60.4533 | INF | 0
j1 | j2 | t9 | 0 | 34.3788 | INF | 0
j1 | j2 | t10 | 0 | 38.4623 | INF | 0
j1 | j2 | t11 | 0 | 33.8298 | INF | 0
j1 | j2 | t12 | 0 | 36.8485 | INF | 0
j1 | j2 | t13 | 0 | 33.7148 | INF | 0
j1 | j2 | t14 | 0 | 34.1556 | INF | 0
j1 | j2 | t15 | 0 | 34.1688 | INF | 0
j1 | j2 | t16 | 0 | 93.4783 | INF | 0
j1 | j2 | t17 | 0 | 34.9152 | INF | 0
j1 | j2 | t18 | 0 | 35.2265 | INF | 0
j1 | j2 | t19 | 0 | 38.0601 | INF | 0
j1 | j2 | t20 | 0 | 40.273 | INF | 0
j1 | j2 | t21 | 0 | 41.4267 | INF | 0
j1 | j2 | t22 | 0 | 38.7984 | INF | 0
j1 | j2 | t23 | 0 | 40.4012 | INF | 0
j1 | j2 | t24 | 0 | 41.0479 | INF | 0
j1 | r1 | t1 | 0 | 24.1295 | INF | 0
j1 | r1 | t2 | 0 | 41.4459 | INF | 0
j1 | r1 | t3 | 0 | 34.8489 | INF | 0
j1 | r1 | t4 | 0 | 0 | INF | 0
j1 | r1 | t5 | 0 | 39.0024 | INF | 0
j1 | r1 | t6 | 0 | 27.2631 | INF | 0
j1 | r1 | t7 | 0 | 36.811 | INF | 0
j1 | r1 | t8 | 0 | 36.5092 | INF | 0
j1 | r1 | t9 | 0 | 0 | INF | 0.00091147
j1 | r1 | t10 | 0 | 0 | INF | 0.00091147
j1 | r1 | t11 | 0 | 0 | INF | 0.00091147
j1 | r1 | t12 | 0 | 0 | INF | 0.00091147
j1 | r1 | t13 | 0 | 0 | INF | 0.00091147
j1 | r1 | t14 | 0 | 0 | INF | 0.00091147
j1 | r1 | t15 | 0 | 0 | INF | 0.00091147
j1 | r1 | t16 | 0 | 0 | INF | 0.00091147
j1 | r1 | t17 | 0 | 0 | INF | 0.00091147
j1 | r1 | t18 | 0 | 0 | INF | 0.00091147
j1 | r1 | t19 | 0 | 0 | INF | 0.00091147
j1 | r1 | t20 | 0 | 0 | INF | 0.00091147
j1 | r1 | t21 | 0 | 0 | INF | 0.00091147
j1 | r1 | t22 | 0 | 0 | INF | 0.00091147
j1 | r1 | t23 | 0 | 0 | INF | 0.00091147
j1 | r1 | t24 | 0 | 0 | INF | 0.00091147
j1 | r4 | t1 | 0 | 4.4819 | INF | 0
j1 | r4 | t2 | 0 | 0 | INF | 0
j1 | r4 | t3 | 0 | 6.0181 | INF | 0
j1 | r4 | t4 | 0 | 39.9785 | INF | 0
j1 | r4 | t5 | 0 | 0 | INF | -1.7814e-11
j1 | r4 | t6 | 0 | 10.6815 | INF | 0
j1 | r4 | t7 | 0 | 0 | INF | -1.0703e-11
j1 | r4 | t8 | 0 | 0 | INF | -1.7882e-11
j1 | r4 | t9 | 0 | 0 | INF | 0.00091147
j1 | r4 | t10 | 0 | 0 | INF | 0.00091147
j1 | r4 | t11 | 0 | 0 | INF | 0.00091147
j1 | r4 | t12 | 0 | 0 | INF | 0.00091147
j1 | r4 | t13 | 0 | 0 | INF | 0.00091147
j1 | r4 | t14 | 0 | 0 | INF | 0.00091147
j1 | r4 | t15 | 0 | 0 | INF | 0.00091147
j1 | r4 | t16 | 0 | 0 | INF | 0.00091147
j1 | r4 | t17 | 0 | 0 | INF | 0.00091147
j1 | r4 | t18 | 0 | 0 | INF | 0.00091147
j1 | r4 | t19 | 0 | 0 | INF | 0.00091147
j1 | r4 | t20 | 0 | 0 | INF | 0.00091147
j1 | r4 | t21 | 0 | 0 | INF | 0.00091147
j1 | r4 | t22 | 0 | 0 | INF | 0.00091147
j1 | r4 | t23 | 0 | 0 | INF | 0.00091147
j1 | r4 | t24 | 0 | 0 | INF | 0.00091147
j2 | r2 | t1 | 0 | 44.83 | INF | 0
j2 | r2 | t2 | 0 | 18 | INF | 0
j2 | r2 | t3 | 0 | 18.9408 | INF | 0
j2 | r2 | t4 | 0 | 21.1868 | INF | 0
j2 | r2 | t5 | 0 | 23.3063 | INF | 0
j2 | r2 | t6 | 0 | 25.2888 | INF | 0
j2 | r2 | t7 | 0 | 27.1242 | INF | 0
j2 | r2 | t8 | 0 | 29.6372 | INF | 0
j2 | r2 | t9 | 0 | 33.2953 | INF | 0
j2 | r2 | t10 | 0 | 2.1357 | INF | 0
j2 | r2 | t11 | 0 | 32.1932 | INF | 0
j2 | r2 | t12 | 0 | 18.4491 | INF | 0
j2 | r2 | t13 | 0 | 29.7453 | INF | 0
j2 | r2 | t14 | 0 | 34.1556 | INF | 0
j2 | r2 | t15 | 0 | 34.1688 | INF | 0
j2 | r2 | t16 | 0 | 26.0791 | INF | 0
j2 | r2 | t17 | 0 | 34.9152 | INF | 0
j2 | r2 | t18 | 0 | 35.2265 | INF | 0
j2 | r2 | t19 | 0 | 27.9822 | INF | 0
j2 | r2 | t20 | 0 | 15.0839 | INF | 0
j2 | r2 | t21 | 0 | 0 | INF | 0
j2 | r2 | t22 | 0 | 20.9851 | INF | 0
j2 | r2 | t23 | 0 | 8.2231 | INF | 0
j2 | r2 | t24 | 0 | 11.3779 | INF | 0
j2 | r3 | t1 | 0 | 14 | INF | 0
j2 | r3 | t2 | 0 | 51.5954 | INF | 0
j2 | r3 | t3 | 0 | 49.5826 | INF | 0
j2 | r3 | t4 | 0 | 45.6912 | INF | 0
j2 | r3 | t5 | 0 | 41.7641 | INF | 0
j2 | r3 | t6 | 0 | 37.8226 | INF | 0
j2 | r3 | t7 | 0 | 33.888 | INF | 0
j2 | r3 | t8 | 0 | 30.8161 | INF | 0
j2 | r3 | t9 | 0 | 1.0835 | INF | 0
j2 | r3 | t10 | 0 | 36.3266 | INF | 0
j2 | r3 | t11 | 0 | 1.6365 | INF | 0
j2 | r3 | t12 | 0 | 18.3994 | INF | 0
j2 | r3 | t13 | 0 | 3.9695 | INF | 0
j2 | r3 | t14 | 0 | 0 | INF | 0
j2 | r3 | t15 | 0 | 0 | INF | 0
j2 | r3 | t16 | 0 | 67.3992 | INF | 0
j2 | r3 | t17 | 0 | 0 | INF | 0
j2 | r3 | t18 | 0 | 0 | INF | 0
j2 | r3 | t19 | 0 | 10.078 | INF | 0
j2 | r3 | t20 | 0 | 25.1891 | INF | 0
j2 | r3 | t21 | 0 | 41.4267 | INF | 0
j2 | r3 | t22 | 0 | 17.8133 | INF | 0
j2 | r3 | t23 | 0 | 32.1781 | INF | 0
j2 | r3 | t24 | 0 | 29.67 | INF | 0

## Qpompe
TOC
Qpompe | (variable) | DÃ©bit de la pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 29.1471 | INF | 0
small | p1 | t2 | 0 | 37.0138 | INF | 0
small | p1 | t3 | 0 | 36.4634 | INF | 0
small | p1 | t4 | 0 | 35.6188 | INF | 0
small | p1 | t5 | 0 | 34.691 | INF | 0
small | p1 | t6 | 0 | 33.6853 | INF | 0
small | p1 | t7 | 0 | 32.6077 | INF | 0
small | p1 | t8 | 0 | 32.3208 | INF | 0
small | p1 | t9 | 0 | 34.3788 | INF | 0
small | p1 | t10 | 0 | 38.4623 | INF | 0
small | p1 | t11 | 0 | 33.8298 | INF | 0
small | p1 | t12 | 0 | 36.8485 | INF | 0
small | p1 | t13 | 0 | 33.7148 | INF | 0
small | p1 | t14 | 0 | 34.1556 | INF | 0
small | p1 | t15 | 0 | 34.1688 | INF | 0
small | p1 | t16 | 0 | 31.1594 | INF | 0
small | p1 | t17 | 0 | 34.9152 | INF | 0
small | p1 | t18 | 0 | 35.2265 | INF | 0
small | p1 | t19 | 0 | 38.0601 | INF | 0
small | p1 | t20 | 0 | 40.273 | INF | 0
small | p1 | t21 | 0 | 41.4267 | INF | 0
small | p1 | t22 | 0 | 38.7984 | INF | 0
small | p1 | t23 | 0 | 40.4012 | INF | 0
small | p1 | t24 | 0 | 41.0479 | INF | 0
small | p2 | t1 | 0 | 29.1471 | INF | 0
small | p2 | t2 | 0 | 37.0138 | INF | 0
small | p2 | t3 | 0 | 36.4634 | INF | 0
small | p2 | t4 | 0 | 35.6188 | INF | 0
small | p2 | t5 | 0 | 34.691 | INF | 0
small | p2 | t6 | 0 | 33.6853 | INF | 0
small | p2 | t7 | 0 | 32.6077 | INF | 0
small | p2 | t8 | 0 | 32.3208 | INF | 0
small | p2 | t9 | 0 | 0 | INF | 0
small | p2 | t10 | 0 | 0 | INF | 0
small | p2 | t11 | 0 | 0 | INF | 0
small | p2 | t12 | 0 | 0 | INF | 0
small | p2 | t13 | 0 | 0 | INF | 0
small | p2 | t14 | 0 | 0 | INF | 0
small | p2 | t15 | 0 | 0 | INF | 0
small | p2 | t16 | 0 | 31.1594 | INF | 0
small | p2 | t17 | 0 | 0 | INF | 0
small | p2 | t18 | 0 | 0 | INF | 0
small | p2 | t19 | 0 | 0 | INF | 0
small | p2 | t20 | 0 | 0 | INF | 0
small | p2 | t21 | 0 | 0 | INF | 0
small | p2 | t22 | 0 | 0 | INF | 0
small | p2 | t23 | 0 | 0 | INF | 0
small | p2 | t24 | 0 | 0 | INF | 0
small | p3 | t1 | 0 | 29.1471 | INF | 0
small | p3 | t2 | 0 | 37.0138 | INF | 0
small | p3 | t3 | 0 | 36.4634 | INF | 0
small | p3 | t4 | 0 | 35.6188 | INF | 0
small | p3 | t5 | 0 | 34.691 | INF | 0
small | p3 | t6 | 0 | 33.6853 | INF | 0
small | p3 | t7 | 0 | 32.6077 | INF | 0
small | p3 | t8 | 0 | 32.3208 | INF | 0
small | p3 | t9 | 0 | 0 | INF | 0
small | p3 | t10 | 0 | 0 | INF | 0
small | p3 | t11 | 0 | 0 | INF | 0
small | p3 | t12 | 0 | 0 | INF | 0
small | p3 | t13 | 0 | 0 | INF | 0
small | p3 | t14 | 0 | 0 | INF | 0
small | p3 | t15 | 0 | 0 | INF | 0
small | p3 | t16 | 0 | 31.1596 | INF | 0
small | p3 | t17 | 0 | 0 | INF | 0
small | p3 | t18 | 0 | 0 | INF | 0
small | p3 | t19 | 0 | 0 | INF | 0
small | p3 | t20 | 0 | 0 | INF | 0
small | p3 | t21 | 0 | 0 | INF | 0
small | p3 | t22 | 0 | 0 | INF | 0
small | p3 | t23 | 0 | 0 | INF | 0
small | p3 | t24 | 0 | 0 | INF | 0

## Qpompe_inf
TOC
Qpompe_inf | (equation) | Borne infÃ©rieur pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 28.1471 | INF | 0
small | p1 | t2 | 0 | 36.0138 | INF | 0
small | p1 | t3 | 0 | 35.4634 | INF | 0
small | p1 | t4 | 0 | 34.6188 | INF | 0
small | p1 | t5 | 0 | 33.691 | INF | 0
small | p1 | t6 | 0 | 32.6853 | INF | 0
small | p1 | t7 | 0 | 31.6077 | INF | 0
small | p1 | t8 | 0 | 31.3208 | INF | 0
small | p1 | t9 | 0 | 33.3788 | INF | 0
small | p1 | t10 | 0 | 37.4623 | INF | 0
small | p1 | t11 | 0 | 32.8298 | INF | 0
small | p1 | t12 | 0 | 35.8485 | INF | 0
small | p1 | t13 | 0 | 32.7148 | INF | 0
small | p1 | t14 | 0 | 33.1556 | INF | 0
small | p1 | t15 | 0 | 33.1688 | INF | 0
small | p1 | t16 | 0 | 30.1594 | INF | 0
small | p1 | t17 | 0 | 33.9152 | INF | 0
small | p1 | t18 | 0 | 34.2265 | INF | 0
small | p1 | t19 | 0 | 37.0601 | INF | 0
small | p1 | t20 | 0 | 39.273 | INF | 0
small | p1 | t21 | 0 | 40.4267 | INF | 0
small | p1 | t22 | 0 | 37.7984 | INF | 0
small | p1 | t23 | 0 | 39.4012 | INF | 0
small | p1 | t24 | 0 | 40.0479 | INF | 0
small | p2 | t1 | 0 | 28.1471 | INF | 0
small | p2 | t2 | 0 | 36.0138 | INF | 0
small | p2 | t3 | 0 | 35.4634 | INF | 0
small | p2 | t4 | 0 | 34.6188 | INF | 0
small | p2 | t5 | 0 | 33.691 | INF | 0
small | p2 | t6 | 0 | 32.6853 | INF | 0
small | p2 | t7 | 0 | 31.6077 | INF | 0
small | p2 | t8 | 0 | 31.3208 | INF | 0
small | p2 | t9 | 0 | 0 | INF | 0
small | p2 | t10 | 0 | 0 | INF | 0
small | p2 | t11 | 0 | 0 | INF | 0
small | p2 | t12 | 0 | 0 | INF | 0
small | p2 | t13 | 0 | 0 | INF | 0
small | p2 | t14 | 0 | 0 | INF | 0
small | p2 | t15 | 0 | 0 | INF | 0
small | p2 | t16 | 0 | 30.1594 | INF | 0
small | p2 | t17 | 0 | 0 | INF | 0
small | p2 | t18 | 0 | 0 | INF | 0
small | p2 | t19 | 0 | 0 | INF | 0
small | p2 | t20 | 0 | 0 | INF | 0
small | p2 | t21 | 0 | 0 | INF | 0
small | p2 | t22 | 0 | 0 | INF | 0
small | p2 | t23 | 0 | 0 | INF | 0
small | p2 | t24 | 0 | 0 | INF | 0
small | p3 | t1 | 0 | 28.1471 | INF | 0
small | p3 | t2 | 0 | 36.0138 | INF | 0
small | p3 | t3 | 0 | 35.4634 | INF | 0
small | p3 | t4 | 0 | 34.6188 | INF | 0
small | p3 | t5 | 0 | 33.691 | INF | 0
small | p3 | t6 | 0 | 32.6853 | INF | 0
small | p3 | t7 | 0 | 31.6077 | INF | 0
small | p3 | t8 | 0 | 31.3208 | INF | 0
small | p3 | t9 | 0 | 0 | INF | 0
small | p3 | t10 | 0 | 0 | INF | 0
small | p3 | t11 | 0 | 0 | INF | 0
small | p3 | t12 | 0 | 0 | INF | 0
small | p3 | t13 | 0 | 0 | INF | 0
small | p3 | t14 | 0 | 0 | INF | 0
small | p3 | t15 | 0 | 0 | INF | 0
small | p3 | t16 | 0 | 30.1596 | INF | 0
small | p3 | t17 | 0 | 0 | INF | 0
small | p3 | t18 | 0 | 0 | INF | 0
small | p3 | t19 | 0 | 0 | INF | 0
small | p3 | t20 | 0 | 0 | INF | 0
small | p3 | t21 | 0 | 0 | INF | 0
small | p3 | t22 | 0 | 0 | INF | 0
small | p3 | t23 | 0 | 0 | INF | 0
small | p3 | t24 | 0 | 0 | INF | 0

## Qpompe_sup
TOC
Qpompe_sup | (equation) | Borne supÃ©rieur pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | -INF | -60.8529 | 0 | 0
small | p1 | t2 | -INF | -52.9862 | 0 | 0
small | p1 | t3 | -INF | -53.5366 | 0 | 0
small | p1 | t4 | -INF | -54.3812 | 0 | 0
small | p1 | t5 | -INF | -55.309 | 0 | 0
small | p1 | t6 | -INF | -56.3147 | 0 | 0
small | p1 | t7 | -INF | -57.3923 | 0 | 0
small | p1 | t8 | -INF | -57.6792 | 0 | 0
small | p1 | t9 | -INF | -55.6212 | 0 | 0
small | p1 | t10 | -INF | -51.5377 | 0 | 0
small | p1 | t11 | -INF | -56.1702 | 0 | 0
small | p1 | t12 | -INF | -53.1515 | 0 | 0
small | p1 | t13 | -INF | -56.2852 | 0 | 0
small | p1 | t14 | -INF | -55.8444 | 0 | 0
small | p1 | t15 | -INF | -55.8312 | 0 | 0
small | p1 | t16 | -INF | -58.8406 | 0 | 0
small | p1 | t17 | -INF | -55.0848 | 0 | 0
small | p1 | t18 | -INF | -54.7735 | 0 | 0
small | p1 | t19 | -INF | -51.9399 | 0 | 0
small | p1 | t20 | -INF | -49.727 | 0 | 0
small | p1 | t21 | -INF | -48.5733 | 0 | 0
small | p1 | t22 | -INF | -51.2016 | 0 | 0
small | p1 | t23 | -INF | -49.5988 | 0 | 0
small | p1 | t24 | -INF | -48.9521 | 0 | 0
small | p2 | t1 | -INF | -60.8529 | 0 | 0
small | p2 | t2 | -INF | -52.9862 | 0 | 0
small | p2 | t3 | -INF | -53.5366 | 0 | 0
small | p2 | t4 | -INF | -54.3812 | 0 | 0
small | p2 | t5 | -INF | -55.309 | 0 | 0
small | p2 | t6 | -INF | -56.3147 | 0 | 0
small | p2 | t7 | -INF | -57.3923 | 0 | 0
small | p2 | t8 | -INF | -57.6792 | 0 | 0
small | p2 | t9 | -INF | 0 | 0 | 0
small | p2 | t10 | -INF | 0 | 0 | -0.0044371
small | p2 | t11 | -INF | 0 | 0 | -0.0044371
small | p2 | t12 | -INF | 0 | 0 | -0.0044371
small | p2 | t13 | -INF | 0 | 0 | 0
small | p2 | t14 | -INF | 0 | 0 | -0.0044371
small | p2 | t15 | -INF | 0 | 0 | 0
small | p2 | t16 | -INF | -58.8406 | 0 | 0
small | p2 | t17 | -INF | 0 | 0 | 0
small | p2 | t18 | -INF | 0 | 0 | -0.0044371
small | p2 | t19 | -INF | 0 | 0 | 0
small | p2 | t20 | -INF | 0 | 0 | -0.0044371
small | p2 | t21 | -INF | 0 | 0 | 0
small | p2 | t22 | -INF | 0 | 0 | -0.0044371
small | p2 | t23 | -INF | 0 | 0 | -0.0044371
small | p2 | t24 | -INF | 0 | 0 | 0
small | p3 | t1 | -INF | -60.8529 | 0 | 0
small | p3 | t2 | -INF | -52.9862 | 0 | 0
small | p3 | t3 | -INF | -53.5366 | 0 | 0
small | p3 | t4 | -INF | -54.3812 | 0 | 0
small | p3 | t5 | -INF | -55.309 | 0 | 0
small | p3 | t6 | -INF | -56.3147 | 0 | 0
small | p3 | t7 | -INF | -57.3923 | 0 | 0
small | p3 | t8 | -INF | -57.6792 | 0 | 0
small | p3 | t9 | -INF | 0 | 0 | 0
small | p3 | t10 | -INF | 0 | 0 | -0.0044371
small | p3 | t11 | -INF | 0 | 0 | 0
small | p3 | t12 | -INF | 0 | 0 | -0.0044371
small | p3 | t13 | -INF | 0 | 0 | -0.0044371
small | p3 | t14 | -INF | 0 | 0 | 0
small | p3 | t15 | -INF | 0 | 0 | 0
small | p3 | t16 | -INF | -58.8404 | 0 | 0
small | p3 | t17 | -INF | 0 | 0 | 0
small | p3 | t18 | -INF | 0 | 0 | 0
small | p3 | t19 | -INF | 0 | 0 | -0.0044371
small | p3 | t20 | -INF | 0 | 0 | -0.0044371
small | p3 | t21 | -INF | 0 | 0 | -0.0044371
small | p3 | t22 | -INF | 0 | 0 | -0.0044371
small | p3 | t23 | -INF | 0 | 0 | 0
small | p3 | t24 | -INF | 0 | 0 | 0

## r
TOC
r | (set) | reservoirs
n
r1
r2
r3
r4

## Satisfaction_demande
TOC
Satisfaction_demande | (equation) | Satisfaction de la demande en (r) Ã (t)
r | t | Lowerbound | Value | Upperbound | Marginal
r1 | t1 | 90.17 | 90.17 | 90.17 | -0.0035256
r1 | t2 | -5 | -5 | -5 | -0.0035256
r1 | t3 | -3.67 | -3.67 | -3.67 | -0.0035256
r1 | t4 | -6.5 | -6.5 | -6.5 | -0.0035256
r1 | t5 | -5.67 | -5.67 | -5.67 | -0.0035256
r1 | t6 | -7.5 | -7.5 | -7.5 | -0.0035256
r1 | t7 | -3 | -3 | -3 | -0.0035256
r1 | t8 | -3 | -3 | -3 | -0.0035256
r1 | t9 | -2 | -2 | -2 | -0.0035256
r1 | t10 | -13.5 | -13.5 | -13.5 | -0.0035256
r1 | t11 | -14 | -14 | -14 | -0.0035256
r1 | t12 | -12 | -12 | -12 | -0.0035256
r1 | t13 | -12 | -12 | -12 | -0.0035256
r1 | t14 | -12 | -12 | -12 | -0.0035256
r1 | t15 | -12 | -12 | -12 | -0.0035256
r1 | t16 | -12.83 | -12.83 | -12.83 | -0.0035256
r1 | t17 | -15.67 | -15.67 | -15.67 | -0.0035256
r1 | t18 | -13.17 | -13.17 | -13.17 | -0.0035256
r1 | t19 | -12 | -12 | -12 | -0.0035256
r1 | t20 | -10 | -10 | -10 | -0.0035256
r1 | t21 | -11 | -11 | -11 | -0.0035256
r1 | t22 | -14 | -14 | -14 | -0.0035256
r1 | t23 | -19.5 | -19.5 | -19.5 | -0.0035256
r1 | t24 | -10.17 | -10.17 | -10.17 | -0.0035256
r2 | t1 | 55.17 | 55.17 | 55.17 | -0.0048279
r2 | t2 | -18 | -18 | -18 | -0.0040713
r2 | t3 | 0 | 0 | 0 | -0.0040949
r2 | t4 | 0 | 0 | 0 | -0.0041484
r2 | t5 | 0 | 0 | 0 | -0.0042031
r2 | t6 | 0 | -2.8422e-14 | 0 | -0.0042592
r2 | t7 | 0 | 0 | 0 | -0.0043171
r2 | t8 | -45 | -45 | -45 | -0.0043768
r2 | t9 | -51.67 | -51.67 | -51.67 | -0.0044371
r2 | t10 | 0 | 0 | 0 | -0.0044371
r2 | t11 | 0 | 0 | 0 | -0.0044371
r2 | t12 | 0 | 0 | 0 | -0.0044371
r2 | t13 | -15.17 | -15.17 | -15.17 | -0.0044371
r2 | t14 | -103.83 | -103.83 | -103.83 | -0.0044371
r2 | t15 | -34.83 | -34.83 | -34.83 | -0.0044371
r2 | t16 | -43.83 | -43.83 | -43.83 | -0.0044371
r2 | t17 | -54.83 | -54.83 | -54.83 | -0.0044371
r2 | t18 | -51.17 | -51.17 | -51.17 | -0.0044371
r2 | t19 | -53.5 | -53.5 | -53.5 | -0.0044371
r2 | t20 | -0.67 | -0.67 | -0.67 | -0.0044371
r2 | t21 | 0 | 0 | 0 | -0.0044371
r2 | t22 | 0 | 0 | 0 | -0.0044371
r2 | t23 | -1.5 | -1.5 | -1.5 | -0.0044371
r2 | t24 | -53.5 | -53.5 | -53.5 | -0.0044371
r3 | t1 | 86 | 86 | 86 | -0.0037097
r3 | t2 | -13.33 | -13.33 | -13.33 | -0.003696
r3 | t3 | -25.5 | -25.5 | -25.5 | -0.003696
r3 | t4 | -11 | -11 | -11 | -0.003696
r3 | t5 | -10 | -10 | -10 | -0.003696
r3 | t6 | -10 | -10 | -10 | -0.003696
r3 | t7 | -11 | -11 | -11 | -0.003696
r3 | t8 | -10.33 | -10.33 | -10.33 | -0.003696
r3 | t9 | -30.17 | -30.17 | -30.17 | -0.0044371
r3 | t10 | -17.67 | -17.67 | -17.67 | -0.0044371
r3 | t11 | -36.33 | -36.33 | -36.33 | -0.0044371
r3 | t12 | -38 | -38 | -38 | -0.0044371
r3 | t13 | -35 | -35 | -35 | -0.0044371
r3 | t14 | -35.17 | -35.17 | -35.17 | -0.0044371
r3 | t15 | -19.33 | -19.33 | -19.33 | -0.0044371
r3 | t16 | -31.83 | -31.83 | -31.83 | -0.0044371
r3 | t17 | -23.5 | -23.5 | -23.5 | -0.0044371
r3 | t18 | -16.83 | -16.83 | -16.83 | -0.0044371
r3 | t19 | -28 | -28 | -28 | -0.0044371
r3 | t20 | -33.5 | -33.5 | -33.5 | -0.0044371
r3 | t21 | -39 | -39 | -39 | -0.0044371
r3 | t22 | -38.5 | -38.5 | -38.5 | -0.0044371
r3 | t23 | -32.67 | -32.67 | -32.67 | -0.0044371
r3 | t24 | -29.67 | -29.67 | -29.67 | -0.0044371
r4 | t1 | 99 | 99 | 99 | -0.0035256
r4 | t2 | -1 | -1 | -1 | -0.0035256
r4 | t3 | -8.5 | -8.5 | -8.5 | -0.0035256
r4 | t4 | -9.5 | -9.5 | -9.5 | -0.0035256
r4 | t5 | -4 | -4 | -4 | -0.0035256
r4 | t6 | -2.33 | -2.33 | -2.33 | -0.0035256
r4 | t7 | 0 | 0 | 0 | -0.0035256
r4 | t8 | -1 | -1 | -1 | -0.0035256
r4 | t9 | -0.83 | -0.83 | -0.83 | -0.0035256
r4 | t10 | -2 | -2 | -2 | -0.0035256
r4 | t11 | -2 | -2 | -2 | -0.0035256
r4 | t12 | -2 | -2 | -2 | -0.0035256
r4 | t13 | -2 | -2 | -2 | -0.0035256
r4 | t14 | -2 | -2 | -2 | -0.0035256
r4 | t15 | -2 | -2 | -2 | -0.0035256
r4 | t16 | -3 | -3 | -3 | -0.0035256
r4 | t17 | -2 | -2 | -2 | -0.0035256
r4 | t18 | -1 | -1 | -1 | -0.0035256
r4 | t19 | -2 | -2 | -2 | -0.0035256
r4 | t20 | -3 | -3 | -3 | -0.0035256
r4 | t21 | -2 | -2 | -2 | -0.0035256
r4 | t22 | -3 | -3 | -3 | -0.0035256
r4 | t23 | -3 | -3 | -3 | -0.0035256
r4 | t24 | -2 | -2 | -2 | -0.0035256

## Son
TOC
Son | (variable) | Statu t de la pompe (k) fonctionne Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 1 | 1 | 1 | 0.12346
small | p1 | t2 | 1 | 1 | 1 | 0.12084
small | p1 | t3 | 1 | 1 | 1 | 0.12099
small | p1 | t4 | 1 | 1 | 1 | 0.12122
small | p1 | t5 | 1 | 1 | 1 | 0.12149
small | p1 | t6 | 1 | 1 | 1 | 0.1218
small | p1 | t7 | 1 | 1 | 1 | 0.12215
small | p1 | t8 | 1 | 1 | 1 | 0.12225
small | p1 | t9 | 1 | 1 | 1 | 0.17565
small | p1 | t10 | 1 | 1 | 1 | 0.17565
small | p1 | t11 | 1 | 1 | 1 | 0.17565
small | p1 | t12 | 1 | 1 | 1 | 0.17565
small | p1 | t13 | 1 | 1 | 1 | 0.17565
small | p1 | t14 | 1 | 1 | 1 | 0.17565
small | p1 | t15 | 1 | 1 | 1 | 0.17565
small | p1 | t16 | 1 | 1 | 1 | 0.17565
small | p1 | t17 | 1 | 1 | 1 | 0.17565
small | p1 | t18 | 1 | 1 | 1 | 0.17565
small | p1 | t19 | 1 | 1 | 1 | 0.17565
small | p1 | t20 | 1 | 1 | 1 | 0.17565
small | p1 | t21 | 1 | 1 | 1 | 0.17565
small | p1 | t22 | 1 | 1 | 1 | 0.17565
small | p1 | t23 | 1 | 1 | 1 | 0.17565
small | p1 | t24 | 1 | 1 | 1 | 0.17565
small | p2 | t1 | 1 | 1 | 1 | 0.12346
small | p2 | t2 | 1 | 1 | 1 | 0.12084
small | p2 | t3 | 1 | 1 | 1 | 0.12099
small | p2 | t4 | 1 | 1 | 1 | 0.12122
small | p2 | t5 | 1 | 1 | 1 | 0.12149
small | p2 | t6 | 1 | 1 | 1 | 0.1218
small | p2 | t7 | 1 | 1 | 1 | 0.12215
small | p2 | t8 | 1 | 1 | 1 | 0.12225
small | p2 | t9 | 0 | 0 | 1 | 0.17565
small | p2 | t10 | 0 | 0 | 1 | -0.39934
small | p2 | t11 | 0 | 0 | 1 | -0.39934
small | p2 | t12 | 0 | 0 | 1 | -0.39934
small | p2 | t13 | 0 | 0 | 1 | 0.17565
small | p2 | t14 | 0 | 0 | 1 | -0.39934
small | p2 | t15 | 0 | 0 | 1 | 0.17565
small | p2 | t16 | 0 | 1 | 1 | 0.17565
small | p2 | t17 | 0 | 0 | 1 | 0.17565
small | p2 | t18 | 0 | 0 | 1 | -0.39934
small | p2 | t19 | 0 | 0 | 1 | 0.17565
small | p2 | t20 | 0 | 0 | 1 | -0.39934
small | p2 | t21 | 0 | 0 | 1 | 0.17565
small | p2 | t22 | 0 | 0 | 1 | -0.39934
small | p2 | t23 | 0 | 0 | 1 | -0.39934
small | p2 | t24 | 0 | 0 | 1 | 0.17565
small | p3 | t1 | 1 | 1 | 1 | 0.12346
small | p3 | t2 | 1 | 1 | 1 | 0.12084
small | p3 | t3 | 1 | 1 | 1 | 0.12099
small | p3 | t4 | 1 | 1 | 1 | 0.12122
small | p3 | t5 | 1 | 1 | 1 | 0.12149
small | p3 | t6 | 1 | 1 | 1 | 0.1218
small | p3 | t7 | 1 | 1 | 1 | 0.12215
small | p3 | t8 | 1 | 1 | 1 | 0.12225
small | p3 | t9 | 0 | 0 | 1 | 0.17565
small | p3 | t10 | 0 | 0 | 1 | -0.39934
small | p3 | t11 | 0 | 0 | 1 | 0.17565
small | p3 | t12 | 0 | 0 | 1 | -0.39934
small | p3 | t13 | 0 | 0 | 1 | -0.39934
small | p3 | t14 | 0 | 0 | 1 | 0.17565
small | p3 | t15 | 0 | 0 | 1 | 0.17565
small | p3 | t16 | 0 | 1 | 1 | 0.17565
small | p3 | t17 | 0 | 0 | 1 | 0.17565
small | p3 | t18 | 0 | 0 | 1 | 0.17565
small | p3 | t19 | 0 | 0 | 1 | -0.39934
small | p3 | t20 | 0 | 0 | 1 | -0.39934
small | p3 | t21 | 0 | 0 | 1 | -0.39934
small | p3 | t22 | 0 | 0 | 1 | -0.39934
small | p3 | t23 | 0 | 0 | 1 | 0.17565
small | p3 | t24 | 0 | 0 | 1 | 0.17565

## surface
TOC
surface | (parameter) | mean surface of each reservoir (m^2)
r | Value
r1 | 80
r2 | 80
r3 | 80
r4 | 80

## t
TOC
t | (set) | 1-hour periods
dim1
t1
t2
t3
t4
t5
t6
t7
t8
t9
t10
t11
t12
t13
t14
t15
t16
t17
t18
t19
t20
t21
t22
t23
t24

## tariff
TOC
tariff | (parameter) | electricity tariff
t | Value
t1 | 0.02916
t2 | 0.02916
t3 | 0.02916
t4 | 0.02916
t5 | 0.02916
t6 | 0.02916
t7 | 0.02916
t8 | 0.02916
t9 | 0.04609
t10 | 0.04609
t11 | 0.04609
t12 | 0.04609
t13 | 0.04609
t14 | 0.04609
t15 | 0.04609
t16 | 0.04609
t17 | 0.04609
t18 | 0.04609
t19 | 0.04609
t20 | 0.04609
t21 | 0.04609
t22 | 0.04609
t23 | 0.04609
t24 | 0.04609

## v
TOC
v | (variable) | Volume au rÃ©servoir (r) en (t)
n | t | Lowerbound | Value | Upperbound | Marginal
r1 | t1 | 100 | 114.2995 | 300 | 0
r1 | t2 | 100 | 150.7454 | 300 | 0
r1 | t3 | 100 | 181.9243 | 300 | 0
r1 | t4 | 100 | 175.4243 | 300 | 0
r1 | t5 | 100 | 208.7567 | 300 | 0
r1 | t6 | 100 | 228.5198 | 300 | 0
r1 | t7 | 100 | 262.3308 | 300 | 0
r1 | t8 | 100 | 295.84 | 300 | 0
r1 | t9 | 100 | 293.84 | 300 | 0
r1 | t10 | 100 | 280.34 | 300 | 0
r1 | t11 | 100 | 266.34 | 300 | 0
r1 | t12 | 100 | 254.34 | 300 | 0
r1 | t13 | 100 | 242.34 | 300 | 0
r1 | t14 | 100 | 230.34 | 300 | 0
r1 | t15 | 100 | 218.34 | 300 | 0
r1 | t16 | 100 | 205.51 | 300 | 0
r1 | t17 | 100 | 189.84 | 300 | 0
r1 | t18 | 100 | 176.67 | 300 | 0
r1 | t19 | 100 | 164.67 | 300 | 0
r1 | t20 | 100 | 154.67 | 300 | 0
r1 | t21 | 100 | 143.67 | 300 | 0
r1 | t22 | 100 | 129.67 | 300 | 0
r1 | t23 | 100 | 110.17 | 300 | 0
r1 | t24 | 100 | 100 | 300 | 0.0035256
r2 | t1 | 100 | 100 | 300 | 0.00082348
r2 | t2 | 100 | 100 | 300 | 2.8991e-05
r2 | t3 | 100 | 118.9408 | 300 | 0
r2 | t4 | 100 | 140.1275 | 300 | 0
r2 | t5 | 100 | 163.4339 | 300 | 0
r2 | t6 | 100 | 188.7227 | 300 | 0
r2 | t7 | 100 | 215.8469 | 300 | 0
r2 | t8 | 100 | 200.484 | 300 | 0
r2 | t9 | 100 | 182.1093 | 300 | 0
r2 | t10 | 100 | 184.245 | 300 | 0
r2 | t11 | 100 | 216.4382 | 300 | 0
r2 | t12 | 100 | 234.8873 | 300 | 0
r2 | t13 | 100 | 249.4626 | 300 | 0
r2 | t14 | 100 | 179.7882 | 300 | 0
r2 | t15 | 100 | 179.127 | 300 | 0
r2 | t16 | 100 | 161.3762 | 300 | 0
r2 | t17 | 100 | 141.4614 | 300 | 0
r2 | t18 | 100 | 125.5178 | 300 | 0
r2 | t19 | 100 | 100 | 300 | 0
r2 | t20 | 100 | 114.4139 | 300 | 0
r2 | t21 | 100 | 114.4139 | 300 | 0
r2 | t22 | 100 | 135.399 | 300 | 0
r2 | t23 | 100 | 142.1221 | 300 | 0
r2 | t24 | 100 | 100 | 300 | 0.0044371
r3 | t1 | 100 | 100 | 300 | 1.3645e-05
r3 | t2 | 100 | 138.2654 | 300 | 0
r3 | t3 | 100 | 162.348 | 300 | 0
r3 | t4 | 100 | 197.0392 | 300 | 0
r3 | t5 | 100 | 228.8033 | 300 | 0
r3 | t6 | 100 | 256.6259 | 300 | 0
r3 | t7 | 100 | 279.5139 | 300 | 0
r3 | t8 | 100 | 300 | 300 | -0.00074105
r3 | t9 | 100 | 270.9135 | 300 | 0
r3 | t10 | 100 | 289.5701 | 300 | 0
r3 | t11 | 100 | 254.8767 | 300 | 0
r3 | t12 | 100 | 235.2761 | 300 | 0
r3 | t13 | 100 | 204.2456 | 300 | 0
r3 | t14 | 100 | 169.0756 | 300 | 0
r3 | t15 | 100 | 149.7456 | 300 | 0
r3 | t16 | 100 | 185.3148 | 300 | 0
r3 | t17 | 100 | 161.8148 | 300 | 0
r3 | t18 | 100 | 144.9848 | 300 | 0
r3 | t19 | 100 | 127.0628 | 300 | 0
r3 | t20 | 100 | 118.7519 | 300 | 0
r3 | t21 | 100 | 121.1785 | 300 | 0
r3 | t22 | 100 | 100.4919 | 300 | 0
r3 | t23 | 100 | 100 | 300 | 0
r3 | t24 | 100 | 100 | 300 | 0.0044371
r4 | t1 | 100 | 103.4819 | 300 | 0
r4 | t2 | 100 | 102.4819 | 300 | 0
r4 | t3 | 100 | 100 | 300 | -1.8302e-11
r4 | t4 | 100 | 130.4785 | 300 | 0
r4 | t5 | 100 | 126.4785 | 300 | 0
r4 | t6 | 100 | 134.83 | 300 | 0
r4 | t7 | 100 | 134.83 | 300 | 0
r4 | t8 | 100 | 133.83 | 300 | 0
r4 | t9 | 100 | 133 | 300 | 0
r4 | t10 | 100 | 131 | 300 | 0
r4 | t11 | 100 | 129 | 300 | 0
r4 | t12 | 100 | 127 | 300 | 0
r4 | t13 | 100 | 125 | 300 | 0
r4 | t14 | 100 | 123 | 300 | 0
r4 | t15 | 100 | 121 | 300 | 0
r4 | t16 | 100 | 118 | 300 | 0
r4 | t17 | 100 | 116 | 300 | 0
r4 | t18 | 100 | 115 | 300 | 0
r4 | t19 | 100 | 113 | 300 | 0
r4 | t20 | 100 | 110 | 300 | 0
r4 | t21 | 100 | 108 | 300 | 0
r4 | t22 | 100 | 105 | 300 | 0
r4 | t23 | 100 | 102 | 300 | 0
r4 | t24 | 100 | 100 | 300 | 0.0035256

## vinit
TOC
vinit | (parameter) | initial volume of each reservoir
r | t | Value
r1 | t1 | 100
r2 | t1 | 100
r3 | t1 | 100
r4 | t1 | 100

## vmax
TOC
vmax | (parameter) | maximal volume of each reservoir (m^3)
r | Value
r1 | 300
r2 | 300
r3 | 300
r4 | 300

## vmin
TOC
vmin | (parameter) | minimal volume of each reservoir (m^3)
r | Value
r1 | 100
r2 | 100
r3 | 100
r4 | 100