## Table of Contents
Name | Type | Dim | Count | Explanatory text
c | set | 1 | 1 | pump class
Charge | variable | 2 | 168 | Niveau de charge au noeud (n) Ã (t)
Charge_j | equation | 2 | 48 | Niveau de charge aux jonctions (j) Ã (t)
Charge_r | equation | 2 | 96 | Niveau de charge au rÃ©servoir (r) Ã (t)
Charge_s | equation | 4 | 72 | Niveau de charge Ã la source Ã (t)
d | set | 1 | 3 | pump number
Debit_s | equation | 1 | 24 | Equilibre des dÃ©bits Ã la source Ã (t)
degree | set | 1 | 3 | polynomial degrees
demand | parameter | 2 | 85 | demand in water at each reservoir and each hour (m^3)
dp | parameter | 1 | 0 | Aliased with d
Elec_pompe | equation | 3 | 72 | Consommation Ã©lectrique de la pompe (k) Ã (t)
gamma | parameter | 2 | 2 | linear fit of the electrical power (kW) on the flow (m^3.h^-1) for each class of pumps
height | parameter | 1 | 6 | elevation at each node relative to s (m)
height0 | parameter | 0 | 1 | reference height at the source (m)
j | set | 1 | 2 | junctions
k | set | 2 | 3 | pump type
kp | set | 2 | 0 | Aliased with k
l | set | 2 | 6 | pipes
n | set | 1 | 7 | nodes
night | set | 1 | 8 | night periods
Noeud | equation | 2 | 48 | Contrainte dÃ©bit noeud (n) Ã (t)
np | equation | 1 | 0 | Aliased with n
obj | equation | 0 | 1 | Objectif
Ordre_pompe | equation | 3 | 72 | Les pompes s allument dans l ordre
Perte_charge | equation | 3 | 144 | Perte charge (n n) Ã (t)
phi | parameter | 3 | 12 | quadratic fit of the pressure loss (m) on the flow (m^3.h^-1) for each pipe
Ppompe | variable | 3 | 72 | Puissance Ã©lectrique de la pompe (k) Ã (t) en (kW)
psi | parameter | 2 | 2 | quadratic fit of the service pressure (m) on the flow (m^3.h^-1) for each class of pumps
Qmax | parameter | 0 | 1 | maximal debit for pumps
Qmin | parameter | 0 | 1 | minimal debit for pumps
Qpipe | variable | 3 | 144 | DÃ©bit dans le tuyau (l) Ã (t)
Qpompe | variable | 3 | 72 | DÃ©bit de la pompe (k) Ã (t)
Qpompe_inf | equation | 3 | 72 | Borne infÃ©rieur pompe (k) Ã (t)
Qpompe_sup | equation | 3 | 72 | Borne supÃ©rieur pompe (k) Ã (t)
r | set | 1 | 4 | reservoirs
Reduction | equation | 0 | 1 | RÃ©duction des possibilitÃ©s
Satisfaction_demande | equation | 2 | 96 | Satisfaction de la demande en (r) Ã (t)
Son | variable | 3 | 72 | Statu t de la pompe (k) fonctionne Ã (t)
surface | parameter | 1 | 4 | mean surface of each reservoir (m^2)
t | set | 1 | 24 | 1-hour periods
tariff | parameter | 1 | 24 | electricity tariff
tariffday | parameter | 0 | 1 | electricity hourly tariff at day (euro.kWh^-1)
tariffnight | parameter | 0 | 1 | electricity hourly tariff at night (euro.kWh^-1)
v | variable | 2 | 96 | Volume au rÃ©servoir (r) en (t)
vinit | parameter | 2 | 4 | initial volume of each reservoir
vmax | parameter | 1 | 4 | maximal volume of each reservoir (m^3)
vmin | parameter | 1 | 4 | minimal volume of each reservoir (m^3)
z | variable | 0 | 1 | CoÃ»t exploitation final

## comments
Commentaires
Problème 4WT sans relaxation convexe. Ecart relatif toléré : 0,5. Temps de calcul : ~20 minutes. Le temps de calcul dépasse 7 heures si la tolérance est réduit à 0,1.

## Scalar
TOC
Parameter | Value | Explanatory text
height0 | 0 | reference height at the source (m)
Qmax | 90 | maximal debit for pumps
Qmin | 1 | minimal debit for pumps
tariffday | 0.04609 | electricity hourly tariff at day (euro.kWh^-1)
tariffnight | 0.02916 | electricity hourly tariff at night (euro.kWh^-1)
Variable | Lowerbound | Value | Upperbound | Marginal | Explanatory text
z | -INF | 11.4348 | INF | 0 | CoÃ»t exploitation final
Equation | Lowerbound | Value | Upperbound | Marginal | Explanatory text
obj | 0 | 0 | 0 | 1 | Objectif
Reduction | 16.2648 | 44 | INF | 0 | RÃ©duction des possibilitÃ©s

## c
TOC
c | (set) | pump class
dim1
small

## Charge
TOC
Charge | (variable) | Niveau de charge au noeud (n) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
s | t1 | 0 | 57.6352 | INF | 0
s | t2 | 0 | 54.1372 | INF | 0
s | t3 | 0 | 54.0856 | INF | 2.5461e-10
s | t4 | 0 | 54.4236 | INF | 0
s | t5 | 0 | 54.7979 | INF | 0
s | t6 | 0 | 55.2036 | INF | 5.6232e-10
s | t7 | 0 | 56.5599 | INF | -4.7344e-10
s | t8 | 0 | 55.7155 | INF | 7.3338e-10
s | t9 | 0 | 57.3473 | INF | 0
s | t10 | 0 | 56.032 | INF | 0
s | t11 | 0 | 56.1791 | INF | 0
s | t12 | 0 | 71674.8047 | INF | 0
s | t13 | 0 | 57.8854 | INF | 0
s | t14 | 0 | 55.7777 | INF | 0
s | t15 | 0 | 56.7973 | INF | 0
s | t16 | 0 | 56.823 | INF | 0
s | t17 | 0 | 56.8051 | INF | 0
s | t18 | 0 | 55.5009 | INF | 0
s | t19 | 0 | 55.4129 | INF | 0
s | t20 | 0 | 71384.948 | INF | 0
s | t21 | 0 | 55.0736 | INF | 0
s | t22 | 0 | 57.1189 | INF | 0
s | t23 | 0 | 71403.2311 | INF | 0
s | t24 | 0 | 55.3583 | INF | 0
j1 | t1 | 0 | 57.187 | INF | 0
j1 | t2 | 0 | 53.4131 | INF | 0
j1 | t3 | 0 | 53.3574 | INF | 0
j1 | t4 | 0 | 53.722 | INF | 0
j1 | t5 | 0 | 54.1258 | INF | 0
j1 | t6 | 0 | 54.5634 | INF | 0
j1 | t7 | 0 | 56.3148 | INF | 0
j1 | t8 | 0 | 55.1156 | INF | 0
j1 | t9 | 0 | 57.1303 | INF | 0
j1 | t10 | 0 | 55.9597 | INF | 0
j1 | t11 | 0 | 56.1081 | INF | 0
j1 | t12 | 0 | 71674.8047 | INF | 0
j1 | t13 | 0 | 57.4571 | INF | 0
j1 | t14 | 0 | 55.703 | INF | 0
j1 | t15 | 0 | 56.5606 | INF | 0
j1 | t16 | 0 | 56.5873 | INF | 0
j1 | t17 | 0 | 56.5687 | INF | 0
j1 | t18 | 0 | 55.4236 | INF | 0
j1 | t19 | 0 | 55.3348 | INF | 0
j1 | t20 | 0 | 71384.948 | INF | 0
j1 | t21 | 0 | 54.9924 | INF | 0
j1 | t22 | 0 | 56.6298 | INF | 0
j1 | t23 | 0 | 71403.2311 | INF | 0
j1 | t24 | 0 | 55.2797 | INF | 0
j2 | t1 | 0 | 56.1301 | INF | 0
j2 | t2 | 0 | 52.1284 | INF | 0
j2 | t3 | 0 | 52.0654 | INF | 0
j2 | t4 | 0 | 52.4784 | INF | 0
j2 | t5 | 0 | 52.936 | INF | 0
j2 | t6 | 0 | 53.4318 | INF | 0
j2 | t7 | 0 | 55.0801 | INF | 0
j2 | t8 | 0 | 54.0576 | INF | 0
j2 | t9 | 0 | 56.0392 | INF | 0
j2 | t10 | 0 | 55.6022 | INF | 0
j2 | t11 | 0 | 55.7576 | INF | 0
j2 | t12 | 0 | 71674.8047 | INF | 0
j2 | t13 | 0 | 55.2871 | INF | 0
j2 | t14 | 0 | 55.3335 | INF | 0
j2 | t15 | 0 | 55.3692 | INF | 0
j2 | t16 | 0 | 55.4005 | INF | 0
j2 | t17 | 0 | 55.3787 | INF | 0
j2 | t18 | 0 | 55.0411 | INF | 0
j2 | t19 | 0 | 54.9482 | INF | 0
j2 | t20 | 0 | 71384.948 | INF | 0
j2 | t21 | 0 | 54.5897 | INF | 0
j2 | t22 | 0 | 54.1493 | INF | 0
j2 | t23 | 0 | 71403.2311 | INF | 0
j2 | t24 | 0 | 54.8905 | INF | 0
r1 | t1 | 0 | 56.4522 | INF | 0
r1 | t2 | 0 | 51.9106 | INF | 0
r1 | t3 | 0 | 52.2703 | INF | 0
r1 | t4 | 0 | 52.6049 | INF | 0
r1 | t5 | 0 | 52.96 | INF | 0
r1 | t6 | 0 | 53.3094 | INF | 0
r1 | t7 | 0 | 56.3148 | INF | 0
r1 | t8 | 0 | 53.7062 | INF | 0
r1 | t9 | 0 | 57.1303 | INF | 0
r1 | t10 | 0 | 55.9597 | INF | 0
r1 | t11 | 0 | 56.1081 | INF | 0
r1 | t12 | 0 | 71674.8047 | INF | 0
r1 | t13 | 0 | 57.4571 | INF | 0
r1 | t14 | 0 | 55.703 | INF | 0
r1 | t15 | 0 | 56.5606 | INF | 0
r1 | t16 | 0 | 56.5873 | INF | 0
r1 | t17 | 0 | 56.5687 | INF | 0
r1 | t18 | 0 | 55.4236 | INF | 0
r1 | t19 | 0 | 55.3348 | INF | 0
r1 | t20 | 0 | 71384.948 | INF | 0
r1 | t21 | 0 | 54.9924 | INF | 0
r1 | t22 | 0 | 56.6298 | INF | 0
r1 | t23 | 0 | 71403.2311 | INF | 0
r1 | t24 | 0 | 55.2797 | INF | 0
r2 | t1 | 0 | 51.25 | INF | 0
r2 | t2 | 0 | 51.25 | INF | 0
r2 | t3 | 0 | 51.437 | INF | 0
r2 | t4 | 0 | 51.6543 | INF | 0
r2 | t5 | 0 | 51.9004 | INF | 0
r2 | t6 | 0 | 52.1739 | INF | 0
r2 | t7 | 0 | 52.5695 | INF | 0
r2 | t8 | 0 | 52.3312 | INF | 0
r2 | t9 | 0 | 52.5227 | INF | 0
r2 | t10 | 0 | 53.3191 | INF | 0
r2 | t11 | 0 | 53.5793 | INF | 0
r2 | t12 | 0 | 71674.8047 | INF | 0
r2 | t13 | 0 | 53.2929 | INF | 0
r2 | t14 | 0 | 52.9347 | INF | 0
r2 | t15 | 0 | 52.473 | INF | 0
r2 | t16 | 0 | 52.3646 | INF | 0
r2 | t17 | 0 | 52.1538 | INF | 0
r2 | t18 | 0 | 52.4794 | INF | 0
r2 | t19 | 0 | 52.3666 | INF | 0
r2 | t20 | 0 | 71384.948 | INF | 0
r2 | t21 | 0 | 54.2137 | INF | 0
r2 | t22 | 0 | 52.488 | INF | 0
r2 | t23 | 0 | 71403.2311 | INF | 0
r2 | t24 | 0 | 54.1825 | INF | 0
r3 | t1 | 0 | 55.7954 | INF | 0
r3 | t2 | 0 | 48.9057 | INF | 0
r3 | t3 | 0 | 48.4028 | INF | 0
r3 | t4 | 0 | 49.3178 | INF | 0
r3 | t5 | 0 | 50.2473 | INF | 0
r3 | t6 | 0 | 51.1812 | INF | 0
r3 | t7 | 0 | 53.5279 | INF | 0
r3 | t8 | 0 | 52.4335 | INF | 0
r3 | t9 | 0 | 55.2745 | INF | 0
r3 | t10 | 0 | 55.5738 | INF | 0
r3 | t11 | 0 | 55.7238 | INF | 0
r3 | t12 | 0 | 71674.8047 | INF | 0
r3 | t13 | 0 | 50.5688 | INF | 0
r3 | t14 | 0 | 55.3078 | INF | 0
r3 | t15 | 0 | 54.1328 | INF | 0
r3 | t16 | 0 | 54.2432 | INF | 0
r3 | t17 | 0 | 54.3019 | INF | 0
r3 | t18 | 0 | 55.021 | INF | 0
r3 | t19 | 0 | 54.9273 | INF | 0
r3 | t20 | 0 | 71384.948 | INF | 0
r3 | t21 | 0 | 53.6834 | INF | 0
r3 | t22 | 0 | 47.9465 | INF | 0
r3 | t23 | 0 | 71403.2311 | INF | 0
r3 | t24 | 0 | 54.3239 | INF | 0
r4 | t1 | 0 | 57.1825 | INF | 0
r4 | t2 | 0 | 53.3723 | INF | 0
r4 | t3 | 0 | 53.2448 | INF | 0
r4 | t4 | 0 | 53.6274 | INF | 0
r4 | t5 | 0 | 54.0525 | INF | 0
r4 | t6 | 0 | 54.5152 | INF | 0
r4 | t7 | 0 | 56.3148 | INF | 0
r4 | t8 | 0 | 55.0959 | INF | 0
r4 | t9 | 0 | 57.1303 | INF | 0
r4 | t10 | 0 | 55.9597 | INF | 0
r4 | t11 | 0 | 56.1081 | INF | 0
r4 | t12 | 0 | 71674.8047 | INF | 0
r4 | t13 | 0 | 57.4571 | INF | 0
r4 | t14 | 0 | 55.703 | INF | 0
r4 | t15 | 0 | 56.5606 | INF | 0
r4 | t16 | 0 | 56.5873 | INF | 0
r4 | t17 | 0 | 56.5687 | INF | 0
r4 | t18 | 0 | 55.4236 | INF | 0
r4 | t19 | 0 | 55.3348 | INF | 0
r4 | t20 | 0 | 71384.948 | INF | 0
r4 | t21 | 0 | 54.9924 | INF | 0
r4 | t22 | 0 | 56.6298 | INF | 0
r4 | t23 | 0 | 71403.2311 | INF | 0
r4 | t24 | 0 | 55.2797 | INF | 0

## Charge_j
TOC
Charge_j | (equation) | Niveau de charge aux jonctions (j) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
j1 | t1 | 30 | 57.187 | INF | 0
j1 | t2 | 30 | 53.4131 | INF | 0
j1 | t3 | 30 | 53.3574 | INF | 0
j1 | t4 | 30 | 53.722 | INF | 0
j1 | t5 | 30 | 54.1258 | INF | 0
j1 | t6 | 30 | 54.5634 | INF | 0
j1 | t7 | 30 | 56.3148 | INF | 0
j1 | t8 | 30 | 55.1156 | INF | 0
j1 | t9 | 30 | 57.1303 | INF | 0
j1 | t10 | 30 | 55.9597 | INF | 0
j1 | t11 | 30 | 56.1081 | INF | 0
j1 | t12 | 30 | 71674.8047 | INF | 0
j1 | t13 | 30 | 57.4571 | INF | 0
j1 | t14 | 30 | 55.703 | INF | 0
j1 | t15 | 30 | 56.5606 | INF | 0
j1 | t16 | 30 | 56.5873 | INF | 0
j1 | t17 | 30 | 56.5687 | INF | 0
j1 | t18 | 30 | 55.4236 | INF | 0
j1 | t19 | 30 | 55.3348 | INF | 0
j1 | t20 | 30 | 71384.948 | INF | 0
j1 | t21 | 30 | 54.9924 | INF | 0
j1 | t22 | 30 | 56.6298 | INF | 0
j1 | t23 | 30 | 71403.2311 | INF | 0
j1 | t24 | 30 | 55.2797 | INF | 0
j2 | t1 | 30 | 56.1301 | INF | 0
j2 | t2 | 30 | 52.1284 | INF | 0
j2 | t3 | 30 | 52.0654 | INF | 0
j2 | t4 | 30 | 52.4784 | INF | 0
j2 | t5 | 30 | 52.936 | INF | 0
j2 | t6 | 30 | 53.4318 | INF | 0
j2 | t7 | 30 | 55.0801 | INF | 0
j2 | t8 | 30 | 54.0576 | INF | 0
j2 | t9 | 30 | 56.0392 | INF | 0
j2 | t10 | 30 | 55.6022 | INF | 0
j2 | t11 | 30 | 55.7576 | INF | 0
j2 | t12 | 30 | 71674.8047 | INF | 0
j2 | t13 | 30 | 55.2871 | INF | 0
j2 | t14 | 30 | 55.3335 | INF | 0
j2 | t15 | 30 | 55.3692 | INF | 0
j2 | t16 | 30 | 55.4005 | INF | 0
j2 | t17 | 30 | 55.3787 | INF | 0
j2 | t18 | 30 | 55.0411 | INF | 0
j2 | t19 | 30 | 54.9482 | INF | 0
j2 | t20 | 30 | 71384.948 | INF | 0
j2 | t21 | 30 | 54.5897 | INF | 0
j2 | t22 | 30 | 54.1493 | INF | 0
j2 | t23 | 30 | 71403.2311 | INF | 0
j2 | t24 | 30 | 54.8905 | INF | 0

## Charge_r
TOC
Charge_r | (equation) | Niveau de charge au rÃ©servoir (r) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
r1 | t1 | 50 | 54.9899 | INF | 0
r1 | t2 | 50 | 50.022 | INF | 0
r1 | t3 | 50 | 50.0151 | INF | 0
r1 | t4 | 50 | 50.0126 | INF | 0
r1 | t5 | 50 | 50.0106 | INF | 0
r1 | t6 | 50 | 50.0092 | INF | 0
r1 | t7 | 50 | 53.0521 | INF | 0
r1 | t8 | 50 | 50.0082 | INF | 0
r1 | t9 | 50 | 53.4573 | INF | 0
r1 | t10 | 50 | 52.4554 | INF | 0
r1 | t11 | 50 | 52.7789 | INF | 0
r1 | t12 | 50 | 71671.6255 | INF | 0
r1 | t13 | 50 | 54.4278 | INF | 0
r1 | t14 | 50 | 52.8237 | INF | 0
r1 | t15 | 50 | 53.8314 | INF | 0
r1 | t16 | 50 | 54.0184 | INF | 0
r1 | t17 | 50 | 54.1957 | INF | 0
r1 | t18 | 50 | 53.2153 | INF | 0
r1 | t19 | 50 | 53.2764 | INF | 0
r1 | t20 | 50 | 71383.0147 | INF | 0
r1 | t21 | 50 | 53.1965 | INF | 0
r1 | t22 | 50 | 55.0089 | INF | 0
r1 | t23 | 50 | 71401.854 | INF | 0
r1 | t24 | 50 | 54.0297 | INF | 0
r2 | t1 | 50 | 50 | INF | 0.00578
r2 | t2 | 50 | 50 | INF | 0.0045128
r2 | t3 | 50 | 50 | INF | 0.0044999
r2 | t4 | 50 | 50 | INF | 0.0045867
r2 | t5 | 50 | 50 | INF | 0.004689
r2 | t6 | 50 | 50 | INF | 0.0048079
r2 | t7 | 50 | 50 | INF | 0.0038089
r2 | t8 | 50 | 50 | INF | 0.0049719
r2 | t9 | 50 | 50.3651 | INF | 0
r2 | t10 | 50 | 50.7854 | INF | 0
r2 | t11 | 50 | 50.6787 | INF | 0
r2 | t12 | 50 | 71671.9041 | INF | 0
r2 | t13 | 50 | 50.2319 | INF | 0
r2 | t14 | 50 | 50.7854 | INF | 0
r2 | t15 | 50 | 50.3325 | INF | 0
r2 | t16 | 50 | 50.3348 | INF | 0
r2 | t17 | 50 | 50.3581 | INF | 0
r2 | t18 | 50 | 50.9236 | INF | 0
r2 | t19 | 50 | 51.0781 | INF | 0
r2 | t20 | 50 | 71383.6679 | INF | 0
r2 | t21 | 50 | 52.7936 | INF | 0
r2 | t22 | 50 | 50.7503 | INF | 0
r2 | t23 | 50 | 71401.5122 | INF | 0
r2 | t24 | 50 | 52.9325 | INF | 0
r3 | t1 | 45 | 54.5454 | INF | 0
r3 | t2 | 45 | 47.2334 | INF | 0
r3 | t3 | 45 | 46.4197 | INF | 0
r3 | t4 | 45 | 46.8891 | INF | 0
r3 | t5 | 45 | 47.4076 | INF | 0
r3 | t6 | 45 | 47.978 | INF | 0
r3 | t7 | 45 | 50.0604 | INF | 0
r3 | t8 | 45 | 48.6835 | INF | 0
r3 | t9 | 45 | 51.6262 | INF | 0
r3 | t10 | 45 | 52.108 | INF | 0
r3 | t11 | 45 | 52.6689 | INF | 0
r3 | t12 | 45 | 71672.2248 | INF | 0
r3 | t13 | 45 | 47.7088 | INF | 0
r3 | t14 | 45 | 52.8516 | INF | 0
r3 | t15 | 45 | 51.562 | INF | 0
r3 | t16 | 45 | 51.7263 | INF | 0
r3 | t17 | 45 | 51.7478 | INF | 0
r3 | t18 | 45 | 52.6472 | INF | 0
r3 | t19 | 45 | 52.8725 | INF | 0
r3 | t20 | 45 | 71383.312 | INF | 0
r3 | t21 | 45 | 52.233 | INF | 0
r3 | t22 | 45 | 46.1513 | INF | 0
r3 | t23 | 45 | 71401.8443 | INF | 0
r3 | t24 | 45 | 53.0739 | INF | 0
r4 | t1 | 35 | 55.9225 | INF | 0
r4 | t2 | 35 | 52.0268 | INF | 0
r4 | t3 | 35 | 51.8296 | INF | 0
r4 | t4 | 35 | 52.1716 | INF | 0
r4 | t5 | 35 | 52.5086 | INF | 0
r4 | t6 | 35 | 52.8925 | INF | 0
r4 | t7 | 35 | 54.6921 | INF | 0
r4 | t8 | 35 | 53.423 | INF | 0
r4 | t9 | 35 | 55.4678 | INF | 0
r4 | t10 | 35 | 54.3222 | INF | 0
r4 | t11 | 35 | 54.4956 | INF | 0
r4 | t12 | 35 | 71673.2172 | INF | 0
r4 | t13 | 35 | 55.8946 | INF | 0
r4 | t14 | 35 | 54.1655 | INF | 0
r4 | t15 | 35 | 55.0481 | INF | 0
r4 | t16 | 35 | 55.1123 | INF | 0
r4 | t17 | 35 | 55.1187 | INF | 0
r4 | t18 | 35 | 53.9861 | INF | 0
r4 | t19 | 35 | 53.9223 | INF | 0
r4 | t20 | 35 | 71383.573 | INF | 0
r4 | t21 | 35 | 53.6424 | INF | 0
r4 | t22 | 35 | 55.3173 | INF | 0
r4 | t23 | 35 | 71401.9561 | INF | 0
r4 | t24 | 35 | 54.0297 | INF | 0

## Charge_s
TOC
Charge_s | (equation) | Niveau de charge Ã la source Ã (t)
n | c | d | t | Lowerbound | Value | Upperbound | Marginal
s | small | p1 | t1 | 0 | -7.1054e-15 | 0 | -0.0019267
s | small | p1 | t2 | 0 | 7.1054e-15 | 0 | -0.0015043
s | small | p1 | t3 | 0 | 0 | 0 | -0.0015
s | small | p1 | t4 | 0 | 0 | 0 | -0.0015289
s | small | p1 | t5 | 0 | 0 | 0 | -0.001563
s | small | p1 | t6 | 0 | 0 | 0 | -0.0016026
s | small | p1 | t7 | 0 | 0 | 0 | -0.0019044
s | small | p1 | t8 | 0 | 0 | 0 | -0.0016573
s | small | p1 | t9 | 0 | 7.1054e-15 | 0 | 0
s | small | p1 | t10 | 0 | 0 | 0 | 0
s | small | p1 | t11 | 0 | 0 | 0 | 0
s | small | p1 | t12 | 0 | 0 | 0 | 0
s | small | p1 | t13 | 0 | 0 | 0 | 0
s | small | p1 | t14 | 0 | 0 | 0 | 0
s | small | p1 | t15 | 0 | 0 | 0 | 0
s | small | p1 | t16 | 0 | 0 | 0 | 0
s | small | p1 | t17 | 0 | 0 | 0 | 0
s | small | p1 | t18 | 0 | 0 | 0 | 0
s | small | p1 | t19 | 0 | 0 | 0 | 0
s | small | p1 | t20 | 0 | 0 | 0 | 0
s | small | p1 | t21 | 0 | 0 | 0 | 0
s | small | p1 | t22 | 0 | 0 | 0 | 0
s | small | p1 | t23 | 0 | 0 | 0 | 0
s | small | p1 | t24 | 0 | 0 | 0 | 0
s | small | p2 | t1 | 0 | -7.1054e-15 | 0 | -0.0019267
s | small | p2 | t2 | 0 | 7.1054e-15 | 0 | -0.0015043
s | small | p2 | t3 | 0 | 0 | 0 | -0.0015
s | small | p2 | t4 | 0 | 0 | 0 | -0.0015289
s | small | p2 | t5 | 0 | 0 | 0 | -0.001563
s | small | p2 | t6 | 0 | 0 | 0 | -0.0016026
s | small | p2 | t7 | 0 | 0 | 0 | -0.0019044
s | small | p2 | t8 | 0 | 0 | 0 | -0.0016573
s | small | p2 | t9 | 0 | 7.1054e-15 | 0 | 0
s | small | p2 | t10 | 0 | 0 | 0 | 0
s | small | p2 | t11 | 0 | 0 | 0 | 0
s | small | p2 | t12 | 0 | 0 | 0 | 0
s | small | p2 | t13 | 0 | 0 | 0 | 0
s | small | p2 | t14 | 0 | 0 | 0 | 0
s | small | p2 | t15 | 0 | 0 | 0 | 0
s | small | p2 | t16 | 0 | 0 | 0 | 0
s | small | p2 | t17 | 0 | 0 | 0 | 0
s | small | p2 | t18 | 0 | 0 | 0 | 0
s | small | p2 | t19 | 0 | 0 | 0 | 0
s | small | p2 | t20 | 0 | 0 | 0 | 0
s | small | p2 | t21 | 0 | 0 | 0 | 0
s | small | p2 | t22 | 0 | 0 | 0 | 0
s | small | p2 | t23 | 0 | 0 | 0 | 0
s | small | p2 | t24 | 0 | 0 | 0 | 0
s | small | p3 | t1 | 0 | -7.1054e-15 | 0 | -0.0019267
s | small | p3 | t2 | 0 | 7.1054e-15 | 0 | -0.0015043
s | small | p3 | t3 | 0 | 0 | 0 | -0.0015
s | small | p3 | t4 | 0 | 0 | 0 | -0.0015289
s | small | p3 | t5 | 0 | 0 | 0 | -0.001563
s | small | p3 | t6 | 0 | 0 | 0 | -0.0016026
s | small | p3 | t7 | 0 | 0 | 0 | 0
s | small | p3 | t8 | 0 | 0 | 0 | -0.0016573
s | small | p3 | t9 | 0 | 0 | 0 | 0
s | small | p3 | t10 | 0 | 0 | 0 | 0
s | small | p3 | t11 | 0 | 0 | 0 | 0
s | small | p3 | t12 | 0 | 0 | 0 | 0
s | small | p3 | t13 | 0 | 0 | 0 | 0
s | small | p3 | t14 | 0 | 0 | 0 | 0
s | small | p3 | t15 | 0 | 0 | 0 | 0
s | small | p3 | t16 | 0 | 0 | 0 | 0
s | small | p3 | t17 | 0 | 0 | 0 | 0
s | small | p3 | t18 | 0 | 0 | 0 | 0
s | small | p3 | t19 | 0 | 0 | 0 | 0
s | small | p3 | t20 | 0 | 0 | 0 | 0
s | small | p3 | t21 | 0 | 0 | 0 | 0
s | small | p3 | t22 | 0 | 0 | 0 | 0
s | small | p3 | t23 | 0 | 0 | 0 | 0
s | small | p3 | t24 | 0 | 0 | 0 | 0

## d
TOC
d | (set) | pump number
dim1
p1
p2
p3

## Debit_s
TOC
Debit_s | (equation) | Equilibre des dÃ©bits Ã la source Ã (t)
t | Lowerbound | Value | Upperbound | Marginal
t1 | 0 | -7.1054e-15 | 0 | -0.003527
t2 | 0 | 1.4211e-14 | 0 | -0.0035274
t3 | 0 | 0 | 0 | -0.0035275
t4 | 0 | 1.4211e-14 | 0 | -0.0035274
t5 | 0 | 0 | 0 | -0.0035274
t6 | 0 | 0 | 0 | -0.0035273
t7 | 0 | 0 | 0 | -0.0035858
t8 | 0 | 0 | 0 | -0.0035273
t9 | 0 | 0 | 0 | -0.0044371
t10 | 0 | 0 | 0 | -0.0044371
t11 | 0 | 0 | 0 | -0.0044371
t12 | 0 | 0 | 0 | -0.0044371
t13 | 0 | 0 | 0 | -0.0044371
t14 | 0 | 0 | 0 | -0.0044371
t15 | 0 | 0 | 0 | -0.0044371
t16 | 0 | 0 | 0 | -0.0044371
t17 | 0 | 0 | 0 | -0.0044371
t18 | 0 | 0 | 0 | -0.0044371
t19 | 0 | 0 | 0 | -0.0044371
t20 | 0 | 0 | 0 | -0.0044371
t21 | 0 | 0 | 0 | -0.0044371
t22 | 0 | 7.1054e-15 | 0 | -0.0044371
t23 | 0 | 0 | 0 | -0.0044371
t24 | 0 | 0 | 0 | -0.0044371

## degree
TOC
degree | (set) | polynomial degrees
dim1
0
1
2

## demand
TOC
demand | (parameter) | demand in water at each reservoir and each hour (m^3)
r | t | Value
r1 | t1 | 9.83
r1 | t2 | 5
r1 | t3 | 3.67
r1 | t4 | 6.5
r1 | t5 | 5.67
r1 | t6 | 7.5
r1 | t7 | 3
r1 | t8 | 3
r1 | t9 | 2
r1 | t10 | 13.5
r1 | t11 | 14
r1 | t12 | 12
r1 | t13 | 12
r1 | t14 | 12
r1 | t15 | 12
r1 | t16 | 12.83
r1 | t17 | 15.67
r1 | t18 | 13.17
r1 | t19 | 12
r1 | t20 | 10
r1 | t21 | 11
r1 | t22 | 14
r1 | t23 | 19.5
r1 | t24 | 10.17
r2 | t1 | 44.83
r2 | t2 | 18
r2 | t8 | 45
r2 | t9 | 51.67
r2 | t13 | 15.17
r2 | t14 | 103.83
r2 | t15 | 34.83
r2 | t16 | 43.83
r2 | t17 | 54.83
r2 | t18 | 51.17
r2 | t19 | 53.5
r2 | t20 | 0.67
r2 | t23 | 1.5
r2 | t24 | 53.5
r3 | t1 | 14
r3 | t2 | 13.33
r3 | t3 | 25.5
r3 | t4 | 11
r3 | t5 | 10
r3 | t6 | 10
r3 | t7 | 11
r3 | t8 | 10.33
r3 | t9 | 30.17
r3 | t10 | 17.67
r3 | t11 | 36.33
r3 | t12 | 38
r3 | t13 | 35
r3 | t14 | 35.17
r3 | t15 | 19.33
r3 | t16 | 31.83
r3 | t17 | 23.5
r3 | t18 | 16.83
r3 | t19 | 28
r3 | t20 | 33.5
r3 | t21 | 39
r3 | t22 | 38.5
r3 | t23 | 32.67
r3 | t24 | 29.67
r4 | t1 | 1
r4 | t2 | 1
r4 | t3 | 8.5
r4 | t4 | 9.5
r4 | t5 | 4
r4 | t6 | 2.33
r4 | t8 | 1
r4 | t9 | 0.83
r4 | t10 | 2
r4 | t11 | 2
r4 | t12 | 2
r4 | t13 | 2
r4 | t14 | 2
r4 | t15 | 2
r4 | t16 | 3
r4 | t17 | 2
r4 | t18 | 1
r4 | t19 | 2
r4 | t20 | 3
r4 | t21 | 2
r4 | t22 | 3
r4 | t23 | 3
r4 | t24 | 2

## Elec_pompe
TOC
Elec_pompe | (equation) | Consommation Ã©lectrique de la pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 0 | INF | 0.02916
small | p1 | t2 | 0 | 0 | INF | 0.02916
small | p1 | t3 | 0 | 0 | INF | 0.02916
small | p1 | t4 | 0 | 0 | INF | 0.02916
small | p1 | t5 | 0 | 0 | INF | 0.02916
small | p1 | t6 | 0 | 0 | INF | 0.02916
small | p1 | t7 | 0 | 0 | INF | 0.02916
small | p1 | t8 | 0 | 0 | INF | 0.02916
small | p1 | t9 | 0 | 0 | INF | 0.04609
small | p1 | t10 | 0 | 0 | INF | 0.04609
small | p1 | t11 | 0 | 0 | INF | 0.04609
small | p1 | t12 | 0 | 0 | INF | 0.04609
small | p1 | t13 | 0 | 0 | INF | 0.04609
small | p1 | t14 | 0 | 0 | INF | 0.04609
small | p1 | t15 | 0 | 0 | INF | 0.04609
small | p1 | t16 | 0 | 0 | INF | 0.04609
small | p1 | t17 | 0 | 0 | INF | 0.04609
small | p1 | t18 | 0 | 0 | INF | 0.04609
small | p1 | t19 | 0 | 0 | INF | 0.04609
small | p1 | t20 | 0 | 0 | INF | 0.04609
small | p1 | t21 | 0 | 0 | INF | 0.04609
small | p1 | t22 | 0 | 0 | INF | 0.04609
small | p1 | t23 | 0 | 0 | INF | 0.04609
small | p1 | t24 | 0 | 0 | INF | 0.04609
small | p2 | t1 | 0 | 0 | INF | 0.02916
small | p2 | t2 | 0 | 0 | INF | 0.02916
small | p2 | t3 | 0 | 0 | INF | 0.02916
small | p2 | t4 | 0 | 0 | INF | 0.02916
small | p2 | t5 | 0 | 0 | INF | 0.02916
small | p2 | t6 | 0 | 0 | INF | 0.02916
small | p2 | t7 | 0 | 0 | INF | 0.02916
small | p2 | t8 | 0 | 0 | INF | 0.02916
small | p2 | t9 | 0 | 0 | INF | 0.04609
small | p2 | t10 | 0 | 0 | INF | 0.04609
small | p2 | t11 | 0 | 0 | INF | 0.04609
small | p2 | t12 | 0 | 0 | INF | 0.04609
small | p2 | t13 | 0 | 0 | INF | 0.04609
small | p2 | t14 | 0 | 0 | INF | 0.04609
small | p2 | t15 | 0 | 0 | INF | 0.04609
small | p2 | t16 | 0 | 0 | INF | 0.04609
small | p2 | t17 | 0 | 0 | INF | 0.04609
small | p2 | t18 | 0 | 0 | INF | 0.04609
small | p2 | t19 | 0 | 0 | INF | 0.04609
small | p2 | t20 | 0 | 0 | INF | 0.04609
small | p2 | t21 | 0 | 0 | INF | 0.04609
small | p2 | t22 | 0 | 0 | INF | 0.04609
small | p2 | t23 | 0 | 0 | INF | 0.04609
small | p2 | t24 | 0 | 0 | INF | 0.04609
small | p3 | t1 | 0 | 0 | INF | 0.02916
small | p3 | t2 | 0 | 0 | INF | 0.02916
small | p3 | t3 | 0 | 0 | INF | 0.02916
small | p3 | t4 | 0 | 0 | INF | 0.02916
small | p3 | t5 | 0 | 0 | INF | 0.02916
small | p3 | t6 | 0 | 0 | INF | 0.02916
small | p3 | t7 | 0 | 0 | INF | 0.02916
small | p3 | t8 | 0 | 0 | INF | 0.02916
small | p3 | t9 | 0 | 0 | INF | 0.04609
small | p3 | t10 | 0 | 0 | INF | 0.04609
small | p3 | t11 | 0 | 0 | INF | 0.04609
small | p3 | t12 | 0 | 0 | INF | 0.04609
small | p3 | t13 | 0 | 0 | INF | 0.04609
small | p3 | t14 | 0 | 0 | INF | 0.04609
small | p3 | t15 | 0 | 0 | INF | 0.04609
small | p3 | t16 | 0 | 0 | INF | 0.04609
small | p3 | t17 | 0 | 0 | INF | 0.04609
small | p3 | t18 | 0 | 0 | INF | 0.04609
small | p3 | t19 | 0 | 0 | INF | 0.04609
small | p3 | t20 | 0 | 0 | INF | 0.04609
small | p3 | t21 | 0 | 0 | INF | 0.04609
small | p3 | t22 | 0 | 0 | INF | 0.04609
small | p3 | t23 | 0 | 0 | INF | 0.04609
small | p3 | t24 | 0 | 0 | INF | 0.04609

## gamma
TOC
gamma | (parameter) | linear fit of the electrical power (kW) on the flow (m^3.h^-1) for each class of pumps
c | degree | Value
small | 0 | 3.811
small | 1 | 0.09627

## height
TOC
height | (parameter) | elevation at each node relative to s (m)
n | Value
j1 | 30
j2 | 30
r1 | 50
r2 | 50
r3 | 45
r4 | 35

## j
TOC
j | (set) | junctions
n
j1
j2

## k
TOC
k | (set) | pump type
c | d
small | p1
small | p2
small | p3

## l
TOC
l | (set) | pipes
n | n
s | j1
j1 | j2
j1 | r1
j1 | r4
j2 | r2
j2 | r3

## n
TOC
n | (set) | nodes
dim1
s
j1
j2
r1
r2
r3
r4

## night
TOC
night | (set) | night periods
t
t1
t2
t3
t4
t5
t6
t7
t8

## Noeud
TOC
Noeud | (equation) | Contrainte dÃ©bit noeud (n) Ã (t)
n | t | Lowerbound | Value | Upperbound | Marginal
j1 | t1 | 0 | 6.6613e-15 | 0 | -0.003584
j1 | t2 | 0 | 3.5527e-15 | 0 | -0.003584
j1 | t3 | 0 | -1.7764e-15 | 0 | -0.003584
j1 | t4 | 0 | 1.7764e-15 | 0 | -0.003584
j1 | t5 | 0 | 0 | 0 | -0.003584
j1 | t6 | 0 | -1.7764e-15 | 0 | -0.003584
j1 | t7 | 0 | -9.8765e-13 | 0 | -0.0036136
j1 | t8 | 0 | -4.4409e-15 | 0 | -0.003584
j1 | t9 | 0 | 0 | 0 | -0.0044371
j1 | t10 | 0 | 0 | 0 | -0.0044371
j1 | t11 | 0 | 0 | 0 | -0.0044371
j1 | t12 | 0 | 0 | 0 | -0.0044371
j1 | t13 | 0 | 0 | 0 | -0.0044371
j1 | t14 | 0 | 0 | 0 | -0.0044371
j1 | t15 | 0 | 0 | 0 | -0.0044371
j1 | t16 | 0 | 0 | 0 | -0.0044371
j1 | t17 | 0 | 0 | 0 | -0.0044371
j1 | t18 | 0 | 0 | 0 | -0.0044371
j1 | t19 | 0 | 0 | 0 | -0.0044371
j1 | t20 | 0 | 0 | 0 | -0.0044371
j1 | t21 | 0 | 0 | 0 | -0.0044371
j1 | t22 | 0 | 0 | 0 | -0.0044371
j1 | t23 | 0 | 0 | 0 | -0.0044371
j1 | t24 | 0 | 0 | 0 | -0.0044371
j2 | t1 | 0 | 0 | 0 | -0.0037831
j2 | t2 | 0 | -7.1054e-15 | 0 | -0.0037553
j2 | t3 | 0 | 0 | 0 | -0.0037553
j2 | t4 | 0 | 0 | 0 | -0.0037553
j2 | t5 | 0 | 0 | 0 | -0.0037553
j2 | t6 | 0 | 0 | 0 | -0.0037553
j2 | t7 | 0 | -7.1054e-15 | 0 | -0.0037553
j2 | t8 | 0 | -7.1054e-15 | 0 | -0.0037553
j2 | t9 | 0 | 3.5527e-15 | 0 | -0.0044371
j2 | t10 | 0 | 0 | 0 | -0.0044371
j2 | t11 | 0 | 0 | 0 | -0.0044371
j2 | t12 | 0 | 0 | 0 | -0.0044371
j2 | t13 | 0 | 0 | 0 | -0.0044371
j2 | t14 | 0 | 0 | 0 | -0.0044371
j2 | t15 | 0 | 0 | 0 | -0.0044371
j2 | t16 | 0 | 0 | 0 | -0.0044371
j2 | t17 | 0 | 0 | 0 | -0.0044371
j2 | t18 | 0 | 0 | 0 | -0.0044371
j2 | t19 | 0 | -1.7764e-15 | 0 | -0.0044371
j2 | t20 | 0 | 0 | 0 | -0.0044371
j2 | t21 | 0 | 0 | 0 | -0.0044371
j2 | t22 | 0 | -1.4211e-14 | 0 | -0.0044371
j2 | t23 | 0 | 0 | 0 | -0.0044371
j2 | t24 | 0 | -7.1054e-15 | 0 | -0.0044371

## Ordre_pompe
TOC
Ordre_pompe | (equation) | Les pompes s allument dans l ordre
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | -INF | 0 | 0 | 0
small | p1 | t2 | -INF | 0 | 0 | 0
small | p1 | t3 | -INF | 0 | 0 | 0
small | p1 | t4 | -INF | 0 | 0 | 0
small | p1 | t5 | -INF | 0 | 0 | 0
small | p1 | t6 | -INF | 0 | 0 | 0
small | p1 | t7 | -INF | 0 | 0 | 0
small | p1 | t8 | -INF | 0 | 0 | 0
small | p1 | t9 | -INF | 0 | 0 | 0
small | p1 | t10 | -INF | -1 | 0 | 0
small | p1 | t11 | -INF | -1 | 0 | 0
small | p1 | t12 | -INF | 0 | 0 | 0
small | p1 | t13 | -INF | 0 | 0 | 0
small | p1 | t14 | -INF | -1 | 0 | 0
small | p1 | t15 | -INF | 0 | 0 | 0
small | p1 | t16 | -INF | 0 | 0 | 0
small | p1 | t17 | -INF | 0 | 0 | 0
small | p1 | t18 | -INF | -1 | 0 | 0
small | p1 | t19 | -INF | -1 | 0 | 0
small | p1 | t20 | -INF | 0 | 0 | 0
small | p1 | t21 | -INF | -1 | 0 | 0
small | p1 | t22 | -INF | 0 | 0 | 0
small | p1 | t23 | -INF | 0 | 0 | 0
small | p1 | t24 | -INF | -1 | 0 | 0
small | p2 | t1 | -INF | 0 | 0 | 0
small | p2 | t2 | -INF | 0 | 0 | 0
small | p2 | t3 | -INF | 0 | 0 | 0
small | p2 | t4 | -INF | 0 | 0 | 0
small | p2 | t5 | -INF | 0 | 0 | 0
small | p2 | t6 | -INF | 0 | 0 | 0
small | p2 | t7 | -INF | -1 | 0 | 0
small | p2 | t8 | -INF | 0 | 0 | 0
small | p2 | t9 | -INF | -1 | 0 | 0
small | p2 | t10 | -INF | 0 | 0 | 0
small | p2 | t11 | -INF | 0 | 0 | 0
small | p2 | t12 | -INF | 0 | 0 | 0
small | p2 | t13 | -INF | 0 | 0 | 0
small | p2 | t14 | -INF | 0 | 0 | 0
small | p2 | t15 | -INF | -1 | 0 | 0
small | p2 | t16 | -INF | -1 | 0 | 0
small | p2 | t17 | -INF | -1 | 0 | 0
small | p2 | t18 | -INF | 0 | 0 | 0
small | p2 | t19 | -INF | 0 | 0 | 0
small | p2 | t20 | -INF | 0 | 0 | 0
small | p2 | t21 | -INF | 0 | 0 | 0
small | p2 | t22 | -INF | 0 | 0 | 0
small | p2 | t23 | -INF | 0 | 0 | 0
small | p2 | t24 | -INF | 0 | 0 | 0
small | p3 | t1 | -INF | -1 | 0 | 0
small | p3 | t2 | -INF | -1 | 0 | 0
small | p3 | t3 | -INF | -1 | 0 | 0
small | p3 | t4 | -INF | -1 | 0 | 0
small | p3 | t5 | -INF | -1 | 0 | 0
small | p3 | t6 | -INF | -1 | 0 | 0
small | p3 | t7 | -INF | 0 | 0 | 0
small | p3 | t8 | -INF | -1 | 0 | 0
small | p3 | t9 | -INF | 0 | 0 | 0
small | p3 | t10 | -INF | 0 | 0 | 0
small | p3 | t11 | -INF | 0 | 0 | 0
small | p3 | t12 | -INF | 0 | 0 | 0
small | p3 | t13 | -INF | -1 | 0 | 0
small | p3 | t14 | -INF | 0 | 0 | 0
small | p3 | t15 | -INF | 0 | 0 | 0
small | p3 | t16 | -INF | 0 | 0 | 0
small | p3 | t17 | -INF | 0 | 0 | 0
small | p3 | t18 | -INF | 0 | 0 | 0
small | p3 | t19 | -INF | 0 | 0 | 0
small | p3 | t20 | -INF | 0 | 0 | 0
small | p3 | t21 | -INF | 0 | 0 | 0
small | p3 | t22 | -INF | -1 | 0 | 0
small | p3 | t23 | -INF | 0 | 0 | 0
small | p3 | t24 | -INF | 0 | 0 | 0

## Perte_charge
TOC
Perte_charge | (equation) | Perte charge (n n) Ã (t)
n | n | t | Lowerbound | Value | Upperbound | Marginal
s | j1 | t1 | 0 | 1.4433e-15 | 0 | 0.00578
s | j1 | t2 | 0 | 2.9976e-15 | 0 | 0.0045128
s | j1 | t3 | 0 | 2.4425e-15 | 0 | 0.0044999
s | j1 | t4 | 0 | 2.8866e-15 | 0 | 0.0045867
s | j1 | t5 | 0 | -8.5487e-15 | 0 | 0.004689
s | j1 | t6 | 0 | 0 | 0 | 0.0048079
s | j1 | t7 | 0 | 0 | 0 | 0.0038089
s | j1 | t8 | 0 | 0 | 0 | 0.0049719
s | j1 | t9 | 0 | -2.1094e-15 | 0 | 0
s | j1 | t10 | 0 | 1.027e-15 | 0 | 0
s | j1 | t11 | 0 | 2.9005e-15 | 0 | 0
s | j1 | t12 | 0 | 0 | 0 | 0
s | j1 | t13 | 0 | -2.5535e-15 | 0 | 0
s | j1 | t14 | 0 | 0 | 0 | 0
s | j1 | t15 | 0 | 2.3037e-15 | 0 | 0
s | j1 | t16 | 0 | 3.3029e-15 | 0 | 0
s | j1 | t17 | 0 | 5.2458e-15 | 0 | 0
s | j1 | t18 | 0 | 1.5404e-15 | 0 | 0
s | j1 | t19 | 0 | -1.027e-15 | 0 | 0
s | j1 | t20 | 0 | 0 | 0 | 0
s | j1 | t21 | 0 | 1.2212e-15 | 0 | 0
s | j1 | t22 | 0 | -2.7756e-15 | 0 | 0
s | j1 | t23 | 0 | 0 | 0 | 0
s | j1 | t24 | 0 | -2.5813e-15 | 0 | 0
j1 | j2 | t1 | 0 | 1.9984e-15 | 0 | 0.00578
j1 | j2 | t2 | 0 | 4.2188e-15 | 0 | 0.0045128
j1 | j2 | t3 | 0 | 2.8866e-15 | 0 | 0.0044999
j1 | j2 | t4 | 0 | 2.4425e-15 | 0 | 0.0045867
j1 | j2 | t5 | 0 | 0 | 0 | 0.004689
j1 | j2 | t6 | 0 | 2.8866e-15 | 0 | 0.0048079
j1 | j2 | t7 | 0 | 3.5527e-15 | 0 | 0.0038089
j1 | j2 | t8 | 0 | 2.2204e-15 | 0 | 0.0049719
j1 | j2 | t9 | 0 | 1.1102e-15 | 0 | 0
j1 | j2 | t10 | 0 | -2.1094e-15 | 0 | 0
j1 | j2 | t11 | 0 | -1.2212e-15 | 0 | 0
j1 | j2 | t12 | 0 | 0 | 0 | 0
j1 | j2 | t13 | 0 | 3.9968e-15 | 0 | 0
j1 | j2 | t14 | 0 | -1.6098e-15 | 0 | 0
j1 | j2 | t15 | 0 | 0 | 0 | 0
j1 | j2 | t16 | 0 | -1.9984e-15 | 0 | 0
j1 | j2 | t17 | 0 | -2.6645e-15 | 0 | 0
j1 | j2 | t18 | 0 | -6.8279e-15 | 0 | 0
j1 | j2 | t19 | 0 | 3.3307e-15 | 0 | 0
j1 | j2 | t20 | 0 | 0 | 0 | 0
j1 | j2 | t21 | 0 | -1.1657e-15 | 0 | 0
j1 | j2 | t22 | 0 | -5.7732e-15 | 0 | 0
j1 | j2 | t23 | 0 | 0 | 0 | 0
j1 | j2 | t24 | 0 | 1.0547e-15 | 0 | 0
j1 | r1 | t1 | 0 | 4.1078e-15 | 0 | 0
j1 | r1 | t2 | 0 | -2.4425e-15 | 0 | 0
j1 | r1 | t3 | 0 | -1.5543e-15 | 0 | 0
j1 | r1 | t4 | 0 | -3.9968e-15 | 0 | 0
j1 | r1 | t5 | 0 | 5.107e-15 | 0 | 0
j1 | r1 | t6 | 0 | -3.7748e-15 | 0 | 0
j1 | r1 | t7 | 0 | 0 | 0 | 0
j1 | r1 | t8 | 0 | -3.3307e-15 | 0 | 0
j1 | r1 | t9 | 0 | 0 | 0 | 0
j1 | r1 | t10 | 0 | 0 | 0 | 0
j1 | r1 | t11 | 0 | 0 | 0 | 0
j1 | r1 | t12 | 0 | 0 | 0 | 0
j1 | r1 | t13 | 0 | 0 | 0 | 0
j1 | r1 | t14 | 0 | 0 | 0 | 0
j1 | r1 | t15 | 0 | 0 | 0 | 0
j1 | r1 | t16 | 0 | 0 | 0 | 0
j1 | r1 | t17 | 0 | 0 | 0 | 0
j1 | r1 | t18 | 0 | 0 | 0 | 0
j1 | r1 | t19 | 0 | 0 | 0 | 0
j1 | r1 | t20 | 0 | 0 | 0 | 0
j1 | r1 | t21 | 0 | 0 | 0 | 0
j1 | r1 | t22 | 0 | 0 | 0 | 0
j1 | r1 | t23 | 0 | 0 | 0 | 0
j1 | r1 | t24 | 0 | 0 | 0 | 0
j1 | r4 | t1 | 0 | 3.4417e-15 | 0 | 0
j1 | r4 | t2 | 0 | 5.5234e-15 | 0 | 0
j1 | r4 | t3 | 0 | 0 | 0 | 0
j1 | r4 | t4 | 0 | 3.5388e-15 | 0 | 0
j1 | r4 | t5 | 0 | 2.1511e-15 | 0 | 0
j1 | r4 | t6 | 0 | 0 | 0 | 0
j1 | r4 | t7 | 0 | 0 | 0 | 0
j1 | r4 | t8 | 0 | 3.7886e-15 | 0 | 0
j1 | r4 | t9 | 0 | 0 | 0 | 0
j1 | r4 | t10 | 0 | 0 | 0 | 0
j1 | r4 | t11 | 0 | 0 | 0 | 0
j1 | r4 | t12 | 0 | 0 | 0 | 0
j1 | r4 | t13 | 0 | 0 | 0 | 0
j1 | r4 | t14 | 0 | 0 | 0 | 0
j1 | r4 | t15 | 0 | 0 | 0 | 0
j1 | r4 | t16 | 0 | 0 | 0 | 0
j1 | r4 | t17 | 0 | 0 | 0 | 0
j1 | r4 | t18 | 0 | 0 | 0 | 0
j1 | r4 | t19 | 0 | 0 | 0 | 0
j1 | r4 | t20 | 0 | 0 | 0 | 0
j1 | r4 | t21 | 0 | 0 | 0 | 0
j1 | r4 | t22 | 0 | 0 | 0 | 0
j1 | r4 | t23 | 0 | 0 | 0 | 0
j1 | r4 | t24 | 0 | 0 | 0 | 0
j2 | r2 | t1 | 0 | 4.4409e-15 | 0 | 0.00578
j2 | r2 | t2 | 0 | -3.7748e-15 | 0 | 0.0045128
j2 | r2 | t3 | 0 | -4.5519e-15 | 0 | 0.0044999
j2 | r2 | t4 | 0 | 0 | 0 | 0.0045867
j2 | r2 | t5 | 0 | 0 | 0 | 0.004689
j2 | r2 | t6 | 0 | 3.3307e-15 | 0 | 0.0048079
j2 | r2 | t7 | 0 | -6.2172e-15 | 0 | 0.0038089
j2 | r2 | t8 | 0 | -2.4425e-15 | 0 | 0.0049719
j2 | r2 | t9 | 0 | -2.2204e-15 | 0 | 0
j2 | r2 | t10 | 0 | 0 | 0 | 0
j2 | r2 | t11 | 0 | 2.6645e-15 | 0 | 0
j2 | r2 | t12 | 0 | 0 | 0 | 0
j2 | r2 | t13 | 0 | 2.6645e-15 | 0 | 0
j2 | r2 | t14 | 0 | 1.7764e-15 | 0 | 0
j2 | r2 | t15 | 0 | -2.2204e-15 | 0 | 0
j2 | r2 | t16 | 0 | 2.6645e-15 | 0 | 0
j2 | r2 | t17 | 0 | 0 | 0 | 0
j2 | r2 | t18 | 0 | 2.6645e-15 | 0 | 0
j2 | r2 | t19 | 0 | 0 | 0 | 0
j2 | r2 | t20 | 0 | 0 | 0 | 0
j2 | r2 | t21 | 0 | 0 | 0 | 0
j2 | r2 | t22 | 0 | -1.9984e-15 | 0 | 0
j2 | r2 | t23 | 0 | 0 | 0 | 0
j2 | r2 | t24 | 0 | 1.9984e-15 | 0 | 0
j2 | r3 | t1 | 0 | -2.5535e-15 | 0 | 0
j2 | r3 | t2 | 0 | 0 | 0 | 0
j2 | r3 | t3 | 0 | -2.6645e-15 | 0 | 0
j2 | r3 | t4 | 0 | 0 | 0 | 0
j2 | r3 | t5 | 0 | 7.1054e-15 | 0 | 0
j2 | r3 | t6 | 0 | 1.3323e-15 | 0 | 0
j2 | r3 | t7 | 0 | -3.9968e-15 | 0 | 0
j2 | r3 | t8 | 0 | -2.6645e-15 | 0 | 0
j2 | r3 | t9 | 0 | -4.996e-15 | 0 | 0
j2 | r3 | t10 | 0 | 1.4849e-15 | 0 | 0
j2 | r3 | t11 | 0 | 6.5503e-15 | 0 | 0
j2 | r3 | t12 | 0 | 0 | 0 | 0
j2 | r3 | t13 | 0 | -5.3291e-15 | 0 | 0
j2 | r3 | t14 | 0 | -4.2744e-15 | 0 | 0
j2 | r3 | t15 | 0 | 2.6645e-15 | 0 | 0
j2 | r3 | t16 | 0 | -4.4409e-15 | 0 | 0
j2 | r3 | t17 | 0 | -1.7764e-15 | 0 | 0
j2 | r3 | t18 | 0 | 5.8634e-15 | 0 | 0
j2 | r3 | t19 | 0 | -4.1911e-15 | 0 | 0
j2 | r3 | t20 | 0 | 0 | 0 | 0
j2 | r3 | t21 | 0 | -4.2188e-15 | 0 | 0
j2 | r3 | t22 | 0 | 2.6645e-15 | 0 | 0
j2 | r3 | t23 | 0 | 0 | 0 | 0
j2 | r3 | t24 | 0 | 6.3283e-15 | 0 | 0

## phi
TOC
phi | (parameter) | quadratic fit of the pressure loss (m) on the flow (m^3.h^-1) for each pipe
n | n | degree | Value
s | j1 | 1 | 0.0003819
s | j1 | 2 | 5.425e-05
j1 | j2 | 1 | 0.0014958
j1 | j2 | 2 | 0.00027996
j1 | r1 | 1 | 0.0034044
j1 | r1 | 2 | 0.00089535
j1 | r4 | 1 | 0.0017022
j1 | r4 | 2 | 0.00044768
j2 | r2 | 1 | 0.0085109
j2 | r2 | 2 | 0.0022384
j2 | r3 | 1 | 0.0051065
j2 | r3 | 2 | 0.001343

## Ppompe
TOC
Ppompe | (variable) | Puissance Ã©lectrique de la pompe (k) Ã (t) en (kW)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 6.617 | INF | 0
small | p1 | t2 | 0 | 7.4072 | INF | 0
small | p1 | t3 | 0 | 7.4175 | INF | 0
small | p1 | t4 | 0 | 7.3491 | INF | 0
small | p1 | t5 | 0 | 7.2718 | INF | 0
small | p1 | t6 | 0 | 7.1859 | INF | 0
small | p1 | t7 | 0 | 6.8816 | INF | 0
small | p1 | t8 | 0 | 7.0744 | INF | 0
small | p1 | t9 | 0 | 6.6903 | INF | 0
small | p1 | t10 | 0 | 7.0035 | INF | 0
small | p1 | t11 | 0 | 6.97 | INF | 0
small | p1 | t12 | 0 | 0 | INF | 0
small | p1 | t13 | 0 | 6.5518 | INF | 0
small | p1 | t14 | 0 | 7.0606 | INF | 0
small | p1 | t15 | 0 | 6.8252 | INF | 0
small | p1 | t16 | 0 | 6.819 | INF | 0
small | p1 | t17 | 0 | 6.8233 | INF | 0
small | p1 | t18 | 0 | 7.1216 | INF | 0
small | p1 | t19 | 0 | 7.1408 | INF | 0
small | p1 | t20 | 0 | 0 | INF | 0
small | p1 | t21 | 0 | 7.2137 | INF | 0
small | p1 | t22 | 0 | 6.7471 | INF | 0
small | p1 | t23 | 0 | 0 | INF | 0
small | p1 | t24 | 0 | 7.1526 | INF | 0
small | p2 | t1 | 0 | 6.617 | INF | 0
small | p2 | t2 | 0 | 7.4072 | INF | 0
small | p2 | t3 | 0 | 7.4175 | INF | 0
small | p2 | t4 | 0 | 7.3491 | INF | 0
small | p2 | t5 | 0 | 7.2718 | INF | 0
small | p2 | t6 | 0 | 7.1859 | INF | 0
small | p2 | t7 | 0 | 6.8816 | INF | 0
small | p2 | t8 | 0 | 7.0744 | INF | 0
small | p2 | t9 | 0 | 6.6903 | INF | 0
small | p2 | t10 | 0 | 0 | INF | 0
small | p2 | t11 | 0 | 0 | INF | 0
small | p2 | t12 | 0 | 0 | INF | 0
small | p2 | t13 | 0 | 6.5518 | INF | 0
small | p2 | t14 | 0 | 0 | INF | 0
small | p2 | t15 | 0 | 6.8252 | INF | 0
small | p2 | t16 | 0 | 6.819 | INF | 0
small | p2 | t17 | 0 | 6.8233 | INF | 0
small | p2 | t18 | 0 | 0 | INF | 0
small | p2 | t19 | 0 | 0 | INF | 0
small | p2 | t20 | 0 | 0 | INF | 0
small | p2 | t21 | 0 | 0 | INF | 0
small | p2 | t22 | 0 | 6.7471 | INF | 0
small | p2 | t23 | 0 | 0 | INF | 0
small | p2 | t24 | 0 | 0 | INF | 0
small | p3 | t1 | 0 | 6.617 | INF | 0
small | p3 | t2 | 0 | 7.4072 | INF | 0
small | p3 | t3 | 0 | 7.4175 | INF | 0
small | p3 | t4 | 0 | 7.3491 | INF | 0
small | p3 | t5 | 0 | 7.2718 | INF | 0
small | p3 | t6 | 0 | 7.1859 | INF | 0
small | p3 | t7 | 0 | 0 | INF | 0
small | p3 | t8 | 0 | 7.0744 | INF | 0
small | p3 | t9 | 0 | 0 | INF | 0
small | p3 | t10 | 0 | 0 | INF | 0
small | p3 | t11 | 0 | 0 | INF | 0
small | p3 | t12 | 0 | 0 | INF | 0
small | p3 | t13 | 0 | 6.5518 | INF | 0
small | p3 | t14 | 0 | 0 | INF | 0
small | p3 | t15 | 0 | 0 | INF | 0
small | p3 | t16 | 0 | 0 | INF | 0
small | p3 | t17 | 0 | 0 | INF | 0
small | p3 | t18 | 0 | 0 | INF | 0
small | p3 | t19 | 0 | 0 | INF | 0
small | p3 | t20 | 0 | 0 | INF | 0
small | p3 | t21 | 0 | 0 | INF | 0
small | p3 | t22 | 0 | 6.7471 | INF | 0
small | p3 | t23 | 0 | 0 | INF | 0
small | p3 | t24 | 0 | 0 | INF | 0

## psi
TOC
psi | (parameter) | quadratic fit of the service pressure (m) on the flow (m^3.h^-1) for each class of pumps
c | degree | Value
small | 0 | 63.0796
small | 2 | -0.0064085

## Qpipe
TOC
Qpipe | (variable) | DÃ©bit dans le tuyau (l) Ã (t)
n | n | t | Lowerbound | Value | Upperbound | Marginal
s | j1 | t1 | 0 | 87.4414 | INF | 0
s | j1 | t2 | 0 | 112.0651 | INF | 0
s | j1 | t3 | 0 | 112.388 | INF | 0
s | j1 | t4 | 0 | 110.256 | INF | 0
s | j1 | t5 | 0 | 107.8454 | INF | 0
s | j1 | t6 | 0 | 105.171 | INF | 0
s | j1 | t7 | 0 | 63.7918 | INF | 0
s | j1 | t8 | 0 | 101.6955 | INF | 0
s | j1 | t9 | 0 | 59.816 | INF | 0
s | j1 | t10 | 0 | 33.1622 | INF | 0
s | j1 | t11 | 0 | 32.8142 | INF | 0
s | j1 | t12 | 0 | 0 | INF | 0
s | j1 | t13 | 0 | 85.4087 | INF | 0
s | j1 | t14 | 0 | 33.7552 | INF | 0
s | j1 | t15 | 0 | 62.6198 | INF | 0
s | j1 | t16 | 0 | 62.4915 | INF | 0
s | j1 | t17 | 0 | 62.5811 | INF | 0
s | j1 | t18 | 0 | 34.3889 | INF | 0
s | j1 | t19 | 0 | 34.588 | INF | 0
s | j1 | t20 | 0 | 0 | INF | 0
s | j1 | t21 | 0 | 35.3451 | INF | 0
s | j1 | t22 | 0 | 91.4941 | INF | 0
s | j1 | t23 | 0 | 0 | INF | 0
s | j1 | t24 | 0 | 34.7109 | INF | 0
j1 | j2 | t1 | 0 | 58.83 | INF | 0
j1 | j2 | t2 | 0 | 65.1211 | INF | 0
j1 | j2 | t3 | 0 | 65.316 | INF | 0
j1 | j2 | t4 | 0 | 64.0292 | INF | 0
j1 | j2 | t5 | 0 | 62.5742 | INF | 0
j1 | j2 | t6 | 0 | 60.9599 | INF | 0
j1 | j2 | t7 | 0 | 63.7918 | INF | 0
j1 | j2 | t8 | 0 | 58.8621 | INF | 0
j1 | j2 | t9 | 0 | 59.816 | INF | 0
j1 | j2 | t10 | 0 | 33.1622 | INF | 0
j1 | j2 | t11 | 0 | 32.8142 | INF | 0
j1 | j2 | t12 | 0 | 0 | INF | 0
j1 | j2 | t13 | 0 | 85.4087 | INF | 0
j1 | j2 | t14 | 0 | 33.7552 | INF | 0
j1 | j2 | t15 | 0 | 62.6198 | INF | 0
j1 | j2 | t16 | 0 | 62.4915 | INF | 0
j1 | j2 | t17 | 0 | 62.5811 | INF | 0
j1 | j2 | t18 | 0 | 34.3889 | INF | 0
j1 | j2 | t19 | 0 | 34.588 | INF | 0
j1 | j2 | t20 | 0 | 0 | INF | 0
j1 | j2 | t21 | 0 | 35.3451 | INF | 0
j1 | j2 | t22 | 0 | 91.4941 | INF | 0
j1 | j2 | t23 | 0 | 0 | INF | 0
j1 | j2 | t24 | 0 | 34.7109 | INF | 0
j1 | r1 | t1 | 0 | 26.8107 | INF | 0
j1 | r1 | t2 | 0 | 39.1075 | INF | 0
j1 | r1 | t3 | 0 | 32.9961 | INF | 0
j1 | r1 | t4 | 0 | 33.4721 | INF | 0
j1 | r1 | t5 | 0 | 34.233 | INF | 0
j1 | r1 | t6 | 0 | 35.5702 | INF | 0
j1 | r1 | t7 | 0 | 0 | INF | 2.9556e-05
j1 | r1 | t8 | 0 | 37.8204 | INF | 0
j1 | r1 | t9 | 0 | 0 | INF | 0.00085304
j1 | r1 | t10 | 0 | 0 | INF | 0.00085304
j1 | r1 | t11 | 0 | 0 | INF | 0.00085304
j1 | r1 | t12 | 0 | 0 | INF | 0.00085304
j1 | r1 | t13 | 0 | 0 | INF | 0.00085304
j1 | r1 | t14 | 0 | 0 | INF | 0.00085304
j1 | r1 | t15 | 0 | 0 | INF | 0.00085304
j1 | r1 | t16 | 0 | 0 | INF | 0.00085304
j1 | r1 | t17 | 0 | 0 | INF | 0.00085304
j1 | r1 | t18 | 0 | 0 | INF | 0.00085304
j1 | r1 | t19 | 0 | 0 | INF | 0.00085304
j1 | r1 | t20 | 0 | 0 | INF | 0.00085304
j1 | r1 | t21 | 0 | 0 | INF | 0.00085304
j1 | r1 | t22 | 0 | 0 | INF | 0.00085304
j1 | r1 | t23 | 0 | 0 | INF | 0.00085304
j1 | r1 | t24 | 0 | 0 | INF | 0.00085304
j1 | r4 | t1 | 0 | 1.8007 | INF | 0
j1 | r4 | t2 | 0 | 7.8365 | INF | 0
j1 | r4 | t3 | 0 | 14.0758 | INF | 0
j1 | r4 | t4 | 0 | 12.7548 | INF | 0
j1 | r4 | t5 | 0 | 11.0383 | INF | 0
j1 | r4 | t6 | 0 | 8.6409 | INF | 0
j1 | r4 | t7 | 0 | 0 | INF | 2.9556e-05
j1 | r4 | t8 | 0 | 5.0131 | INF | 0
j1 | r4 | t9 | 0 | 0 | INF | 0.00085304
j1 | r4 | t10 | 0 | 0 | INF | 0.00085304
j1 | r4 | t11 | 0 | 0 | INF | 0.00085304
j1 | r4 | t12 | 0 | 0 | INF | 0.00085304
j1 | r4 | t13 | 0 | 0 | INF | 0.00085304
j1 | r4 | t14 | 0 | 0 | INF | 0.00085304
j1 | r4 | t15 | 0 | 0 | INF | 0.00085304
j1 | r4 | t16 | 0 | 0 | INF | 0.00085304
j1 | r4 | t17 | 0 | 0 | INF | 0.00085304
j1 | r4 | t18 | 0 | 0 | INF | 0.00085304
j1 | r4 | t19 | 0 | 0 | INF | 0.00085304
j1 | r4 | t20 | 0 | 0 | INF | 0.00085304
j1 | r4 | t21 | 0 | 0 | INF | 0.00085304
j1 | r4 | t22 | 0 | 0 | INF | 0.00085304
j1 | r4 | t23 | 0 | 0 | INF | 0.00085304
j1 | r4 | t24 | 0 | 0 | INF | 0.00085304
j2 | r2 | t1 | 0 | 44.83 | INF | 0
j2 | r2 | t2 | 0 | 18 | INF | 0
j2 | r2 | t3 | 0 | 14.9611 | INF | 0
j2 | r2 | t4 | 0 | 17.3813 | INF | 0
j2 | r2 | t5 | 0 | 19.6919 | INF | 0
j2 | r2 | t6 | 0 | 21.8808 | INF | 0
j2 | r2 | t7 | 0 | 31.6434 | INF | 0
j2 | r2 | t8 | 0 | 25.9359 | INF | 0
j2 | r2 | t9 | 0 | 37.7802 | INF | 0
j2 | r2 | t10 | 0 | 30.0922 | INF | 0
j2 | r2 | t11 | 0 | 29.352 | INF | 0
j2 | r2 | t12 | 0 | 0 | INF | 0
j2 | r2 | t13 | 0 | 28.0071 | INF | 0
j2 | r2 | t14 | 0 | 30.8899 | INF | 0
j2 | r2 | t15 | 0 | 34.1198 | INF | 0
j2 | r2 | t16 | 0 | 34.9758 | INF | 0
j2 | r2 | t17 | 0 | 36.1031 | INF | 0
j2 | r2 | t18 | 0 | 31.9816 | INF | 0
j2 | r2 | t19 | 0 | 32.1124 | INF | 0
j2 | r2 | t20 | 0 | 0 | INF | 0
j2 | r2 | t21 | 0 | 11.1983 | INF | 0
j2 | r2 | t22 | 0 | 25.4089 | INF | 0
j2 | r2 | t23 | 0 | 0 | INF | 0
j2 | r2 | t24 | 0 | 15.9845 | INF | 0
j2 | r3 | t1 | 0 | 14 | INF | 0
j2 | r3 | t2 | 0 | 47.1211 | INF | 0
j2 | r3 | t3 | 0 | 50.3549 | INF | 0
j2 | r3 | t4 | 0 | 46.6479 | INF | 0
j2 | r3 | t5 | 0 | 42.8823 | INF | 0
j2 | r3 | t6 | 0 | 39.0791 | INF | 0
j2 | r3 | t7 | 0 | 32.1484 | INF | 0
j2 | r3 | t8 | 0 | 32.9262 | INF | 0
j2 | r3 | t9 | 0 | 22.0358 | INF | 0
j2 | r3 | t10 | 0 | 3.07 | INF | 0
j2 | r3 | t11 | 0 | 3.4622 | INF | 0
j2 | r3 | t12 | 0 | 0 | INF | 0
j2 | r3 | t13 | 0 | 57.4016 | INF | 0
j2 | r3 | t14 | 0 | 2.8653 | INF | 0
j2 | r3 | t15 | 0 | 28.5 | INF | 0
j2 | r3 | t16 | 0 | 27.5157 | INF | 0
j2 | r3 | t17 | 0 | 26.4779 | INF | 0
j2 | r3 | t18 | 0 | 2.4073 | INF | 0
j2 | r3 | t19 | 0 | 2.4756 | INF | 0
j2 | r3 | t20 | 0 | 0 | INF | 0
j2 | r3 | t21 | 0 | 24.1468 | INF | 0
j2 | r3 | t22 | 0 | 66.0852 | INF | 0
j2 | r3 | t23 | 0 | 0 | INF | 0
j2 | r3 | t24 | 0 | 18.7265 | INF | 0

## Qpompe
TOC
Qpompe | (variable) | DÃ©bit de la pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 29.1471 | INF | 0
small | p1 | t2 | 0 | 37.355 | INF | 0
small | p1 | t3 | 0 | 37.4627 | INF | 0
small | p1 | t4 | 0 | 36.752 | INF | 0
small | p1 | t5 | 0 | 35.9485 | INF | 0
small | p1 | t6 | 0 | 35.057 | INF | 0
small | p1 | t7 | 0 | 31.8959 | INF | 0
small | p1 | t8 | 0 | 33.8985 | INF | 0
small | p1 | t9 | 0 | 29.908 | INF | 0
small | p1 | t10 | 0 | 33.1622 | INF | 0
small | p1 | t11 | 0 | 32.8142 | INF | 0
small | p1 | t12 | 0 | 0 | INF | 0
small | p1 | t13 | 0 | 28.4696 | INF | 0
small | p1 | t14 | 0 | 33.7552 | INF | 0
small | p1 | t15 | 0 | 31.3099 | INF | 0
small | p1 | t16 | 0 | 31.2457 | INF | 0
small | p1 | t17 | 0 | 31.2905 | INF | 0
small | p1 | t18 | 0 | 34.3889 | INF | 0
small | p1 | t19 | 0 | 34.588 | INF | 0
small | p1 | t20 | 0 | 0 | INF | 0
small | p1 | t21 | 0 | 35.3451 | INF | 0
small | p1 | t22 | 0 | 30.498 | INF | 0
small | p1 | t23 | 0 | 0 | INF | 0
small | p1 | t24 | 0 | 34.7109 | INF | 0
small | p2 | t1 | 0 | 29.1471 | INF | 0
small | p2 | t2 | 0 | 37.355 | INF | 0
small | p2 | t3 | 0 | 37.4627 | INF | 0
small | p2 | t4 | 0 | 36.752 | INF | 0
small | p2 | t5 | 0 | 35.9485 | INF | 0
small | p2 | t6 | 0 | 35.057 | INF | 0
small | p2 | t7 | 0 | 31.8959 | INF | 0
small | p2 | t8 | 0 | 33.8985 | INF | 0
small | p2 | t9 | 0 | 29.908 | INF | 0
small | p2 | t10 | 0 | 0 | INF | 0
small | p2 | t11 | 0 | 0 | INF | 0
small | p2 | t12 | 0 | 0 | INF | 0
small | p2 | t13 | 0 | 28.4696 | INF | 0
small | p2 | t14 | 0 | 0 | INF | 0
small | p2 | t15 | 0 | 31.3099 | INF | 0
small | p2 | t16 | 0 | 31.2457 | INF | 0
small | p2 | t17 | 0 | 31.2905 | INF | 0
small | p2 | t18 | 0 | 0 | INF | 0
small | p2 | t19 | 0 | 0 | INF | 0
small | p2 | t20 | 0 | 0 | INF | 0
small | p2 | t21 | 0 | 0 | INF | 0
small | p2 | t22 | 0 | 30.498 | INF | 0
small | p2 | t23 | 0 | 0 | INF | 0
small | p2 | t24 | 0 | 0 | INF | 0
small | p3 | t1 | 0 | 29.1471 | INF | 0
small | p3 | t2 | 0 | 37.355 | INF | 0
small | p3 | t3 | 0 | 37.4627 | INF | 0
small | p3 | t4 | 0 | 36.752 | INF | 0
small | p3 | t5 | 0 | 35.9485 | INF | 0
small | p3 | t6 | 0 | 35.057 | INF | 0
small | p3 | t7 | 0 | 0 | INF | 0
small | p3 | t8 | 0 | 33.8985 | INF | 0
small | p3 | t9 | 0 | 0 | INF | 0
small | p3 | t10 | 0 | 0 | INF | 0
small | p3 | t11 | 0 | 0 | INF | 0
small | p3 | t12 | 0 | 0 | INF | 0
small | p3 | t13 | 0 | 28.4696 | INF | 0
small | p3 | t14 | 0 | 0 | INF | 0
small | p3 | t15 | 0 | 0 | INF | 0
small | p3 | t16 | 0 | 0 | INF | 0
small | p3 | t17 | 0 | 0 | INF | 0
small | p3 | t18 | 0 | 0 | INF | 0
small | p3 | t19 | 0 | 0 | INF | 0
small | p3 | t20 | 0 | 0 | INF | 0
small | p3 | t21 | 0 | 0 | INF | 0
small | p3 | t22 | 0 | 30.498 | INF | 0
small | p3 | t23 | 0 | 0 | INF | 0
small | p3 | t24 | 0 | 0 | INF | 0

## Qpompe_inf
TOC
Qpompe_inf | (equation) | Borne infÃ©rieur pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 28.1471 | INF | 0
small | p1 | t2 | 0 | 36.355 | INF | 0
small | p1 | t3 | 0 | 36.4627 | INF | 0
small | p1 | t4 | 0 | 35.752 | INF | 0
small | p1 | t5 | 0 | 34.9485 | INF | 0
small | p1 | t6 | 0 | 34.057 | INF | 0
small | p1 | t7 | 0 | 30.8959 | INF | 0
small | p1 | t8 | 0 | 32.8985 | INF | 0
small | p1 | t9 | 0 | 28.908 | INF | 0
small | p1 | t10 | 0 | 32.1622 | INF | 0
small | p1 | t11 | 0 | 31.8142 | INF | 0
small | p1 | t12 | 0 | 0 | INF | 0
small | p1 | t13 | 0 | 27.4696 | INF | 0
small | p1 | t14 | 0 | 32.7552 | INF | 0
small | p1 | t15 | 0 | 30.3099 | INF | 0
small | p1 | t16 | 0 | 30.2457 | INF | 0
small | p1 | t17 | 0 | 30.2905 | INF | 0
small | p1 | t18 | 0 | 33.3889 | INF | 0
small | p1 | t19 | 0 | 33.588 | INF | 0
small | p1 | t20 | 0 | 0 | INF | 0
small | p1 | t21 | 0 | 34.3451 | INF | 0
small | p1 | t22 | 0 | 29.498 | INF | 0
small | p1 | t23 | 0 | 0 | INF | 0
small | p1 | t24 | 0 | 33.7109 | INF | 0
small | p2 | t1 | 0 | 28.1471 | INF | 0
small | p2 | t2 | 0 | 36.355 | INF | 0
small | p2 | t3 | 0 | 36.4627 | INF | 0
small | p2 | t4 | 0 | 35.752 | INF | 0
small | p2 | t5 | 0 | 34.9485 | INF | 0
small | p2 | t6 | 0 | 34.057 | INF | 0
small | p2 | t7 | 0 | 30.8959 | INF | 0
small | p2 | t8 | 0 | 32.8985 | INF | 0
small | p2 | t9 | 0 | 28.908 | INF | 0
small | p2 | t10 | 0 | 0 | INF | 0
small | p2 | t11 | 0 | 0 | INF | 0
small | p2 | t12 | 0 | 0 | INF | 0
small | p2 | t13 | 0 | 27.4696 | INF | 0
small | p2 | t14 | 0 | 0 | INF | 0
small | p2 | t15 | 0 | 30.3099 | INF | 0
small | p2 | t16 | 0 | 30.2457 | INF | 0
small | p2 | t17 | 0 | 30.2905 | INF | 0
small | p2 | t18 | 0 | 0 | INF | 0
small | p2 | t19 | 0 | 0 | INF | 0
small | p2 | t20 | 0 | 0 | INF | 0
small | p2 | t21 | 0 | 0 | INF | 0
small | p2 | t22 | 0 | 29.498 | INF | 0
small | p2 | t23 | 0 | 0 | INF | 0
small | p2 | t24 | 0 | 0 | INF | 0
small | p3 | t1 | 0 | 28.1471 | INF | 0
small | p3 | t2 | 0 | 36.355 | INF | 0
small | p3 | t3 | 0 | 36.4627 | INF | 0
small | p3 | t4 | 0 | 35.752 | INF | 0
small | p3 | t5 | 0 | 34.9485 | INF | 0
small | p3 | t6 | 0 | 34.057 | INF | 0
small | p3 | t7 | 0 | 0 | INF | 0
small | p3 | t8 | 0 | 32.8985 | INF | 0
small | p3 | t9 | 0 | 0 | INF | 0
small | p3 | t10 | 0 | 0 | INF | 0
small | p3 | t11 | 0 | 0 | INF | 0
small | p3 | t12 | 0 | 0 | INF | 0
small | p3 | t13 | 0 | 27.4696 | INF | 0
small | p3 | t14 | 0 | 0 | INF | 0
small | p3 | t15 | 0 | 0 | INF | 0
small | p3 | t16 | 0 | 0 | INF | 0
small | p3 | t17 | 0 | 0 | INF | 0
small | p3 | t18 | 0 | 0 | INF | 0
small | p3 | t19 | 0 | 0 | INF | 0
small | p3 | t20 | 0 | 0 | INF | 0
small | p3 | t21 | 0 | 0 | INF | 0
small | p3 | t22 | 0 | 29.498 | INF | 0
small | p3 | t23 | 0 | 0 | INF | 0
small | p3 | t24 | 0 | 0 | INF | 0

## Qpompe_sup
TOC
Qpompe_sup | (equation) | Borne supÃ©rieur pompe (k) Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | -INF | -60.8529 | 0 | 0
small | p1 | t2 | -INF | -52.645 | 0 | 0
small | p1 | t3 | -INF | -52.5373 | 0 | 0
small | p1 | t4 | -INF | -53.248 | 0 | 0
small | p1 | t5 | -INF | -54.0515 | 0 | 0
small | p1 | t6 | -INF | -54.943 | 0 | 0
small | p1 | t7 | -INF | -58.1041 | 0 | 0
small | p1 | t8 | -INF | -56.1015 | 0 | 0
small | p1 | t9 | -INF | -60.092 | 0 | 0
small | p1 | t10 | -INF | -56.8378 | 0 | 0
small | p1 | t11 | -INF | -57.1858 | 0 | 0
small | p1 | t12 | -INF | 0 | 0 | 0
small | p1 | t13 | -INF | -61.5304 | 0 | 0
small | p1 | t14 | -INF | -56.2448 | 0 | 0
small | p1 | t15 | -INF | -58.6901 | 0 | 0
small | p1 | t16 | -INF | -58.7543 | 0 | 0
small | p1 | t17 | -INF | -58.7095 | 0 | 0
small | p1 | t18 | -INF | -55.6111 | 0 | 0
small | p1 | t19 | -INF | -55.412 | 0 | 0
small | p1 | t20 | -INF | 0 | 0 | 0
small | p1 | t21 | -INF | -54.6549 | 0 | 0
small | p1 | t22 | -INF | -59.502 | 0 | 0
small | p1 | t23 | -INF | 0 | 0 | 0
small | p1 | t24 | -INF | -55.2891 | 0 | 0
small | p2 | t1 | -INF | -60.8529 | 0 | 0
small | p2 | t2 | -INF | -52.645 | 0 | 0
small | p2 | t3 | -INF | -52.5373 | 0 | 0
small | p2 | t4 | -INF | -53.248 | 0 | 0
small | p2 | t5 | -INF | -54.0515 | 0 | 0
small | p2 | t6 | -INF | -54.943 | 0 | 0
small | p2 | t7 | -INF | -58.1041 | 0 | 0
small | p2 | t8 | -INF | -56.1015 | 0 | 0
small | p2 | t9 | -INF | -60.092 | 0 | 0
small | p2 | t10 | -INF | 0 | 0 | 0
small | p2 | t11 | -INF | 0 | 0 | 0
small | p2 | t12 | -INF | 0 | 0 | 0
small | p2 | t13 | -INF | -61.5304 | 0 | 0
small | p2 | t14 | -INF | 0 | 0 | 0
small | p2 | t15 | -INF | -58.6901 | 0 | 0
small | p2 | t16 | -INF | -58.7543 | 0 | 0
small | p2 | t17 | -INF | -58.7095 | 0 | 0
small | p2 | t18 | -INF | 0 | 0 | 0
small | p2 | t19 | -INF | 0 | 0 | 0
small | p2 | t20 | -INF | 0 | 0 | 0
small | p2 | t21 | -INF | 0 | 0 | 0
small | p2 | t22 | -INF | -59.502 | 0 | 0
small | p2 | t23 | -INF | 0 | 0 | 0
small | p2 | t24 | -INF | 0 | 0 | 0
small | p3 | t1 | -INF | -60.8529 | 0 | 0
small | p3 | t2 | -INF | -52.645 | 0 | 0
small | p3 | t3 | -INF | -52.5373 | 0 | 0
small | p3 | t4 | -INF | -53.248 | 0 | 0
small | p3 | t5 | -INF | -54.0515 | 0 | 0
small | p3 | t6 | -INF | -54.943 | 0 | 0
small | p3 | t7 | -INF | 0 | 0 | -0.00077855
small | p3 | t8 | -INF | -56.1015 | 0 | 0
small | p3 | t9 | -INF | 0 | 0 | 0
small | p3 | t10 | -INF | 0 | 0 | 0
small | p3 | t11 | -INF | 0 | 0 | 0
small | p3 | t12 | -INF | 0 | 0 | 0
small | p3 | t13 | -INF | -61.5304 | 0 | 0
small | p3 | t14 | -INF | 0 | 0 | 0
small | p3 | t15 | -INF | 0 | 0 | 0
small | p3 | t16 | -INF | 0 | 0 | 0
small | p3 | t17 | -INF | 0 | 0 | 0
small | p3 | t18 | -INF | 0 | 0 | 0
small | p3 | t19 | -INF | 0 | 0 | 0
small | p3 | t20 | -INF | 0 | 0 | 0
small | p3 | t21 | -INF | 0 | 0 | 0
small | p3 | t22 | -INF | -59.502 | 0 | 0
small | p3 | t23 | -INF | 0 | 0 | 0
small | p3 | t24 | -INF | 0 | 0 | 0

## r
TOC
r | (set) | reservoirs
n
r1
r2
r3
r4

## Satisfaction_demande
TOC
Satisfaction_demande | (equation) | Satisfaction de la demande en (r) Ã (t)
r | t | Lowerbound | Value | Upperbound | Marginal
r1 | t1 | 90.17 | 90.17 | 90.17 | -0.003584
r1 | t2 | -5 | -5 | -5 | -0.003584
r1 | t3 | -3.67 | -3.67 | -3.67 | -0.003584
r1 | t4 | -6.5 | -6.5 | -6.5 | -0.003584
r1 | t5 | -5.67 | -5.67 | -5.67 | -0.003584
r1 | t6 | -7.5 | -7.5 | -7.5 | -0.003584
r1 | t7 | -3 | -3 | -3 | -0.003584
r1 | t8 | -3 | -3 | -3 | -0.003584
r1 | t9 | -2 | -2 | -2 | -0.003584
r1 | t10 | -13.5 | -13.5 | -13.5 | -0.003584
r1 | t11 | -14 | -14 | -14 | -0.003584
r1 | t12 | -12 | -12 | -12 | -0.003584
r1 | t13 | -12 | -12 | -12 | -0.003584
r1 | t14 | -12 | -12 | -12 | -0.003584
r1 | t15 | -12 | -12 | -12 | -0.003584
r1 | t16 | -12.83 | -12.83 | -12.83 | -0.003584
r1 | t17 | -15.67 | -15.67 | -15.67 | -0.003584
r1 | t18 | -13.17 | -13.17 | -13.17 | -0.003584
r1 | t19 | -12 | -12 | -12 | -0.003584
r1 | t20 | -10 | -10 | -10 | -0.003584
r1 | t21 | -11 | -11 | -11 | -0.003584
r1 | t22 | -14 | -14 | -14 | -0.003584
r1 | t23 | -19.5 | -19.5 | -19.5 | -0.003584
r1 | t24 | -10.17 | -10.17 | -10.17 | -0.003584
r2 | t1 | 55.17 | 55.17 | 55.17 | -0.0049923
r2 | t2 | -18 | -18 | -18 | -0.0041574
r2 | t3 | 0 | 0 | 0 | -0.004095
r2 | t4 | 0 | 0 | 0 | -0.0041513
r2 | t5 | 0 | 0 | 0 | -0.0042086
r2 | t6 | 0 | 0 | 0 | -0.0042672
r2 | t7 | 0 | -2.8422e-14 | 0 | -0.0043273
r2 | t8 | -45 | -45 | -45 | -0.0043749
r2 | t9 | -51.67 | -51.67 | -51.67 | -0.0044371
r2 | t10 | 0 | 0 | 0 | -0.0044371
r2 | t11 | 0 | 0 | 0 | -0.0044371
r2 | t12 | 0 | 0 | 0 | -0.0044371
r2 | t13 | -15.17 | -15.17 | -15.17 | -0.0044371
r2 | t14 | -103.83 | -103.83 | -103.83 | -0.0044371
r2 | t15 | -34.83 | -34.83 | -34.83 | -0.0044371
r2 | t16 | -43.83 | -43.83 | -43.83 | -0.0044371
r2 | t17 | -54.83 | -54.83 | -54.83 | -0.0044371
r2 | t18 | -51.17 | -51.17 | -51.17 | -0.0044371
r2 | t19 | -53.5 | -53.5 | -53.5 | -0.0044371
r2 | t20 | -0.67 | -0.67 | -0.67 | -0.0044371
r2 | t21 | 0 | 0 | 0 | -0.0044371
r2 | t22 | 0 | 0 | 0 | -0.0044371
r2 | t23 | -1.5 | -1.5 | -1.5 | -0.0044371
r2 | t24 | -53.5 | -53.5 | -53.5 | -0.0044371
r3 | t1 | 86 | 86 | 86 | -0.0037831
r3 | t2 | -13.33 | -13.33 | -13.33 | -0.0037553
r3 | t3 | -25.5 | -25.5 | -25.5 | -0.0037553
r3 | t4 | -11 | -11 | -11 | -0.0037553
r3 | t5 | -10 | -10 | -10 | -0.0037553
r3 | t6 | -10 | -10 | -10 | -0.0037553
r3 | t7 | -11 | -11 | -11 | -0.0037553
r3 | t8 | -10.33 | -10.33 | -10.33 | -0.0037553
r3 | t9 | -30.17 | -30.17 | -30.17 | -0.0044371
r3 | t10 | -17.67 | -17.67 | -17.67 | -0.0044371
r3 | t11 | -36.33 | -36.33 | -36.33 | -0.0044371
r3 | t12 | -38 | -38 | -38 | -0.0044371
r3 | t13 | -35 | -35 | -35 | -0.0044371
r3 | t14 | -35.17 | -35.17 | -35.17 | -0.0044371
r3 | t15 | -19.33 | -19.33 | -19.33 | -0.0044371
r3 | t16 | -31.83 | -31.83 | -31.83 | -0.0044371
r3 | t17 | -23.5 | -23.5 | -23.5 | -0.0044371
r3 | t18 | -16.83 | -16.83 | -16.83 | -0.0044371
r3 | t19 | -28 | -28 | -28 | -0.0044371
r3 | t20 | -33.5 | -33.5 | -33.5 | -0.0044371
r3 | t21 | -39 | -39 | -39 | -0.0044371
r3 | t22 | -38.5 | -38.5 | -38.5 | -0.0044371
r3 | t23 | -32.67 | -32.67 | -32.67 | -0.0044371
r3 | t24 | -29.67 | -29.67 | -29.67 | -0.0044371
r4 | t1 | 99 | 99 | 99 | -0.003584
r4 | t2 | -1 | -1 | -1 | -0.003584
r4 | t3 | -8.5 | -8.5 | -8.5 | -0.003584
r4 | t4 | -9.5 | -9.5 | -9.5 | -0.003584
r4 | t5 | -4 | -4 | -4 | -0.003584
r4 | t6 | -2.33 | -2.33 | -2.33 | -0.003584
r4 | t7 | 0 | 0 | 0 | -0.003584
r4 | t8 | -1 | -1 | -1 | -0.003584
r4 | t9 | -0.83 | -0.83 | -0.83 | -0.003584
r4 | t10 | -2 | -2 | -2 | -0.003584
r4 | t11 | -2 | -2 | -2 | -0.003584
r4 | t12 | -2 | -2 | -2 | -0.003584
r4 | t13 | -2 | -2 | -2 | -0.003584
r4 | t14 | -2 | -2 | -2 | -0.003584
r4 | t15 | -2 | -2 | -2 | -0.003584
r4 | t16 | -3 | -3 | -3 | -0.003584
r4 | t17 | -2 | -2 | -2 | -0.003584
r4 | t18 | -1 | -1 | -1 | -0.003584
r4 | t19 | -2 | -2 | -2 | -0.003584
r4 | t20 | -3 | -3 | -3 | -0.003584
r4 | t21 | -2 | -2 | -2 | -0.003584
r4 | t22 | -3 | -3 | -3 | -0.003584
r4 | t23 | -3 | -3 | -3 | -0.003584
r4 | t24 | -2 | -2 | -2 | -0.003584

## Son
TOC
Son | (variable) | Statu t de la pompe (k) fonctionne Ã (t)
c | d | t | Lowerbound | Value | Upperbound | Marginal
small | p1 | t1 | 0 | 1 | 1 | 0.10064
small | p1 | t2 | 0 | 1 | 1 | 0.097677
small | p1 | t3 | 0 | 1 | 1 | 0.097638
small | p1 | t4 | 0 | 1 | 1 | 0.097895
small | p1 | t5 | 0 | 1 | 1 | 0.098185
small | p1 | t6 | 0 | 1 | 1 | 0.098507
small | p1 | t7 | 0 | 1 | 1 | 0.098713
small | p1 | t8 | 0 | 1 | 1 | 0.098925
small | p1 | t9 | 0 | 1 | 1 | 0.17565
small | p1 | t10 | 0 | 1 | 1 | 0.17565
small | p1 | t11 | 0 | 1 | 1 | 0.17565
small | p1 | t12 | 0 | 0 | 1 | 0.17565
small | p1 | t13 | 0 | 1 | 1 | 0.17565
small | p1 | t14 | 0 | 1 | 1 | 0.17565
small | p1 | t15 | 0 | 1 | 1 | 0.17565
small | p1 | t16 | 0 | 1 | 1 | 0.17565
small | p1 | t17 | 0 | 1 | 1 | 0.17565
small | p1 | t18 | 0 | 1 | 1 | 0.17565
small | p1 | t19 | 0 | 1 | 1 | 0.17565
small | p1 | t20 | 0 | 0 | 1 | 0.17565
small | p1 | t21 | 0 | 1 | 1 | 0.17565
small | p1 | t22 | 0 | 1 | 1 | 0.17565
small | p1 | t23 | 0 | 0 | 1 | 0.17565
small | p1 | t24 | 0 | 1 | 1 | 0.17565
small | p2 | t1 | 0 | 1 | 1 | 0.10064
small | p2 | t2 | 0 | 1 | 1 | 0.097677
small | p2 | t3 | 0 | 1 | 1 | 0.097638
small | p2 | t4 | 0 | 1 | 1 | 0.097895
small | p2 | t5 | 0 | 1 | 1 | 0.098185
small | p2 | t6 | 0 | 1 | 1 | 0.098507
small | p2 | t7 | 0 | 1 | 1 | 0.098713
small | p2 | t8 | 0 | 1 | 1 | 0.098925
small | p2 | t9 | 0 | 1 | 1 | 0.17565
small | p2 | t10 | 0 | 0 | 1 | 0.17565
small | p2 | t11 | 0 | 0 | 1 | 0.17565
small | p2 | t12 | 0 | 0 | 1 | 0.17565
small | p2 | t13 | 0 | 1 | 1 | 0.17565
small | p2 | t14 | 0 | 0 | 1 | 0.17565
small | p2 | t15 | 0 | 1 | 1 | 0.17565
small | p2 | t16 | 0 | 1 | 1 | 0.17565
small | p2 | t17 | 0 | 1 | 1 | 0.17565
small | p2 | t18 | 0 | 0 | 1 | 0.17565
small | p2 | t19 | 0 | 0 | 1 | 0.17565
small | p2 | t20 | 0 | 0 | 1 | 0.17565
small | p2 | t21 | 0 | 0 | 1 | 0.17565
small | p2 | t22 | 0 | 1 | 1 | 0.17565
small | p2 | t23 | 0 | 0 | 1 | 0.17565
small | p2 | t24 | 0 | 0 | 1 | 0.17565
small | p3 | t1 | 0 | 1 | 1 | 0.10064
small | p3 | t2 | 0 | 1 | 1 | 0.097677
small | p3 | t3 | 0 | 1 | 1 | 0.097638
small | p3 | t4 | 0 | 1 | 1 | 0.097895
small | p3 | t5 | 0 | 1 | 1 | 0.098185
small | p3 | t6 | 0 | 1 | 1 | 0.098507
small | p3 | t7 | 0 | 0 | 1 | 0.04106
small | p3 | t8 | 0 | 1 | 1 | 0.098925
small | p3 | t9 | 0 | 0 | 1 | 0.17565
small | p3 | t10 | 0 | 0 | 1 | 0.17565
small | p3 | t11 | 0 | 0 | 1 | 0.17565
small | p3 | t12 | 0 | 0 | 1 | 0.17565
small | p3 | t13 | 0 | 1 | 1 | 0.17565
small | p3 | t14 | 0 | 0 | 1 | 0.17565
small | p3 | t15 | 0 | 0 | 1 | 0.17565
small | p3 | t16 | 0 | 0 | 1 | 0.17565
small | p3 | t17 | 0 | 0 | 1 | 0.17565
small | p3 | t18 | 0 | 0 | 1 | 0.17565
small | p3 | t19 | 0 | 0 | 1 | 0.17565
small | p3 | t20 | 0 | 0 | 1 | 0.17565
small | p3 | t21 | 0 | 0 | 1 | 0.17565
small | p3 | t22 | 0 | 1 | 1 | 0.17565
small | p3 | t23 | 0 | 0 | 1 | 0.17565
small | p3 | t24 | 0 | 0 | 1 | 0.17565

## surface
TOC
surface | (parameter) | mean surface of each reservoir (m^2)
r | Value
r1 | 80
r2 | 80
r3 | 80
r4 | 80

## t
TOC
t | (set) | 1-hour periods
dim1
t1
t2
t3
t4
t5
t6
t7
t8
t9
t10
t11
t12
t13
t14
t15
t16
t17
t18
t19
t20
t21
t22
t23
t24

## tariff
TOC
tariff | (parameter) | electricity tariff
t | Value
t1 | 0.02916
t2 | 0.02916
t3 | 0.02916
t4 | 0.02916
t5 | 0.02916
t6 | 0.02916
t7 | 0.02916
t8 | 0.02916
t9 | 0.04609
t10 | 0.04609
t11 | 0.04609
t12 | 0.04609
t13 | 0.04609
t14 | 0.04609
t15 | 0.04609
t16 | 0.04609
t17 | 0.04609
t18 | 0.04609
t19 | 0.04609
t20 | 0.04609
t21 | 0.04609
t22 | 0.04609
t23 | 0.04609
t24 | 0.04609

## v
TOC
v | (variable) | Volume au rÃ©servoir (r) en (t)
n | t | Lowerbound | Value | Upperbound | Marginal
r1 | t1 | 100 | 116.9807 | 300 | 0
r1 | t2 | 100 | 151.0882 | 300 | 0
r1 | t3 | 100 | 180.4143 | 300 | 0
r1 | t4 | 100 | 207.3864 | 300 | 0
r1 | t5 | 100 | 235.9494 | 300 | 0
r1 | t6 | 100 | 264.0196 | 300 | 0
r1 | t7 | 100 | 261.0196 | 300 | 0
r1 | t8 | 100 | 295.84 | 300 | 0
r1 | t9 | 100 | 293.84 | 300 | 0
r1 | t10 | 100 | 280.34 | 300 | 0
r1 | t11 | 100 | 266.34 | 300 | 0
r1 | t12 | 100 | 254.34 | 300 | 0
r1 | t13 | 100 | 242.34 | 300 | 0
r1 | t14 | 100 | 230.34 | 300 | 0
r1 | t15 | 100 | 218.34 | 300 | 0
r1 | t16 | 100 | 205.51 | 300 | 0
r1 | t17 | 100 | 189.84 | 300 | 0
r1 | t18 | 100 | 176.67 | 300 | 0
r1 | t19 | 100 | 164.67 | 300 | 0
r1 | t20 | 100 | 154.67 | 300 | 0
r1 | t21 | 100 | 143.67 | 300 | 0
r1 | t22 | 100 | 129.67 | 300 | 0
r1 | t23 | 100 | 110.17 | 300 | 0
r1 | t24 | 100 | 100 | 300 | 0.003584
r2 | t1 | 100 | 100 | 300 | 0.00090714
r2 | t2 | 100 | 100 | 300 | 0.00011878
r2 | t3 | 100 | 114.9611 | 300 | 0
r2 | t4 | 100 | 132.3423 | 300 | 0
r2 | t5 | 100 | 152.0342 | 300 | 0
r2 | t6 | 100 | 173.915 | 300 | 0
r2 | t7 | 100 | 205.5584 | 300 | 0
r2 | t8 | 100 | 186.4943 | 300 | 0
r2 | t9 | 100 | 172.6045 | 300 | 0
r2 | t10 | 100 | 202.6967 | 300 | 0
r2 | t11 | 100 | 232.0487 | 300 | 0
r2 | t12 | 100 | 232.0487 | 300 | 0
r2 | t13 | 100 | 244.8858 | 300 | 0
r2 | t14 | 100 | 171.9456 | 300 | 0
r2 | t15 | 100 | 171.2354 | 300 | 0
r2 | t16 | 100 | 162.3812 | 300 | 0
r2 | t17 | 100 | 143.6543 | 300 | 0
r2 | t18 | 100 | 124.466 | 300 | 0
r2 | t19 | 100 | 103.0784 | 300 | 0
r2 | t20 | 100 | 102.4084 | 300 | 0
r2 | t21 | 100 | 113.6067 | 300 | 0
r2 | t22 | 100 | 139.0155 | 300 | 0
r2 | t23 | 100 | 137.5155 | 300 | 0
r2 | t24 | 100 | 100 | 300 | 0.0044371
r3 | t1 | 100 | 100 | 300 | 2.7741e-05
r3 | t2 | 100 | 133.7911 | 300 | 0
r3 | t3 | 100 | 158.6461 | 300 | 0
r3 | t4 | 100 | 194.294 | 300 | 0
r3 | t5 | 100 | 227.1763 | 300 | 0
r3 | t6 | 100 | 256.2555 | 300 | 0
r3 | t7 | 100 | 277.4038 | 300 | 0
r3 | t8 | 100 | 300 | 300 | -0.00068174
r3 | t9 | 100 | 291.8658 | 300 | 0
r3 | t10 | 100 | 277.2658 | 300 | 0
r3 | t11 | 100 | 244.398 | 300 | 0
r3 | t12 | 100 | 206.398 | 300 | 0
r3 | t13 | 100 | 228.7996 | 300 | 0
r3 | t14 | 100 | 196.495 | 300 | 0
r3 | t15 | 100 | 205.665 | 300 | 0
r3 | t16 | 100 | 201.3507 | 300 | 0
r3 | t17 | 100 | 204.3287 | 300 | 0
r3 | t18 | 100 | 189.9059 | 300 | 0
r3 | t19 | 100 | 164.3815 | 300 | 0
r3 | t20 | 100 | 130.8815 | 300 | 0
r3 | t21 | 100 | 116.0283 | 300 | 0
r3 | t22 | 100 | 143.6135 | 300 | 0
r3 | t23 | 100 | 110.9435 | 300 | 0
r3 | t24 | 100 | 100 | 300 | 0.0044371
r4 | t1 | 100 | 100.8007 | 300 | 0
r4 | t2 | 100 | 107.6372 | 300 | 0
r4 | t3 | 100 | 113.213 | 300 | 0
r4 | t4 | 100 | 116.4678 | 300 | 0
r4 | t5 | 100 | 123.506 | 300 | 0
r4 | t6 | 100 | 129.8169 | 300 | 0
r4 | t7 | 100 | 129.8169 | 300 | 0
r4 | t8 | 100 | 133.83 | 300 | 0
r4 | t9 | 100 | 133 | 300 | 0
r4 | t10 | 100 | 131 | 300 | 0
r4 | t11 | 100 | 129 | 300 | 0
r4 | t12 | 100 | 127 | 300 | 0
r4 | t13 | 100 | 125 | 300 | 0
r4 | t14 | 100 | 123 | 300 | 0
r4 | t15 | 100 | 121 | 300 | 0
r4 | t16 | 100 | 118 | 300 | 0
r4 | t17 | 100 | 116 | 300 | 0
r4 | t18 | 100 | 115 | 300 | 0
r4 | t19 | 100 | 113 | 300 | 0
r4 | t20 | 100 | 110 | 300 | 0
r4 | t21 | 100 | 108 | 300 | 0
r4 | t22 | 100 | 105 | 300 | 0
r4 | t23 | 100 | 102 | 300 | 0
r4 | t24 | 100 | 100 | 300 | 0.003584

## vinit
TOC
vinit | (parameter) | initial volume of each reservoir
r | t | Value
r1 | t1 | 100
r2 | t1 | 100
r3 | t1 | 100
r4 | t1 | 100

## vmax
TOC
vmax | (parameter) | maximal volume of each reservoir (m^3)
r | Value
r1 | 300
r2 | 300
r3 | 300
r4 | 300

## vmin
TOC
vmin | (parameter) | minimal volume of each reservoir (m^3)
r | Value
r1 | 100
r2 | 100
r3 | 100
r4 | 100